## (1) Data sheet
| DAILY_ENERGY_METER_READING_ FOR_THE_MONTH_OF FEB 2020 | [5 empty] | SEP | 2020-10-01 | [62 empty] | 0.36269
DATE | NEW ETP1 | TOTAL KWH | ETP2 | TOTAL KWH | NBF-II | TOTAL KWH | 7F-630A | TOTAL KWH | 200V BUSBAR | TOTAL KWH | EVP BUS BAR | TOTAL KWH | RS UPS BUSBAR | TOTAL KWH | HEATER READIATOR | TOTAL KWH | AIR COMP. 1000 CFM | TOTAL KWH | MLTP DG ROOM | TOTAL KWH | ELECT PANEL-1 | TOTAL KWH | MAIN UPS ROOM | TOTAL KWH | BUS BAR-1 | TOTAL KWH | BUSBAR-2 | TOTAL KWH | BUSBAR-4 | TOTAL KWH | BUSBAR-5 | TOTAL KWH | BUSBAR-6 | TOTAL KWH | BUSBAR-7 | TOTAL KWH | BUSBAR-8 | TOTAL KWH | ATLAS-1 | TOTAL KWH | ATLAS-2 | TOTAL KWH | ATLAS-3 | TOTAL KWH | ATLAS-4 | TOTAL KWH | DM PLANT | TOTAL KWH | RO PLANT | TOTAL KWH | COMP UPS BUS BAR | TOTAL KWH | SURFACE TREATMENT-1 | TOTAL KWH | VBF | TOTAL KWH | NBF-1 | TOTAL KWH | NBF-3 | TOTAL KWH | NBF-4 | TOTAL KWH | COMP.PLANT 1600 AMP ACB NEW LT PANEL(11F) | TOTAL KWH | WTP-1 | TOTAL KWH | AHU | TOTAL KWH | AIR WASHER-1 | TOTAL KWH | A/W-2/3 | TOTAL KWH | MFC AIR WAHER-1 | TOTAL KWH | MFC AIR WASHER-2 | TOTAL KWH | MFC AIR WASHER-3 | TOTAL KWH | MFC AIR WASHER-4 | TOTAL KWH | STP 40kld | TOTAL KWH | STP 100kld | TOTAL KWH | S/T-2 PANEL-1 | TOTAL KWH | S/T-2 PANEL-2 | TOTAL KWH | S/T-2 PANEL-3 | TOTAL KWH | ENDURENCE M/C | TOTAL KWH | QA TEST LB | TOTAL KWH | B-196 | TOTAL KWH | Molding Machine | TOTAL KWH | DG AUX | TOTAL KWH | VBF CT FAN | TOTAL KWH |  | CONDENSOR LINE | TOTAL KWH | TOTAL AIR COMP. UNIT | ATLAS -5 | TOTAL KWH | KAESER COMPRESSOR | TOTAL KWH | ADMIN-1 (AC PANEL) | TOTAL KWH | ADMIN-1 (basement panel) | TOTAL KWH | PNG METER READING | TOTAL | TUC SHOP | TOTAL | NEW CANTEEN | TOTAL | UPPCL (UNIT ) | DG UNIT | total unit (UPPCL+DG) | Diesel consumption Ltr, | DIESEL STOCK | SPARE COST | used According store (diesel) | PNG (SCM) consumption | sfc | pf | AIR WASHER-1 | A/W-2/3 | MFC AIR WAHER-1 | MFC AIR WASHER-2 | MFC AIR WASHER-3 | MFC AIR WASHER-4 | Total |  |  |  | AHU | AIR WASHER | AIR COMP. | air comp 1 | air comp 2 | air comp 3 | air comp 4 | air comp 5 | air comp 6 (1000 cfm) | air comp 7 | total
2025-05-01 | 36.0925 | 187.928 | 13108.999 | 39.409 | 0 | 0 | 200.6964 | 1291.64 | 6448.8068 | 37.9428 | 31398.673 | 292.977 | 3606.72 | 4263 | 82.5016 | 389.472 | 2321967.763 | 3840.279 | 2627.9184 | 7659.8 | 701.615 | 2489.28 | 50.878 | 17040 | 15.3916 | 331.965 | 134.9773 | 486.48 | 769424.108 | 422.124 | 3326058.346 | 974.76 | 145.8462 | 6040.58 | 289.8497 | 869.3 | 41.1144 | 2030.652 | 392.4441 | 0.04 | 3973.2136 | 9.2 | 326.1358 | 1490.66 | 389.9684 | 1280.6 | 210254.364 | 180.905 | 55297.34 | 116.852 | 1832.993 | 2325 | 648.3662 | 360.64 | 941.7738 | 0 | 23638 | 4160 | 42771 | 4330 | 49732 | 3570 | 349.3162 | 12412.64 | 0 | 0 | 130.4555 | 2258.49 | 121.5415 | 362.69 | 44.971 | 367.101 | 121.5121 | 1078.65 | 526.2508 | 419.36 | 36.6788 | 326.712 | 346.5883 | 469.44 | 1854.98 | 7.567 | 222745.52 | 198.704 | 3123.6 | 700 | 3247.7 | 700 | 15.84 | 1173 | 0 |  |  | 0 | 6603803.777 | 4332.118 | 3887.1136 | 1728.4 | 237.4918 | 108.4 | 638.496 | 0 |  | 21.9324 | 335.25 | 8568.379 | 4128.8608 | 1947.6 | 0 | 0 | 3870.2612 | 855.6 | 307.6931 | 173.02 | 16893.34 | 73.6642 | 19796.384 | 42.366 | 186.266 | 503 | 66587 | 1355 | 67942 | 450 | 18496 | 4204 |  | 73.6642 | 3.0111 |  | 362.69 | 367.101 | 1078.65 | 419.36 | 326.712 | 469.44 | 3023.953 |  |  |  | 2258.49 | 3023.953 | 8568.379 | 0.04 | 9.2 | 1490.66 | 1280.6 | 1947.6 | 3840.279 | #REF! | #REF!
2025-05-02 | 36.2804 | 216.948 | 13148.408 | 60.081 | 0 | 0 | 201.988 | 1448.24 | 6486.7496 | 39.2128 | 31691.65 | 262.171 | 3610.983 | 4245 | 82.891 | 306.288 | 2325808.042 | 3476.161 | 2635.5782 | 6641.2 | 704.1042 | 2282.32 | 50.895 | 15744 | 15.7236 | 327.364 | 135.4638 | 450.24 | 769846.232 | 404.521 | 3327033.106 | 870.564 | 151.8868 | 4885.3 | 290.719 | 867.86 | 43.145 | 1824.724 | 392.4441 | 0 | 3973.2228 | 26.4 | 327.6264 | 1200.86 | 391.249 | 1288.76 | 210435.269 | 313.615 | 55414.192 | 84.33 | 1835.318 | 2326 | 648.7268 | 170.24 | 941.7738 | 147.04 | 24054 | 4010 | 43204 | 4360 | 50089 | 3510 | 361.7288 | 11808.72 | 0 | 0 | 132.714 | 1710.37 | 121.9042 | 333.81 | 45.3381 | 326.884 | 122.5907 | 1011.49 | 526.6702 | 372.92 | 37.0056 | 298.8 | 347.0577 | 49.72 | 1862.547 | 12.385 | 222944.224 | 206.416 | 3124.3 | 700 | 3248.4 | 900 | 17.013 | 1079 | 0 |  |  | 0 | 6608135.895 | 4129.139 | 3888.842 | 1584.8 | 237.6002 | 545.32 | 638.496 | 0 |  | 22.2677 | 406.23 | 8033.381 | 4130.8084 | 2041.2 | 0 | 0 | 3871.1168 | 436.4 | 307.8662 | 158.74 | 16918.43 | 798.0342 | 19838.75 | 43.962 | 186.769 | 547 | 38089 | 25897 | 63986 | 6857 | 11639 | 10415 |  | 798.0342 | 3.7767 |  | 333.81 | 326.884 | 1011.49 | 372.92 | 298.8 | 49.72 | 2393.624 |  |  |  | 1710.37 | 2393.624 | 8033.381 | 0 | 26.4 | 1490.66 | 1288.76 | 2041.2 | 3476.161 | #REF! | #REF!
2025-05-03 | 36.4974 | 186.232 | 13208.489 | 52.012 | 0 | 0 | 203.4363 | 1313.2 | 6525.9624 | 40.64 | 31953.821 | 269.568 | 3615.228 | 4139 | 83.1973 | 322.189 | 2329284.203 | 3671.844 | 2642.2194 | 7823 | 706.3866 | 2340.72 | 50.9107 | 16524 | 16.0509 | 327.941 | 135.914 | 472.1 | 770250.753 | 619.513 | 3327903.67 | 932.644 | 156.7721 | 5384.3 | 291.5869 | 884.34 | 44.9697 | 1911.176 | 392.4441 | 180.68 | 3973.2492 | 14.8 | 328.8273 | 1359.98 | 392.5378 | 1300.84 | 210748.884 | 221.622 | 55498.522 | 118.256 | 1837.644 | 2366 | 648.8971 | 416.2 | 941.9209 | 149.84 | 24455 | 4220 | 43640 | 4360 | 50440 | 3560 | 373.5376 | 12368.84 | 0 | 0 | 134.4244 | 1907.44 | 122.238 | 339.62 | 45.665 | 357.28 | 123.6022 | 1035.09 | 527.0431 | 422.16 | 37.3044 | 328.788 | 347.1074 | 455.9 | 1874.932 | 8.294 | 223150.64 | 209.264 | 3125 | 600 | 3249.3 | 800 | 18.092 | 1028 | 0 |  |  | 0 | 6612265.034 | 4356.308 | 3890.4268 | 1765.6 | 238.1456 | 173.32 | 638.496 | 0 |  | 22.6739 | 419.71 | 8476.544 | 4132.8496 | 1948.4 | 0 | 0 | 3871.5532 | 585.2 | 308.0249 | 155.88 | 17190.24 | 58.2502 | 19882.712 | 35.106 | 187.316 | 562 | 59370 | 7386 | 66756 | 2209 | 9508 | 2969 |  | 58.2502 | 3.3436 |  | 339.62 | 357.28 | 1035.09 | 422.16 | 328.788 | 455.9 | 2938.838 |  |  |  | 1907.44 | 2938.838 | 8476.544 | 180.68 | 14.8 | 1359.98 | 1300.84 | 1948.4 | 3671.844 | #REF! | #REF!
2025-05-04 | 36.6836 | 199.804 | 13260.501 | 40.882 | 0 | 0 | 204.7495 | 1328.04 | 6566.6024 | 38.9104 | 32223.389 | 202.659 | 3619.367 | 4090 | 83.5195 | 287.227 | 2332956.047 | 3592.635 | 2650.0424 | 6903.4 | 708.7273 | 2106.96 | 50.9273 | 14744 | 16.3789 | 320.943 | 136.3861 | 475.13 | 770870.266 | 335.157 | 3328836.314 | 650.729 | 162.1564 | 4391.53 | 292.4712 | 774.28 | 46.8809 | 1553.044 | 392.6248 | 0 | 3973.264 | 239 | 330.1873 | 781.22 | 393.8386 | 1229.92 | 210970.506 | 228.68 | 55616.778 | 61.776 | 1840.01 | 2099 | 649.3133 | 220.48 | 942.0707 | 43.6 | 24877 | 4120 | 44076 | 4290 | 50796 | 3840 | 385.9064 | 10951.28 | 0 | 0 | 136.3318 | 1835.37 | 122.5776 | 311.37 | 46.0223 | 342.96 | 124.6373 | 1009.6 | 527.4652 | 387.72 | 37.6331 | 214.62 | 347.5633 | 439.58 | 1883.226 | 9.594 | 223359.904 | 184.816 | 3125.6 | 700 | 3250.1 | 800 | 19.12 | 1050 | 0 |  |  | 0 | 6616621.342 | 3050.078 | 3892.1924 | 1541.2 | 238.3189 | 229.78 | 638.496 | 0 |  | 23.0936 | 326.01 | 7819.975 | 4134.798 | 1977.2 | 0 | 0 | 3872.1384 | 232.4 | 308.1808 | 82.94 | 17210.08 | 279.6834 | 19917.818 | 34.119 | 187.878 | 495 | 52226 | 9074 | 61300 | 2122 | 7386 | 990 |  | 279.6834 | 4.2762 |  | 311.37 | 342.96 | 1009.6 | 387.72 | 214.62 | 439.58 | 2705.85 | person | number | forklift | 1835.37 | 2705.85 | 7819.975 | 0 | 239 | 781.22 | 1229.92 | 1977.2 | 3592.635 | #REF! | #REF!
2025-05-05 | 36.8834 | 213.268 | 13301.383 | 44.774 | 0 | 0 | 206.0775 | 1385.86 | 6605.5128 | 38.2256 | 32426.048 | 229.543 | 3623.457 | 4158 | 83.8067 | 327.464 | 2336548.682 | 3672.756 | 2656.9458 | 7007.8 | 710.8342 | 2214.16 | 50.942 | 16076 | 16.6998 | 265.542 | 136.8612 | 402.94 | 771205.423 | 462.027 | 3329487.043 | 892.188 | 166.5479 | 5357.438 | 293.2455 | 900.4 | 48.434 | 1944.808 | 392.6248 | 0 | 3973.503 | 0.6 | 330.9685 | 1371.34 | 395.0686 | 1291.84 | 211199.186 | 270.436 | 55678.554 | 87.181 | 1842.109 | 2267 | 649.5338 | 257.2 | 942.1143 | 94.24 | 25289 | 4190 | 44505 | 4290 | 51180 | 4200 | 396.8577 | 11973.6 | 0 | 0 | 138.1672 | 1741.61 | 122.889 | 321.56 | 46.3652 | 362.712 | 125.6469 | 944.28 | 527.853 | 423 | 37.8478 | 294.804 | 348.0029 | 449.04 | 1892.82 | 7.859 | 223544.72 | 209.792 | 3126.3 | 700 | 3250.9 | 900 | 20.17 | 1060 | 0 |  |  | 0 | 6619671.42 | 4253.473 | 3893.7336 | 1638 | 238.5487 | 9.06 | 638.496 | 0 |  | 23.4196 | 370.462 | 8451.336 | 4136.7752 | 2114.8 | 0 | 0 | 3872.3708 | 726 | 308.2637 | 162.12 | 17305.34 | 0 | 19951.937 | 47.403 | 188.373 | 626 | 66235 | 0 | 66235 | 0 | 19370 | 7594 |  | 0 | #DIV/0! |  | 321.56 | 362.712 | 944.28 | 423 | 294.804 | 449.04 | 2795.396 | rakesh | 9717941162 | bendy | 1741.61 | 2795.396 | 8451.336 | 0 | 0.6 | 1371.34 | 1291.84 | 2114.8 | 3672.756 | #REF! | #REF!
2025-05-06 | 37.0967 | 168.496 | 13346.157 | 31.8226 | 0 | 0 | 207.4634 | 1307.44 | 6643.7384 | 37.5512 | 32655.591 | 262.706 | 3627.615 | 4101 | 84.1342 | 304.976 | 2340221.438 | 3708.572 | 2663.9536 | 7612.4 | 713.0484 | 2107.52 | 50.9581 | 15006 | 16.9654 | 343.342 | 137.2642 | 505.73 | 771667.45 | 553.411 | 3330379.231 | 926.47 | 171.9053 | 5586.242 | 294.1459 | 918.82 | 50.3788 | 1924.824 | 392.6248 | 5.52 | 3973.5036 | 20.4 | 332.3398 | 1753.98 | 396.3604 | 1309.8 | 211469.622 | 63.887 | 55765.735 | 98.572 | 1844.376 | 2204 | 649.791 | 478.68 | 942.2086 | 134.32 | 25708 | 4160 | 44934 | 4420 | 51600 | 4310 | 408.8313 | 12307.44 | 0 | 0 | 139.9088 | 1911.04 | 123.2105 | 323.25 | 46.7279 | 361.74 | 126.5912 | 977.86 | 528.276 | 435.08 | 38.1426 | 304.568 | 348.452 | 465.8 | 1900.679 | 3.621 | 223754.512 | 149.6 | 3127 | 600 | 3251.8 | 800 | 21.23 | 1030 | 0 |  |  | 0 | 6623924.893 | 4046.329 | 3895.3716 | 1592 | 238.5577 | 7.24 | 638.496 | 0 |  | 23.7901 | 400 | 8897.072 | 4138.89 | 2098.8 | 0 | 0 | 3873.0968 | 879.2 | 308.4258 | 176.58 | 17305.34 | 0 | 19999.34 | 47.251 | 188.999 | 578 | 67290 | 0 | 67290 | 0 | 19370 | 2354 |  | 0 | #DIV/0! |  | 323.25 | 361.74 | 977.86 | 435.08 | 304.568 | 465.8 | 2868.298 | ravindra | 7499054321 | bendy | 1911.04 | 2868.298 | 8897.072 | 5.52 | 20.4 | 1753.98 | 1309.8 | 2098.8 | 3708.572 | #REF! | #REF!
2025-05-07 | 37.2652 | 183.724 | 13377.9796 | 41.1244 | 0 | 0 | 208.7708 | 1347.88 | 6681.2896 | 39.4136 | 32918.297 | 260.187 | 3631.716 | 4242 | 84.4392 | 325.816 | 2343930.01 | 3719.158 | 2671.566 | 7315.2 | 715.1559 | 2222.48 | 50.9731 | 18024 | 17.3087 | 328.834 | 137.7699 | 482 | 772220.861 | 418.323 | 3331305.701 | 871.478 | 177.4916 | 5573.92 | 295.0647 | 908.74 | 52.3036 | 1952.664 | 392.6303 | 53.4 | 3973.524 | 0 | 334.0938 | 1676.92 | 397.6702 | 1301.572 | 211533.509 | 181.928 | 55864.307 | 128.022 | 1846.58 | 2114 | 650.2696 | 467.08 | 942.3429 | 3.04 | 26124 | 4070 | 45376 | 4380 | 52031 | 4210 | 421.1387 | 12136.828 | 0 | 0 | 141.8198 | 1997.5488 | 123.5338 | 318.17 | 47.0897 | 358.96 | 127.569 | 1151.45 | 528.711 | 416.076 | 38.4471 | 330.256 | 348.9178 | 450.46 | 1904.3 | 4.561 | 223904.112 | 155.136 | 3127.6 | 700 | 3252.6 | 800 | 22.26 | 1070 | 0 |  |  | 0 | 6627971.222 | 4253.172 | 3896.9636 | 1590 | 238.565 | 8.72 | 638.496 | 0 |  | 24.1901 | 405.5 | 8665.45 | 4140.9888 | 1914.4 | 0 | 0 | 3873.976 | 763.2 | 308.6024 | 158.6 | 17305.34 | 0 | 20046.591 | 34.529 | 189.577 | 639 | 66942 | 0 | 66942 | 0 | 19288 | 0 |  | 0 | #DIV/0! |  | 318.17 | 358.96 | 1151.45 | 416.076 | 330.256 | 450.46 | 3025.372 | vikas | 7065108270 |  | 1997.5488 | 3025.372 | 8665.45 | 53.4 | 0 | 1676.92 | 1301.572 | 1914.4 | 3719.158 | #REF! | #REF!
2025-05-08 | 37.4489 | 172.696 | 13419.104 | 53.686 | 0 | 0 | 210.1187 | 1232.36 | 6720.7032 | 35.8272 | 33178.484 | 256.637 | 3635.958 | 4040 | 84.765 | 327.328 | 2347649.168 | 3637.653 | 2678.8812 | 7580.2 | 717.3784 | 2275.2 | 50.9911 | 16606 | 17.6375 | 342.484 | 138.2519 | 459.1 | 772639.184 | 435.61 | 3332177.179 | 878.238 | 183.0655 | 5908.06 | 295.9734 | 863.52 | 54.2562 | 1911.52 | 392.6837 | 27.48 | 3973.524 | 8 | 335.7707 | 1582 | 398.9718 | 1282.828 | 211715.437 | 234.289 | 55992.329 | 122.08 | 1848.694 | 2231 | 650.7367 | 410.8 | 942.3459 | 3.12 | 26531 | 4020 | 45814 | 4250 | 52452 | 4240 | 433.2755 | 12113.412 | 0 | 0 | 143.8174 | 2148.4512 | 123.852 | 312.26 | 47.4486 | 360.836 | 128.7205 | 1181.97 | 529.1271 | 420.204 | 38.7774 | 326.988 | 349.3682 | 451.26 | 1908.861 | 4.824 | 224059.248 | 160.24 | 3128.3 | 600 | 3253.4 | 700 | 23.33 | 1020 | 0 |  |  | 0 | 6632224.394 | 4183.014 | 3898.5536 | 1513.6 | 238.5737 | 8.14 | 638.496 | 0 |  | 24.5956 | 247.17 | 8510.361 | 4142.9032 | 1972.4 | 0 | 0 | 3874.7392 | 885.2 | 308.761 | 157.98 | 17305.34 | 0 | 20081.12 | 51.74 | 190.216 | 605 | 68117 | 0 | 68117 | 0 | 19120 | 810 |  | 0 | #DIV/0! |  | 312.26 | 360.836 | 1181.97 | 420.204 | 326.988 | 451.26 | 3053.518 | akash | 9557024108 |  | 2148.4512 | 3053.518 | 8510.361 | 27.48 | 8 | 1582 | 1282.828 | 1972.4 | 3637.653 | #REF! | #REF!
2025-05-09 | 37.6216 | 142.148 | 13472.79 | 48.834 | 0 | 0 | 211.351 | 1149.74 | 6756.5304 | 37.3264 | 33435.121 | 238.747 | 3639.998 | 3941 | 85.0923 | 328.744 | 2351286.821 | 3624.232 | 2686.4614 | 7838.6 | 719.6536 | 2448.32 | 51.0077 | 16924 | 17.98 | 334.53 | 138.711 | 500.72 | 773074.794 | 421.613 | 3333055.417 | 853.66 | 188.9736 | 5979.32 | 296.837 | 857.28 | 56.1678 | 1833.168 | 392.7112 | 369.16 | 3973.532 | 12.2 | 337.3527 | 1323.64 | 400.2546 | 1288.48 | 211949.726 | 210.689 | 56114.409 | 118.622 | 1850.925 | 2386 | 651.1475 | 434.52 | 942.349 | 3.04 | 26933 | 3970 | 46239 | 4350 | 52876 | 4220 | 445.389 | 12524.04 | 0 | 0 | 145.9658 | 2275.23 | 124.1642 | 337.44 | 47.8095 | 349.32 | 129.9024 | 1152.81 | 529.5473 | 429.48 | 39.1044 | 433.024 | 349.8195 | 425.48 | 1913.685 | 3.912 | 224219.488 | 160.704 | 3128.9 | 600 | 3254.1 | 600 | 24.35 | 950 | 0 |  |  | 0 | 6636407.408 | 3890.276 | 3900.0672 | 1476.4 | 238.5818 | 106.24 | 638.496 | 0 |  | 24.8427 | 349.468 | 8631.312 | 4144.8756 | 2013.6 | 0 | 0 | 3875.6244 | 963.6 | 308.919 | 170.5 | 17305.34 | 5.1086 | 20132.86 | 51.89 | 190.821 | 546 | 63890 | 4139 | 68029 | 1100 | 18020 | 17874 |  | 5.1086 | 3.7627 |  | 337.44 | 349.32 | 1152.81 | 429.48 | 433.024 | 425.48 | 3127.554 | haransh | 8650043053 |  | 2275.23 | 3127.554 | 8631.312 | 369.16 | 12.2 | 1323.64 | 1288.48 | 2013.6 | 3624.232 | #REF! | #REF!
2025-05-10 | 37.7638 | 163.672 | 13521.624 | 48.779 | 0 | 0 | 212.5008 | 1255.1 | 6793.8568 | 36.3832 | 33673.868 | 259.376 | 3643.939 | 4199 | 85.4211 | 328.96 | 2354911.053 | 3685.73 | 2694.3 | 7574.8 | 722.1019 | 2524.16 | 51.0247 | 16188 | 18.3146 | 349.616 | 139.2117 | 464.6 | 773496.407 | 410.201 | 3333909.077 | 759.596 | 194.9529 | 5206.32 | 297.6942 | 853.14 | 58.0009 | 2000.108 | 393.0804 | 0 | 3973.5442 | 55 | 338.6764 | 1696.8 | 401.5431 | 1292.84 | 212160.415 | 201.193 | 56233.031 | 107.425 | 1853.311 | 2253 | 651.582 | 390.52 | 942.3521 | 2.96 | 27330 | 4060 | 46674 | 4360 | 53298 | 4210 | 457.913 | 12706.24 | 0 | 0 | 148.2411 | 2235.62 | 124.5017 | 358.66 | 48.1588 | 371.864 | 131.0553 | 1185.55 | 529.9768 | 431.44 | 39.5374 | 447.844 | 350.245 | 458.44 | 1917.597 | 4.405 | 224380.192 | 111.296 | 3129.5 | 800 | 3254.7 | 800 | 25.3 | 1040 | 0 |  |  | 0 | 6640297.684 | 4235.494 | 3901.5436 | 1453.6 | 238.6881 | 4.66 | 638.496 | 0 |  | 25.1922 | 355.91 | 8607.97 | 4146.8892 | 1877.6 | 0 | 0 | 3876.588 | 348.4 | 309.0895 | 78.74 | 17307.08 | 0 | 20184.75 | 36.554 | 191.367 | 609 | 66803 | 0 | 66803 | 0 | 18020 | 28567 |  | 0 | 0 |  | 358.66 | 371.864 | 1185.55 | 431.44 | 447.844 | 458.44 | 3253.798 | Name | contact no | work | 2235.62 | 3253.798 | 8607.97 | 0 | 55 | 1696.8 | 1292.84 | 1877.6 | 3685.73 | #REF! | #REF!
2025-05-11 | 37.9274 | 148.928 | 13570.403 | 44.899 | 0 | 0 | 213.7559 | 1264.44 | 6830.24 | 38.2432 | 33933.244 | 215.186 | 3648.138 | 4144 | 85.75 | 304.48 | 2358596.783 | 3624.951 | 2701.8748 | 7734.6 | 724.6261 | 2403.2 | 51.0408 | 14536 | 18.6642 | 288.592 | 139.6763 | 433.12 | 773906.608 | 280.743 | 3334668.673 | 688.222 | 200.1592 | 4545.04 | 298.5474 | 761.8 | 60.001 | 1663.72 | 393.0804 | 21.8 | 3973.5992 | 241.6 | 340.3732 | 816.48 | 402.8359 | 1250.12 | 212361.608 | 148.779 | 56340.456 | 114.203 | 1855.564 | 1830 | 651.9726 | 416.08 | 942.355 | 3.2 | 27736 | 3880 | 47110 | 4410 | 53719 | 3920 | 470.6192 | 11064.16 | 0 | 0 | 150.4767 | 1809.06 | 124.8603 | 366.1 | 48.5307 | 367.48 | 132.2408 | 1335.73 | 530.4082 | 429.12 | 39.9853 | 452.696 | 350.7034 | 458.48 | 1922.002 | 4.094 | 224491.488 | 156.064 | 3130.3 | 600 | 3255.5 | 700 | 26.34 | 1040 | 0 |  |  | 0 | 6644533.178 | 3027.059 | 3902.9972 | 1505.2 | 238.6927 | 7.64 | 638.496 | 0 |  | 25.5481 | 327.344 | 7932.951 | 4148.7668 | 1978 | 0 | 0 | 3876.9364 | 306.4 | 309.1682 | 84.1 | 17307.08 | 0 | 20221.304 | 28.615 | 191.976 | 609 | 62910 | 0 | 62910 | 0 | 18020 | 149715 |  | 0 | #DIV/0! |  | 366.1 | 367.48 | 1335.73 | 429.12 | 452.696 | 458.48 | 3409.606 | Jivan chandel | 9805973808 | diesel dip check | 1809.06 | 3409.606 | 7932.951 | 21.8 | 241.6 | 816.48 | 1250.12 | 1978 | 3624.951 | #REF! | #REF!
2025-05-12 | 38.0764 | 148.572 | 13615.302 | 63.602 | 0 | 0 | 215.0203 | 1281.8 | 6868.4832 | 34.8704 | 34148.43 | 172.599 | 3652.282 | 4148 | 86.0545 | 239.216 | 2362221.734 | 3671.009 | 2709.6094 | 7415.6 | 727.0293 | 2522 | 51.0554 | 17324 | 18.9528 | 330.312 | 140.1094 | 498.85 | 774187.351 | 516.643 | 3335356.895 | 809.361 | 204.7042 | 6212.16 | 299.3092 | 873.32 | 61.6648 | 1946.564 | 393.1022 | 0 | 3973.8408 | 0 | 341.1896 | 1011.04 | 404.086 | 1289.32 | 212510.387 | 210.574 | 56454.659 | 127.823 | 1857.394 | 2323 | 652.3886 | 405.88 | 942.3582 | 2.96 | 28124 | 3820 | 47551 | 4460 | 54111 | 470 | 481.6834 | 12216.4 | 0 | 0 | 152.2857 | 2201.38 | 125.2264 | 352.06 | 48.8981 | 364.704 | 133.5765 | 1347.52 | 530.8374 | 444.64 | 40.4379 | 454.216 | 351.1619 | 401.48 | 1926.096 | 11.133 | 224647.552 | 174.368 | 3130.9 | 700 | 3256.2 | 800 | 27.38 | 1040 | 0 |  |  | 0 | 6647560.237 | 3986.004 | 3904.5024 | 1484 | 238.7004 | 5.88 | 638.496 | 0 |  | 25.8755 | 316.204 | 7765.769 | 4150.7448 | 1794.4 | 0 | 0 | 3877.2428 | 1245.2 | 309.2523 | 172.12 | 17307.08 | 0 | 20249.919 | 38.72 | 192.585 | 588 | 62129 | 0 | 62129 | 0 | 18020 | 39624 |  | 0 | #DIV/0! |  | 352.06 | 364.704 | 1347.52 | 444.64 | 454.216 | 401.48 | 3364.62 | rakesh | 8209029388 | diesel dip check | 2201.38 | 3364.62 | 7765.769 | 0 | 0 | 1011.04 | 1289.32 | 1794.4 | 3671.009 | #REF! | #REF!
2025-05-13 | 38.2249 | 172.953 | 13678.904 | 48.109 | 0 | 0 | 216.3021 | 1261.94 | 6903.3536 | 37.48 | 34321.029 | 153.157 | 3656.43 | 4130 | 86.2937 | 191.832 | 2365892.743 | 3641.831 | 2717.025 | 6998.2 | 729.5513 | 2903.12 | 51.0727 | 16976 | 19.2831 | 330.818 | 140.6083 | 438.15 | 774703.994 | 504.591 | 3336166.256 | 796.323 | 210.9164 | 5971.4 | 300.1825 | 823.72 | 63.6113 | 1959.04 | 393.1022 | 142.6 | 3973.8408 | 14 | 342.2007 | 942.88 | 405.3754 | 1287.32 | 212720.961 | 277.753 | 56582.482 | 139.397 | 1859.717 | 2923 | 652.7945 | 386.72 | 942.3612 | 45.44 | 28506 | 4040 | 47997 | 4100 | 54158 | 0 | 493.8998 | 12181.412 | 0 | 0 | 154.4871 | 2146.19 | 125.5785 | 299.98 | 49.2628 | 301.436 | 134.924 | 1061.59 | 531.282 | 413.76 | 40.8922 | 374.968 | 351.5634 | 0 | 1937.229 | 6.619 | 224821.92 | 153.344 | 3131.6 | 700 | 3257 | 800 | 28.42 | 1050 | 0 |  |  | 0 | 6651546.241 | 4004.355 | 3905.9864 | 1443.2 | 238.7062 | 279.74 | 638.496 | 0 |  | 26.1917 | 293.179 | 7551.831 | 4152.5392 | 1523.2 | 0 | 0 | 3878.488 | 1162.4 | 309.4245 | 182.5 | 17307.08 | 250.4995 | 20288.639 | 52.261 | 193.173 | 828 | 51953 | 7643 | 59596 | 2177 | 15841 | 28641 |  | 250.4995 | 3.5108 |  | 299.98 | 301.436 | 1061.59 | 413.76 | 374.968 | 0 | 2451.734 | umesh | 9310062369 | diesel dip check | 2146.19 | 2451.734 | 7551.831 | 142.6 | 14 | 942.88 | 1287.32 | 1523.2 | 3641.831 | #REF! | #REF!
2025-05-14 | 38.3979 | 182.071 | 13727.013 | 64.128 | 0 | 0 | 217.5641 | 1287.14 | 6940.8336 | 35.7856 | 34474.186 | 135.512 | 3660.56 | 4159 | 86.4855 | 209.856 | 2369534.574 | 3664.053 | 2724.0232 | 7253.6 | 732.4544 | 2003.84 | 51.0897 | 17512 | 19.6139 | 365.658 | 141.0464 | 449.09 | 775208.585 | 424.473 | 3336962.579 | 898.883 | 216.8878 | 6398.4 | 301.0062 | 843 | 65.5704 | 2001.08 | 393.2448 | 395.8 | 3973.8548 | 13.2 | 343.1436 | 1419.36 | 406.6627 | 1294.08 | 212998.714 | 287.727 | 56721.879 | 121.568 | 1862.64 | 1724 | 653.1812 | 338.4 | 942.4066 | 132 | 28910 | 3750 | 48407 | 4590 | 54158 | 1290 | 506.0812 | 12680.508 | 0 | 0 | 156.6333 | 2663.29 | 125.8785 | 302.84 | 49.5643 | 242.424 | 135.9856 | 932.95 | 531.6958 | 440.93 | 41.2671 | 407.868 | 351.5634 | 130.12 | 1943.848 | 7.869 | 224975.264 | 142.784 | 3132.3 | 600 | 3257.8 | 700 | 29.47 | 1030 | 0 |  |  | 0 | 6655550.596 | 3998.173 | 3907.4296 | 1368.4 | 238.986 | 366.66 | 638.496 | 0 |  | 26.4848 | 291.131 | 7721.693 | 4154.0624 | 935.2 | 0 | 0 | 3879.6504 | 1068 | 309.607 | 181.72 | 17392.4 | 117.763 | 20340.9 | 43.357 | 194.001 | 419 | 43695.7 | 18435 | 62130.7 | 4593 | 10382 | 0 |  | 117.763 | 4.0137 |  | 302.84 | 242.424 | 932.95 | 440.93 | 407.868 | 130.12 | 2457.132 | krishna store |  | diesel dip check | 2663.29 | 2457.132 | 7721.693 | 395.8 | 13.2 | 1419.36 | 1294.08 | 935.2 | 3664.053 | #REF! | #REF!
2025-05-15 | 38.58 | 156.144 | 13791.141 | 60.34 | 0 | 0 | 218.8512 | 1279.7 | 6976.6192 | 37.2136 | 34609.698 | 158.221 | 3664.719 | 4057 | 86.6954 | 255.368 | 2373198.627 | 3602.177 | 2731.2768 | 6864.8 | 734.4582 | 2403.68 | 51.1072 | 17412 | 19.9795 | 345.734 | 141.4955 | 498.99 | 775633.058 | 470.333 | 3337861.462 | 944.946 | 223.2862 | 6411.66 | 301.8492 | 884.56 | 67.5714 | 2012.712 | 393.6406 | 0 | 3973.868 | 14.4 | 344.5629 | 1733.36 | 407.9568 | 1276.84 | 213286.441 | 328 | 56843.447 | 77.312 | 1864.364 | 2305 | 653.5196 | 96.68 | 942.5386 | 2.96 | 29285 | 1890 | 48866 | 4860 | 54287 | 3990 | 518.7617 | 12418.26 | 0 | 0 | 159.2966 | 2087.04 | 126.1813 | 287.61 | 49.8067 | 427.332 | 136.9186 | 1135.99 | 532.1367 | 437.71 | 41.675 | 312.364 | 351.6935 | 332.36 | 1951.717 | 5.424 | 225118.048 | 138.896 | 3132.9 | 700 | 3258.5 | 700 | 30.5 | 1020 | 0 |  |  | 0 | 6659548.769 | 3982.811 | 3908.798 | 1401.6 | 239.3526 | 64.25 | 638.496 | 0 |  | 26.776 | 333.802 | 7584.777 | 4154.9976 | 958 | 0 | 0 | 3880.7184 | 1230 | 309.7887 | 188.96 | 17432.51 | 0 | 20384.257 | 45.801 | 194.42 | 590 | 62611 | 2334 | 64945 | 660 | 9627 | 518303 | 34 battery 200AH(513400) | 0 | #REF! |  | 287.61 | 427.332 | 1135.99 | 437.71 | 352.3362 | 332.36 | 2973.3382 |  |  |  | 2087.04 | 2973.3382 | 7584.777 | 0 | 14.4 | 1733.36 | 1276.84 | 958 | 3602.177 | #REF! | #REF!
2025-05-16 | 38.7361 | 129.388 | 13851.481 | 50.467 | 0 | 0 | 220.1309 | 1216.32 | 7013.8328 | 37.8168 | 34767.919 | 251.177 | 3668.776 | 4150 | 86.9508 | 369.944 | 2376800.804 | 3624.267 | 2738.1416 | 7309.4 | 736.8619 | 2424.14 | 51.1246 | 17488 | 20.3253 | 385.632 | 141.9945 | 499.89 | 776103.391 | 520.209 | 3338806.408 | 866.559 | 229.6979 | 6219.6 | 302.7338 | 855.24 | 69.5842 | 1948.416 | 393.6406 | 165.08 | 3973.8824 | 28.8 | 346.2963 | 1763.76 | 409.2336 | 1287 | 213614.441 | 221.889 | 56920.759 | 148.153 | 1866.669 | 2321 | 653.6163 | 181.28 | 942.5416 | 44.72 | 29474 | 310 | 49352 | 4940 | 54686 | 4180 | 531.18 | 12447.7 | 0 | 0 | 161.3836 | 2351.98 | 126.4689 | 311.78 | 50.234 | 322.056 | 138.0546 | 971.05 | 532.5744 | 443.16 | 41.9874 | 315.352 | 352.0258 | 310.36 | 1957.141 | 7.49 | 225256.944 | 163.328 | 3133.6 | 700 | 3259.2 | 800 | 31.52 | 1050 | 0 |  |  | 0 | 6663531.58 | 4069.929 | 3910.1996 | 1400.4 | 239.4169 | 314.57 | 638.496 | 0 |  | 27.1098 | 361.156 | 7992.907 | 4155.9556 | 1124 | 0 | 0 | 3881.9484 | 958.4 | 309.9776 | 182.62 | 17432.51 | 101.1746 | 20430.058 | 34.479 | 195.01 | 609 | 50764 | 13544 | 64308 | 3678 | 18107 | 0 |  | 101.1746 | 3.6824 |  | 311.78 | 322.056 | 971.05 | 443.16 | 315.352 | 310.36 | 2673.758 | tana |  | bvg head | 2351.98 | 2673.758 | 7992.907 | 165.08 | 28.8 | 1763.76 | 1287 | 1124 | 3624.267 | #REF! | #REF!
2025-05-17 | 38.8655 | 157.884 | 13901.948 | 58.05 | 0 | 0 | 221.3472 | 1261.66 | 7051.6496 | 39.4576 | 35019.096 | 264.084 | 3672.926 | 4159 | 87.3207 | 355.08 | 2380425.071 | 3620.685 | 2745.451 | 7828.2 | 739.2861 | 2421.86 | 51.1421 | 17360 | 20.7109 | 329.506 | 142.4944 | 472.24 | 776623.6 | 401.94 | 3339672.967 | 805.498 | 235.9175 | 6138.4 | 303.589 | 466.84 | 71.5326 | 1919.816 | 393.8056 | 14.96 | 3973.9112 | 305.2 | 348.06 | 1730.2 | 410.5206 | 1291.72 | 213836.33 | 256.118 | 57068.912 | 130.073 | 1868.99 | 2394 | 653.7976 | 240.48 | 942.5863 | 115.6 | 29505 | 10 | 49846 | 4860 | 55104 | 4220 | 543.6277 | 12366.15 | 0 | 0 | 163.7356 | 2276.49 | 126.7807 | 335.79 | 50.5561 | 304.733 | 139.0256 | 1209.65 | 533.0176 | 419.08 | 42.3027 | 314.544 | 352.3362 | 411.4 | 1964.631 | 11.202 | 225420.272 | 174.128 | 3134.3 | 700 | 3260 | 800 | 32.57 | 1070 | 0 |  |  | 0 | 6667601.509 | 4109.855 | 3911.6 | 1481.6 | 239.7315 | 227.04 | 638.496 | 0 |  | 27.4709 | 334.462 | 8127.165 | 4157.0796 | 1164.4 | 0 | 0 | 3882.9068 | 1092.8 | 310.1603 | 169.72 | 17466.97 | 77.9508 | 20464.537 | 42.532 | 195.619 | 582 | 55417 | 9084 | 64501 | 2187 | 15920 | 21159 |  | 77.9508 | 4.1536 |  | 335.79 | 304.733 | 1209.65 | 419.08 | 314.544 | 411.4 | 2995.197 |  |  |  | 2276.49 | 2995.197 | 8127.165 | 14.96 | 305.2 | 1730.2 | 1291.72 | 1164.4 | 3620.685 | #REF! | #REF!
2025-05-18 | 39.0234 | 161.948 | 13959.998 | 55.281 | 0 | 0 | 222.6089 | 1223.52 | 7091.1072 | 37.9144 | 35283.18 | 207.409 | 3677.085 | 4108 | 87.6758 | 454.752 | 2384045.756 | 3595.507 | 2753.2792 | 7121.4 | 741.7079 | 2641.92 | 51.1594 | 15728 | 21.0404 | 282.954 | 142.9666 | 424.77 | 777025.54 | 250.072 | 3340478.465 | 606.512 | 242.0559 | 5121.24 | 304.0559 | 1182.66 | 73.4524 | 1638.804 | 393.8206 | 231.92 | 3974.2164 | 4 | 349.7902 | 1175.88 | 411.8123 | 1213.52 | 214092.448 | 266.867 | 57198.985 | 145.94 | 1871.384 | 2150 | 654.0381 | 246 | 942.7019 | 3.04 | 29506 | 30 | 50332 | 4940 | 55526 | 4160 | 555.9938 | 11689.73 | 0 | 0 | 166.0121 | 2322.39 | 127.1165 | 386.95 | 50.8608 | 351.239 | 140.2353 | 1302.33 | 533.4366 | 431.12 | 42.6173 | 313.607 | 352.7476 | 438.2 | 1975.833 | 6.108 | 225594.4 | 154.464 | 3135 | 700 | 3260.8 | 700 | 33.64 | 1040 | 0 |  |  | 0 | 6671711.364 | 3061.336 | 3913.0816 | 1339.6 | 239.9585 | 76.36 | 638.496 | 0 |  | 27.8054 | 339.276 | 7600.027 | 4158.244 | 1379.2 | 0 | 0 | 3883.9996 | 460.8 | 310.33 | 106.16 | 17493.52 | 30.1234 | 20507.069 | 27.054 | 196.201 | 659 | 57053 | 2537 | 59590 | 728 | 14943 | 4613 |  | 30.1234 | 3.4849 |  | 386.95 | 351.239 | 1302.33 | 431.12 | 313.607 | 438.2 | 3223.446 |  |  |  | 2322.39 | 3223.446 | 7600.027 | 231.92 | 4 | 1175.88 | 1213.52 | 1379.2 | 3595.507 | #REF! | #REF!
2025-05-19 | 39.1853 | 185.996 | 14015.279 | 59.138 | 0 | 0 | 223.8324 | 1283.1 | 7129.0216 | 36.2536 | 35490.589 | 239.491 | 3681.193 | 4090 | 88.1305 | 363.048 | 2387641.263 | 3631.566 | 2760.4006 | 7733.2 | 744.3498 | 2687.28 | 51.1752 | 17748 | 21.3234 | 327.04 | 143.3914 | 479.98 | 777275.612 | 204.366 | 3341084.977 | 756.526 | 247.1771 | 6448.82 | 305.2385 | 860.16 | 75.0912 | 1947.332 | 394.0525 | 3.16 | 3974.2204 | 1.6 | 350.9661 | 1566.88 | 413.0258 | 1271.88 | 214359.315 | 250.951 | 57344.925 | 125.375 | 1873.534 | 2278 | 654.2841 | 324.56 | 942.705 | 2.96 | 29509 | 120 | 50826 | 4940 | 55942 | 4210 | 567.6836 | 12326.92 | 0 | 0 | 168.3345 | 2439.62 | 127.5034 | 370.97 | 51.2121 | 354.46 | 141.5376 | 1374.56 | 533.8678 | 461.6 | 42.9309 | 316.613 | 353.1858 | 432 | 1981.941 | 7.103 | 225748.864 | 116.688 | 3135.7 | 700 | 3261.5 | 700 | 34.68 | 1050 | 0 |  |  | 0 | 6674772.7 | 4152.436 | 3914.4212 | 1582.8 | 240.0349 | 5.18 | 638.496 | 0 |  | 28.1447 | 383.264 | 8069.486 | 4159.6232 | 1594.4 | 0 | 0 | 3884.4604 | 1253.6 | 310.4361 | 192.64 | 17503.78 | 0 | 20534.123 | 40.007 | 196.86 | 606 | 65110 | 0 | 65110 | 0 | 14706 | 0 |  | 0 | #DIV/0! |  | 370.97 | 354.46 | 1374.56 | 461.6 | 316.613 | 432 | 3310.203 |  |  |  | 2439.62 | 3310.203 | 8069.486 | 3.16 | 1.6 | 1566.88 | 1271.88 | 1594.4 | 3631.566 | #REF! | #REF!
2025-05-20 | 39.3713 | 176.492 | 14074.417 | 55.269 | 0 | 0 | 225.1155 | 1276.88 | 7165.2752 | 34.6048 | 35730.08 | 208.92 | 3685.283 | 4126 | 88.4936 | 329.816 | 2391272.829 | 3648.169 | 2768.1338 | 7572 | 747.0371 | 2709.68 | 51.1929 | 18044 | 21.6504 | 331.87 | 143.8714 | 500.72 | 777479.978 | 1060.595 | 3341841.503 | 792.791 | 253.6259 | 6695.74 | 306.0987 | 875.68 | 77.0385 | 2010.798 | 394.0557 | 0 | 3974.222 | 2 | 352.533 | 1864.96 | 414.2977 | 1268 | 214610.266 | 248.743 | 57470.3 | 111.962 | 1875.812 | 2284 | 654.6086 | 285.88 | 942.7079 | 43.68 | 29521 | 50 | 51320 | 4870 | 56363 | 4130 | 580.0105 | 12521.16 | 0 | 0 | 170.7741 | 2438.28 | 127.8744 | 370.79 | 51.5665 | 355.48 | 142.9122 | 1372.89 | 534.3294 | 483.4 | 43.2475 | 314.768 | 353.6178 | 432.92 | 1989.044 | 5.118 | 225865.552 | 150.976 | 3136.4 | 700 | 3262.2 | 700 | 35.73 | 1040 | 0 |  |  | 0 | 6678925.136 | 4395.881 | 3916.004 | 1619.6 | 240.04 | 8.28 | 638.496 | 0 |  | 28.5279 | 336.04 | 8281.929 | 4161.2176 | 1498.8 | 0 | 0 | 3885.714 | 1434.8 | 310.6288 | 240.02 | 17503.78 | 0 | 20574.13 | 39.687 | 197.466 | 686 | 66012 | 0 | 66012 | 0 | 14706 | 27890 |  | 0 | #DIV/0! |  | 370.79 | 355.48 | 1372.89 | 483.4 | 314.768 | 432.92 | 3330.248 |  |  |  | 2438.28 | 3330.248 | 8281.929 | 0 | 2 | 1864.96 | 1268 | 1498.8 | 3648.169 | #REF! | #REF!
2025-05-21 | 39.5478 | 166.732 | 14129.686 | 52.496 | 0 | 0 | 226.3924 | 1284.94 | 7199.88 | 33.4712 | 35939 | 226.734 | 3689.409 | 4132 | 88.8234 | 424.24 | 2394920.998 | 3642.258 | 2775.7058 | 8469 | 749.7468 | 2476.88 | 51.211 | 17312 | 21.9823 | 295.03 | 144.3721 | 452.7 | 778540.573 | 492.266 | 3342634.294 | 810.367 | 260.3217 | 6250.12 | 306.9744 | 878.76 | 79.0493 | 1869.074 | 394.0557 | 232.4 | 3974.224 | 3.2 | 354.398 | 1444.92 | 415.5657 | 1291.28 | 214859.009 | 237.505 | 57582.262 | 91.306 | 1878.096 | 2160 | 654.8945 | 368.28 | 942.7516 | 156.72 | 29526 | 40 | 51807 | 4940 | 56776 | 4210 | 592.5316 | 12361.2 | 0 | 0 | 173.2124 | 2202.4 | 128.2452 | 346.9 | 51.922 | 312.92 | 144.2851 | 1298.9 | 534.8128 | 440.92 | 43.5622 | 310.072 | 354.0507 | 428.56 | 1994.162 | 10.962 | 226016.528 | 169.104 | 3137.1 | 700 | 3262.9 | 700 | 36.77 | 1060 | 0 |  |  | 0 | 6683321.017 | 4331.403 | 3917.6236 | 1628 | 240.0483 | 417.36 | 638.496 | 0 |  | 28.864 | 343.612 | 8059.658 | 4162.7164 | 1445.6 | 0 | 0 | 3887.1488 | 1313.2 | 310.8688 | 122.94 | 17503.78 | 259.9534 | 20613.817 | 36.722 | 198.152 | 614 | 48061 | 17749 | 65810 | 4389 | 9878 | 15749 |  | 259.9534 | 4.044 |  | 346.9 | 312.92 | 1298.9 | 440.92 | 310.072 | 428.56 | 3138.272 |  |  |  | 2202.4 | 3138.272 | 8059.658 | 232.4 | 3.2 | 1444.92 | 1291.28 | 1445.6 | 3642.258 | #REF! | #REF!
2025-05-22 | 39.7145 | 204.564 | 14182.182 | 46.088 | 0 | 0 | 227.6773 | 1338.14 | 7233.3512 | 36.7856 | 36165.734 | 215.589 | 3693.541 | 4120 | 89.2476 | 411.528 | 2398563.256 | 3604.179 | 2784.1748 | 7657.2 | 752.2237 | 2561.6 | 51.2283 | 17060 | 22.2773 | 318.854 | 144.8248 | 491.54 | 779032.839 | 560.624 | 3343444.661 | 815.755 | 266.5718 | 5843.22 | 307.8531 | 856.82 | 80.9184 | 1939.488 | 394.2881 | 279.28 | 3974.2272 | 11.6 | 355.8429 | 1330.84 | 416.857 | 1273.12 | 215096.514 | 315.279 | 57673.568 | 130.96 | 1880.256 | 2169 | 655.2628 | 262.6 | 942.9083 | 3.04 | 29530 | 10 | 52301 | 5010 | 57197 | 4230 | 604.8928 | 12583.2 | 0 | 0 | 175.4148 | 2106.34 | 128.5921 | 376.7 | 52.2349 | 341.68 | 145.584 | 1351.64 | 535.2537 | 404 | 43.8723 | 322.544 | 354.4793 | 411.96 | 2005.124 | 3.734 | 226185.632 | 98.944 | 3137.8 | 600 | 3263.6 | 700 | 37.83 | 1030 | 0 |  |  | 0 | 6687652.42 | 4212.547 | 3919.2516 | 1682.4 | 240.4657 | 472.28 | 638.496 | 0 |  | 29.2076 | 372.382 | 8124.219 | 4164.162 | 1625.2 | 0 | 0 | 3888.462 | 841.2 | 310.9917 | 160.48 | 17592.32 | 312.1262 | 20650.539 | 41.498 | 198.766 | 579 | 43445 | 20100 | 63545 | 4823 | 16542 | 47790 |  | 312.1262 | 4.1675 |  | 376.7 | 341.68 | 1351.64 | 404 | 322.544 | 411.96 | 3208.524 |  |  |  | 2106.34 | 3208.524 | 8124.219 | 279.28 | 11.6 | 1330.84 | 1273.12 | 1625.2 | 3604.179 | #REF! | #REF!
2025-05-23 | 39.9191 | 210.524 | 14228.27 | 46.173 | 0 | 0 | 229.0155 | 1371.82 | 7270.1368 | 35.3152 | 36381.323 | 211.404 | 3697.661 | 4104 | 89.6592 | 423.496 | 2402167.435 | 3665.32 | 2791.832 | 7680.6 | 754.7853 | 2711.36 | 51.2453 | 17596 | 22.5962 | 343.988 | 145.3164 | 460.56 | 779593.463 | 530.99 | 3344260.416 | 857.868 | 272.415 | 6348.92 | 308.7099 | 873.94 | 82.8579 | 2069.552 | 394.5674 | 0 | 3974.2388 | 0 | 357.1737 | 1471.68 | 418.1301 | 1287.8 | 215411.793 | 258.06 | 57804.528 | 94.163 | 1882.425 | 2195 | 655.5254 | 422.88 | 942.9114 | 3.12 | 29531 | 20 | 52802 | 4980 | 57620 | 4230 | 617.476 | 12617.24 | 0 | 0 | 177.5211 | 2400.36 | 128.9688 | 393.5 | 52.5766 | 359.012 | 146.9356 | 1362.43 | 535.6577 | 480.56 | 44.1949 | 325.468 | 354.8912 | 439.68 | 2008.858 | 3.337 | 226284.576 | 107.552 | 3138.4 | 700 | 3264.3 | 800 | 38.86 | 1030 | 0 |  |  | 0 | 6691864.967 | 4207.758 | 3920.934 | 1473.6 | 240.938 | 6.84 | 638.496 | 0 |  | 29.58 | 401.048 | 8100.4 | 4165.7872 | 1675.6 | 0 | 0 | 3889.3032 | 1165.2 | 311.1522 | 183.04 | 17698.63 | 0.02936 | 20692.037 | 46.577 | 199.345 | 596 | 65235 | 0 | 65235 | 0 | 16431 | 4045 |  | 0.02936 | #DIV/0! |  | 393.5 | 359.012 | 1362.43 | 480.56 | 325.468 | 439.68 | 3360.65 |  |  |  | 2400.36 | 3360.65 | 8100.4 | 0 | 0 | 1471.68 | 1287.8 | 1675.6 | 3665.32 | #REF! | #REF!
2025-05-24 | 40.1296 | 206.876 | 14274.443 | 42.538 | 0 | 0 | 230.3873 | 1351.12 | 7305.452 | 37.4808 | 36592.727 | 199.304 | 3701.765 | 4124 | 90.0827 | 429.512 | 2405832.755 | 3613.105 | 2799.5126 | 8042.6 | 757.4966 | 2633.76 | 51.2629 | 17268 | 22.9402 | 326.554 | 145.7769 | 461.48 | 780124.453 | 535.524 | 3345118.284 | 816.199 | 278.7639 | 6157.46 | 309.5839 | 864.12 | 84.9274 | 1899.92 | 394.5674 | 414.8 | 3974.2388 | 8.4 | 358.6454 | 1730.12 | 419.4179 | 1252.04 | 215669.853 | 324.363 | 57898.691 | 109.13 | 1884.62 | 2128 | 655.9483 | 354.44 | 942.9145 | 3.04 | 29533 | 40 | 53300 | 4980 | 58043 | 4160 | 630.0933 | 12912.2 | 0 | 0 | 179.9215 | 2437.48 | 129.3623 | 300.86 | 52.9356 | 286.86 | 148.298 | 1275.02 | 536.1382 | 463.76 | 44.5203 | 314.416 | 355.3309 | 419.88 | 2012.195 | 9.567 | 226392.128 | 92.032 | 3139.1 | 700 | 3265.1 | 700 | 39.89 | 1040 | 0 |  |  | 0 | 6696072.725 | 4030.414 | 3922.4076 | 1399.2 | 240.9448 | 708.34 | 638.496 | 0 |  | 29.981 | 370.14 | 8134.865 | 4167.4628 | 1116.4 | 0 | 0 | 3890.4684 | 918 | 311.3353 | 155.1 | 17698.64 | 204.2575 | 20738.614 | 44.793 | 199.941 | 576 | 36945 | 27236 | 64181 | 6585 | 8003 | 3486 |  | 204.2575 | 4.1361 |  | 300.86 | 286.86 | 1275.02 | 463.76 | 314.416 | 419.88 | 3060.796 |  |  |  | 2437.48 | 3060.796 | 8134.865 | 414.8 | 8.4 | 1730.12 | 1252.04 | 1116.4 | 3613.105 | #REF! | #REF!
2025-05-25 | 40.3365 | 162.228 | 14316.981 | 42.473 | 0 | 0 | 231.7384 | 1295.76 | 7342.9328 | 38.5288 | 36792.031 | 129.346 | 3705.889 | 4101 | 90.5122 | 406.944 | 2409445.86 | 3650.237 | 2807.5552 | 6783.6 | 760.1304 | 2218.8 | 51.2802 | 15308 | 23.2667 | 255.748 | 146.2384 | 343.4 | 780659.977 | 433.33 | 3345934.483 | 541.863 | 284.9214 | 4731.02 | 310.448 | 773.66 | 86.8274 | 1592.68 | 394.9822 | 379.08 | 3974.2472 | 2 | 360.3755 | 1224.2 | 420.67 | 1265.16 | 215994.216 | 243.795 | 58007.821 | 83.325 | 1886.748 | 2055 | 656.3027 | 429.8 | 942.9175 | 2.96 | 29537 | 10 | 53798 | 4920 | 58459 | 4130 | 643.0055 | 10925.44 | 0 | 0 | 182.359 | 2178.16 | 129.6632 | 365.48 | 53.2225 | 349.792 | 149.573 | 1346.73 | 536.602 | 526.52 | 44.8347 | 304.552 | 355.7508 | 407.84 | 2021.762 | 6.694 | 226484.16 | 84.368 | 3139.8 | 600 | 3265.8 | 700 | 40.93 | 1020 | 0 |  |  | 0 | 6700103.139 | 2997.715 | 3923.8068 | 1317.2 | 241.6531 | 36.06 | 638.496 | 0 |  | 30.3512 | 346.772 | 7706.677 | 4168.5792 | 1186 | 0 | 0 | 3891.3864 | 295.2 | 311.4904 | 103.48 | 17768.21 | 0 | 20783.407 | 31.175 | 200.517 | 512 | 54327 | 3619 | 57946 | 1157 | 7879 | 0 |  | 0 | 3.1279 |  | 365.48 | 349.792 | 1346.73 | 526.52 | 304.552 | 407.84 | 3300.914 |  |  |  | 2178.16 | 3300.914 | 7706.677 | 379.08 | 2 | 1224.2 | 1265.16 | 1186 | 3650.237 | #REF! | #REF!
2025-05-26 | 40.4987 | 228.376 | 14359.454 | 47.107 | 0 | 0 | 233.0342 | 1360.52 | 7381.4616 | 39.0976 | 36921.377 | 226.55 | 3709.99 | 4086 | 90.9191 | 431.692 | 2413096.097 | 3659.492 | 2814.3388 | 7198.8 | 762.3492 | 2453.92 | 51.2955 | 17084 | 23.5225 | 324.82 | 146.5818 | 483.09 | 781093.307 | 418.354 | 3346476.346 | 872.587 | 289.6524 | 6045.4 | 311.2217 | 1206.04 | 88.42 | 1893.488 | 395.3612 | 0 | 3974.2492 | 0 | 361.5997 | 1906.88 | 421.9351 | 1282.64 | 216238.011 | 303.976 | 58091.146 | 70.34 | 1888.803 | 2239 | 656.7325 | 292.56 | 942.9205 | 8.32 | 29538 | 40 | 54290 | 4950 | 58872 | 4210 | 653.9309 | 12488.56 | 0 | 0 | 184.5371 | 2409.42 | 130.0286 | 357.21 | 53.5723 | 348.952 | 150.9198 | 1349.13 | 537.1285 | 546.96 | 45.1393 | 330.96 | 356.1586 | 433.76 | 2028.456 | 6.625 | 226568.528 | 41.824 | 3140.4 | 700 | 3266.5 | 800 | 41.95 | 1020 | 0 |  |  | 0 | 6703100.854 | 4265.981 | 3925.124 | 1486 | 241.6892 | 9.68 | 638.496 | 0 |  | 30.6979 | 381.31 | 8351.412 | 4169.7652 | 1502.4 | 0 | 0 | 3891.6816 | 1014 | 311.5938 | 171.34 | 17768.21 | 0 | 20814.582 | 47.6 | 201.029 | 615 | 64299 | 0 | 64299 | 0 | 7755 | 550 |  | 0 | #DIV/0! |  | 357.21 | 348.952 | 1349.13 | 546.96 | 330.96 | 433.76 | 3366.972 |  |  |  | 2409.42 | 3366.972 | 8351.412 | 0 | 0 | 1906.88 | 1282.64 | 1502.4 | 3659.492 | #REF! | #REF!
2025-05-27 | 40.7271 | 186.864 | 14406.561 | 48.945 | 0 | 0 | 234.3947 | 875.58 | 7420.5592 | 35.4848 | 37147.927 | 231.328 | 3714.076 | 2642 | 91.3508 | 436.756 | 2416755.589 | 3641.582 | 2821.5376 | 7484.8 | 764.8031 | 2511.12 | 51.3126 | 15968 | 23.8473 | 334.278 | 147.0649 | 488.09 | 781511.661 | 381.037 | 3347348.933 | 853.856 | 295.6978 | 6475.64 | 312.4277 | 1136.16 | 90.3135 | 1937.704 | 395.3612 | 0 | 3974.2492 | 387.2 | 363.5066 | 1506.84 | 423.2178 | 1115.8 | 216541.987 | 219.373 | 58161.486 | 108.21 | 1891.042 | 2279 | 657.0251 | 533.56 | 942.9288 | 5.36 | 29542 | 2100 | 54785 | 4980 | 59293 | 4200 | 666.4195 | 12926.76 | 0 | 0 | 186.9466 | 2605.88 | 130.3859 | 370.73 | 53.9212 | 353.344 | 152.2689 | 1310.42 | 537.6755 | 549.04 | 45.4703 | 328.664 | 356.5924 | 428.76 | 2035.081 | 6.57 | 226610.352 | 77.456 | 3141.1 | 100 | 3267.3 | 0 | 42.97 | 140 | 0 |  |  | 0 | 6707366.835 | 4427.33 | 3926.61 | 1448.8 | 241.6989 | 9.1 | 638.496 | 0 |  | 31.0792 | 375.002 | 8307.022 | 4171.2676 | 1655.6 | 0 | 0 | 3892.6956 | 1090.8 | 311.7652 | 184.021 | 17768.21 | 0 | 20862.182 | 41.155 | 201.644 | 871 | 64009 | 0 | 64009 | 0 | 20107 | 44655 |  | 0 | #DIV/0! |  | 370.73 | 353.344 | 1310.42 | 549.04 | 328.664 | 428.76 | 3340.958 |  |  |  | 2605.88 | 3340.958 | 8307.022 | 0 | 387.2 | 1506.84 | 1115.8 | 1655.6 | 3641.582 | #REF! | #REF!
2025-05-28 | 40.914 | 107.464 | 14455.506 | 29.897 | 0 | 0 | 235.2703 | 1120.64 | 7456.044 | 39.192 | 37379.255 | 258.96 | 3716.718 | 3442 | 91.7876 | 434.696 | 2420397.171 | 3640.664 | 2829.0224 | 7808.2 | 767.3142 | 2489.2 | 51.3286 | 17452 | 24.1816 | 334.8 | 147.553 | 495.01 | 781892.698 | 461.7 | 3348202.789 | 750.844 | 302.1734 | 6967.24 | 313.5639 | 1187.16 | 92.2512 | 2011.728 | 395.3612 | 6.4 | 3974.6364 | 446 | 365.0134 | 1262.32 | 424.3336 | 1278.84 | 216761.36 | 98.691 | 58269.696 | 128.676 | 1893.321 | 2276 | 657.5586 | 416.88 | 942.9342 | 3.04 | 29752 | 3650 | 55283 | 5040 | 59713 | 4150 | 679.3462 | 13071.44 | 0 | 0 | 189.5524 | 2709.8 | 130.7566 | 370.23 | 54.2746 | 354.404 | 153.5793 | 1262.15 | 538.2245 | 557.48 | 45.7989 | 331.488 | 357.0212 | 480.4 | 2041.651 | 5.498 | 226687.808 | 81.088 | 3141.2 | 200 | 3267.3 | 500 | 43.11 | 810 | 0 |  |  | 0 | 6711794.165 | 3977.977 | 3928.0588 | 1127.2 | 241.708 | 9.04 | 638.496 | 0 |  | 31.4542 | 334.724 | 8335.024 | 4172.9232 | 1700.8 | 0 | 0 | 3893.7864 | 1418.8 | 311.9492 | 163.979 | 17768.21 | 34.2044 | 20903.337 | 50.157 | 202.515 | 900 | 68342 | 0 | 68342 | 0 | 19759 | 6789 |  | 34.2044 | #DIV/0! |  | 370.23 | 354.404 | 1262.15 | 557.48 | 331.488 | 480.4 | 3356.152 |  |  |  | 2709.8 | 3356.152 | 8335.024 | 6.4 | 446 | 1262.32 | 1278.84 | 1700.8 | 3640.664 | #REF! | #REF!
2025-05-29 | 41.0214 | 83.72 | 14485.403 | 25.327 | 0 | 0 | 236.3909 | 1229.34 | 7495.236 | 36.9416 | 37638.215 | 242.695 | 3720.16 | 3913 | 92.2223 | 422.24 | 2424037.835 | 3570.023 | 2836.8306 | 7556.6 | 769.8034 | 2879.6 | 51.346 | 18312 | 24.5164 | 330.066 | 148.048 | 469.41 | 782354.398 | 519.554 | 3348953.633 | 701.004 | 309.1407 | 6591 | 314.751 | 1233.12 | 94.263 | 1931.296 | 395.3676 | 20.88 | 3975.0824 | 118.4 | 366.2758 | 1785.04 | 425.6124 | 1201.72 | 216860.051 | 40.534 | 58398.372 | 256.013 | 1895.597 | 2255 | 657.9755 | 440.4 | 942.9372 | 41.2 | 30117 | 3720 | 55787 | 4280 | 60128 | 4130 | 692.4177 | 12768.16 | 0 | 0 | 192.2622 | 2617.88 | 131.1268 | 381.03 | 54.629 | 338.452 | 154.8415 | 1195.74 | 538.782 | 507.08 | 46.1304 | 382.068 | 357.5016 | 352.92 | 2047.149 | 2.344 | 226768.896 | 91.44 | 3141.4 | 600 | 3267.8 | 700 | 43.92 | 890 | 0 |  |  | 0 | 6715772.142 | 4317.031 | 3929.186 | 1415.6 | 241.717 | 141.68 | 638.496 | 0 |  | 31.789 | 352.802 | 8290.463 | 4174.624 | 1594.4 | 0 | 0 | 3895.2052 | 1028.4 | 312.1132 | 173.08 | 17779.86 | 11.744 | 20953.494 | 45.034 | 203.415 | 536 | 63041 | 5620 | 68661 | 1376 | 18009 | 5300 |  | 11.744 | 4.0843 |  | 381.03 | 338.452 | 1195.74 | 507.08 | 382.068 | 352.92 | 3157.29 |  |  |  | 2617.88 | 3157.29 | 8290.463 | 20.88 | 118.4 | 1785.04 | 1201.72 | 1594.4 | 3570.023 | #REF! | #REF!
2025-05-30 | 41.1052 | 113.948 | 14510.73 | 39.769 | 0 | 0 | 237.6202 | 1315.36 | 7532.1776 | 38.2112 | 37880.91 | 283.957 | 3724.073 | 3962 | 92.6445 | 420.048 | 2427607.858 | 3629.658 | 2844.3872 | 8048.6 | 772.683 | 2826.8 | 51.3643 | 16780 | 24.8464 | 360.01 | 148.5174 | 472.94 | 782873.952 | 532.301 | 3349654.637 | 830.282 | 315.7317 | 6190.24 | 315.9841 | 869.38 | 96.1943 | 1921.824 | 395.3885 | 481.64 | 3975.2008 | 271.2 | 368.0608 | 1599 | 426.8141 | 1281.64 | 216900.585 | 183.238 | 58654.385 | 295.927 | 1897.852 | 2364 | 658.4159 | 459 | 942.9784 | 152.56 | 30489 | 3760 | 56215 | 4430 | 60541 | 4140 | 705.1858 | 13444 | 0 | 0 | 194.8801 | 2344.1 | 131.5078 | 388.4 | 54.9674 | 362.256 | 156.0372 | 1164.03 | 539.2891 | 520.24 | 46.5125 | 440.632 | 357.8545 | 401.78 | 2049.493 | 8.465 | 226860.336 | 77.312 | 3142 | 600 | 3268.5 | 700 | 44.81 | 960 | 0 |  |  | 0 | 6720089.173 | 4094.561 | 3930.6016 | 1260.8 | 241.8587 | 122.54 | 638.496 | 0 |  | 32.1418 | 380.194 | 8609.138 | 4176.2184 | 1346 | 0 | 0 | 3896.2336 | 747.6 | 312.2863 | 174.44 | 17783.86 | 0.41104 | 20998.528 | 47.732 | 203.951 | 480 | 63882 | 5041 | 68923 | 1260 | 16651 | 1115873 |  | 0.41104 | 4.0008 |  | 388.4 | 362.256 | 1164.03 | 520.24 | 440.632 | 401.78 | 3277.338 |  |  |  | 2344.1 | 3277.338 | 8609.138 | 481.64 | 271.2 | 1599 | 1281.64 | 1346 | 3629.658 | #REF! | #REF!
2025-05-31 | 41.2191 | 178.477 | 14550.499 | 46.39 | 0 | 0 | 238.9356 | 1368.68 | 7570.3888 | 35.1518 | 38164.867 | 269.494 | 3728.035 | 3994 | 93.0646 | 423.448 | 2431237.516 | 3769.971 | 2852.4358 | 7465.8 | 775.5098 | 2776.56 | 51.3811 | 17352 | 25.2064 | 332.458 | 148.9903 | 487.86 | 783406.253 | 510.076 | 3350484.919 | 820.582 | 321.9219 | 6058.8 | 316.8535 | 954 | 98.1161 | 1917.7 | 395.8702 | 16.44 | 3975.472 | 13.2 | 369.6598 | 27888.72 | 428.0958 | 1282.4 | 217083.823 | 256.103 | 58950.312 | 112.425 | 1900.216 | 2274 | 658.8749 | 297.88 | 943.131 | 210.64 | 30865 | 4240 | 56658 | 4200 | 60955 | 4260 | 718.6298 | 12659.92 | 0 | 0 | 197.2242 | 2309.3 | 131.8962 | 392.58 | 55.3297 | 356.484 | 157.2012 | 1182.12 | 539.8093 | 529.56 | 46.9531 | 454.824 | 358.2563 | 437.23 | 2057.958 | 2.917 | 226937.648 | 107.12 | 3142.6 | 600 | 3269.2 | 900 | 45.77 | 1030 | 0 | 0 | 0 | 0 | 6724183.734 | 4110.836 | 3931.8624 | 1346 | 241.9812 | 103.42 | 638.496 | 0 | -638496000 | 32.522 | 393.666 | 34580.731 | 4177.5644 | 1610 | 0 | 0 | 3896.9812 | 1082.8 | 312.4607 | 177.36 | 17784 | 24.8973 | 21046.26 | 44.819 | 204.431 | 908 | 63763 | 4249 | 68012 | 1150 | 15526 | 83.198 |  | 24.8973 | 3.6948 |  | 392.58 | 356.484 | 1182.12 | 529.56 | 454.824 | 437.23 | 3352.798 |  |  |  | 2309.3 | 3352.798 | 34580.731 | 16.44 | 13.2 | 27888.72 | 1282.4 | 1610 | 3769.971 | #REF! | #REF!
2025-06-01 | 41.3976 | -41397.585 | 14596.889 | -14596.889 |  | 0 | 240.3043 | -240304.28 | 7605.5406 | -7605.5406 | 38434.361 | -38434.361 | 3732.029 | -3732029 | 93.488 |  | 2435007.487 | -2435007.487 | 2859.9016 | -2859901.6 | 778.2864 | -778286.4 | 51.3985 | -51398460 | 25.5389 | -25538.892 | 149.4782 | -149478.2 | 783916.329 | -783916.329 | 3351305.501 | -3351305.501 | 327.9807 | -327980.72 | 317.8075 | -317807.52 | 100.0338 | -100033.78 | 395.8866 | -395886.6 | 3975.4852 | -3975485.2 | 397.5485 | -397548.52 | 429.3782 | -429378.16 | 217339.926 | -217339.926 | 59062.737 | -59062.737 | 1902.49 | -1902490 | 659.1728 | -659172.8 | 943.3416 | -943341.6 | 31289 | -312890 | 57078 | -570780 | 61381 | -613810 | 731.2898 | -731289.76 | 0 | 0 | 199.5335 | -199533.52 | 132.2888 | -132288.82 | 55.6862 | -55.6862 | 158.3834 | -158383.37 | 540.3389 | -540338.88 | 47.4079 | -47407.936 | 358.6935 | -358693.49 | 2060.875 | -2060.875 | 227044.768 | -227044.768 | 3143.2 | -3143200 | 3270.1 | -3270100 | 46.8 | -46800 | 0 |  |  | 0 | 6728294.57 | -6728294.57 | 3933.2084 | -3933208.4 | 242.0847 | -242084.66 | 638.496 | -638496 |  | 32.9156 | -32915.632 | -11812480.367 | 4179.1744 | -4179174.4 | 0 | 0 | 3898.064 | -3898064 | 312.6381 | 17792.48 | 17792.48 | -52238.7213 | 21091.079 | -21091.079 | 205.339 | -205339 | 63763 | 4249 | 68012 | 1150 | 15526 | 83.198
0
0
[83 empty] | 12:00 | 174396.896 | 36.512
[83 empty] | 9:00 | 174433.408
[58 empty] | 55200 | [26 empty] | 4.0569
[58 empty] | 98400 | [26 empty] | 97.3653
153600
85014
[53 empty] | 488.7218 |  | 910.2269
v
Note on AX15: 22522: mmeter reset & new installed
Note on AN21: 22522: Reading changed mwh into kwh
Note on AB28: 29541: 299.02250

## Sheet1 (hidden)
DATE | UPPCL POWER | % | SOLAR POWER | % | DG POWER | % | TOTAL
2024-07-01 | #REF! | #REF! | #REF! | #REF! | 1355 | 1.9943 | 67942
2024-07-02 | #REF! | #REF! | #REF! | #REF! | 25897 | 40.4729 | 63986
2024-07-03 | #REF! | #REF! | #REF! | #REF! | 7386 | 11.0642 | 66756
2024-07-04 | #REF! | #REF! | #REF! | #REF! | 9074 | 14.8026 | 61300
2024-07-05 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 66235
2024-07-06 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 67290
2024-07-07 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 66942
2024-07-08 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 68117
2024-07-09 | #REF! | #REF! | #REF! | #REF! | 4139 | 6.0842 | 68029
2024-07-10 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 66803
2024-07-11 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 62910
2024-07-12 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 62129
2024-07-13 | #REF! | #REF! | #REF! | #REF! | 7643 | 12.8247 | 59596
2024-07-14 | #REF! | #REF! | #REF! | #REF! | 18435 | 29.6713 | 62130.7
2024-07-15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 64945
2024-07-16 | #REF! | #REF! | #REF! | #REF! | 13544 | 21.0611 | 64308
2024-07-17 | #REF! | #REF! | #REF! | #REF! | 9084 | 14.0835 | 64501
2024-07-18 | #REF! | #REF! | #REF! | #REF! | 2537 | 4.2574 | 59590
2024-07-19 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 65110
2024-07-20 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 66012
2024-07-21 | #REF! | #REF! | #REF! | #REF! | 17749 | 26.9701 | 65810
2024-07-22 | #REF! | #REF! | #REF! | #REF! | 20100 | 31.6311 | 63545
2024-07-23 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 65235
2024-07-24 | #REF! | #REF! | #REF! | #REF! | 27236 | 42.4362 | 64181
2024-07-25 | #REF! | #REF! | #REF! | #REF! | 3619 | 6.2455 | 57946
2024-07-26 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 64299
2024-07-27 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 64009
2024-07-28 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 68342
2024-07-29 | #REF! | #REF! | #REF! | #REF! | 5620 | 8.1851 | 68661
2024-07-30 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2024-07-31 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!