## (1) Data sheet
| DAILY_ENERGY_METER_READING_ FOR_THE_MONTH_OF FEB 2020 | [5 empty] | SEP | 2020-10-01 | [62 empty] | 0.26487
DATE | NEW ETP1 | TOTAL KWH | ETP2 | TOTAL KWH | NBF-II | TOTAL KWH | 7F-630A | TOTAL KWH | 200V BUSBAR | TOTAL KWH | EVP BUS BAR | TOTAL KWH | RS UPS BUSBAR | TOTAL KWH | HEATER READIATOR | TOTAL KWH | AIR COMP. 1000 CFM | TOTAL KWH | MLTP DG ROOM | TOTAL KWH | ELECT PANEL-1 | TOTAL KWH | MAIN UPS ROOM | TOTAL KWH | BUS BAR-1 | TOTAL KWH | BUSBAR-2 | TOTAL KWH | BUSBAR-4 | TOTAL KWH | BUSBAR-5 | TOTAL KWH | BUSBAR-6 | TOTAL KWH | BUSBAR-7 | TOTAL KWH | BUSBAR-8 | TOTAL KWH | ATLAS-1 | TOTAL KWH | ATLAS-2 | TOTAL KWH | ATLAS-3 | TOTAL KWH | ATLAS-4 | TOTAL KWH | DM PLANT | TOTAL KWH | RO PLANT | TOTAL KWH | COMP UPS BUS BAR | TOTAL KWH | SURFACE TREATMENT-1 | TOTAL KWH | VBF | TOTAL KWH | NBF-1 | TOTAL KWH | NBF-3 | TOTAL KWH | NBF-4 | TOTAL KWH | COMP.PLANT 1600 AMP ACB NEW LT PANEL(11F) | TOTAL KWH | WTP-1 | TOTAL KWH | AHU | TOTAL KWH | AIR WASHER-1 | TOTAL KWH | A/W-2/3 | TOTAL KWH | MFC AIR WAHER-1 | TOTAL KWH | MFC AIR WASHER-2 | TOTAL KWH | MFC AIR WASHER-3 | TOTAL KWH | MFC AIR WASHER-4 | TOTAL KWH | STP 40kld | TOTAL KWH | STP 100kld | TOTAL KWH | S/T-2 PANEL-1 | TOTAL KWH | S/T-2 PANEL-2 | TOTAL KWH | S/T-2 PANEL-3 | TOTAL KWH | ENDURENCE M/C | TOTAL KWH | QA TEST LB | TOTAL KWH | B-196 | TOTAL KWH | Molding Machine | TOTAL KWH | DG AUX | TOTAL KWH | VBF CT FAN | TOTAL KWH | CONDENSOR LINE | TOTAL KWH | TOTAL AIR COMP. UNIT | ATLAS -5 | TOTAL KWH | KAESER COMPRESSOR | TOTAL KWH | ADMIN-1 (AC PANEL) | TOTAL KWH | ADMIN-1 (basement panel) | TOTAL KWH | PNG METER READING | TOTAL | TUC SHOP | TOTAL | NEW CANTEEN | TOTAL | UPPCL (UNIT ) | DG UNIT | total unit (UPPCL+DG) | Diesel consumption Ltr, | DIESEL STOCK | SPARE COST | used According store (diesel) | PNG (SCM) consumption | sfc | pf | AIR WASHER-1 | A/W-2/3 | MFC AIR WAHER-1 | MFC AIR WASHER-2 | MFC AIR WASHER-3 | MFC AIR WASHER-4 | Total |  |  |  | AHU | AIR WASHER | AIR COMP. | air comp 1 | air comp 2 | air comp 3 | air comp 4 | air comp 5 | air comp 6 (1000 cfm) | air comp 7 | total
2025-04-01 | 30.7583 | 147.55 | 11999.184 | 32.958 | 0 | 0 | 161.8578 | 1273.37 | 5323.1284 | 37.9632 | 24705.848 | 222.028 | 3478.72 | 4355 | 68.0752 | 466.616 | 2212564.575 | 3669.25 | 2435.4202 | 5224.6 | 635.84 | 1930.84 | 50.3922 | 15452 | 5000.0572 | 316.6708 | 120.8775 | 393.09 | 755626.563 | 477.337 | 3302548.352 | 607.155 | 1993.0232 | 4502 | 259.0895 | 979.36 | 696.6448 | 1971.12 | 383.3978 | 2147.64 | 3968.2768 | 0 | 292.8162 | 0 | 351.5475 | 1288.08 | 205040.202 | 228.427 | 51699.26 | 146.797 | 1765.12 | 2227 | 642.3533 | 0.2 | 940.9319 | 3.04 | 20684 | 0 | 28556 | 4850 | 39404 | 3500 | 4876.5044 | 13347.6 | 0 | 0 | 80.4088 | 1361.572 | 112.0312 | 264.87 | 34.1491 | 0.24617 | 87.9464 | 916.56 | 515.1174 | 251.16 | 26.663 | 316.484 | 341.266 | 0 | 1683.953 | 9.011 | 218975.072 | 165.84 | 3103.1 | 700 | 3224.7 | 800 | 980.28 | 1170 | 0 |  |  | 0 | 6486199.706 | 3547.108 | 3842.1012 | 1094 | 236.3893 | 6.64 | 638.496 | 0 | 11.177 | 426.778 | 8282.17 | 4071.5432 | 1177.2 | 0 | 0 | 3845.4684 | 654.8 | 302.8368 | 174.84 | 16516.19 | 0 | 18456.165 | 48.603 | 169.554 | 433 | 57045 | 0 | 57045 | 0 | 16545 | 617 |  | 0 | #DIV/0! |  | 0.26487 | 0.24617 | 916.56 | 251.16 | 316.484 | 0 | 1484.715 |  |  |  | 1361.572 | 1484.715 | 8282.17 | 2147.64 | 0 | #REF! | 1288.08 | 1177.2 | 3669.25 | #REF! | #REF!
2025-04-02 | 30.9059 | 150.322 | 12032.142 | 36.887 | 0 | 0 | 163.1311 | 1273.1 | 5361.0916 | 36.5248 | 24927.876 | 248.489 | 3483.075 | 4381 | 68.5418 | 467.792 | 2216233.825 | 3659.472 | 2440.6448 | 5604.8 | 637.7708 | 1849.2 | 50.4077 | 15540 | 5316.728 | 347.4864 | 121.2706 | 476.81 | 756103.9 | 415.858 | 3303155.507 | 607.175 | 1997.5252 | 4580.4 | 260.0688 | 976.94 | 698.6159 | 2005.6 | 385.5454 | 2141.72 | 3968.2768 | 4.8 | 292.8162 | 0 | 352.8356 | 1288.48 | 205268.629 | 215.587 | 51846.057 | 63.284 | 1767.347 | 2289 | 642.3535 | 0 | 940.935 | 3.12 | 20684 | 0 | 29041 | 4910 | 39754 | 3600 | 4889.852 | 13493 | 0 | 0 | 81.7704 | 1349.36 | 112.2961 | 261.63 | 34.3952 | 338.768 | 88.863 | 913.152 | 515.3686 | 319.64 | 26.9794 | 305.99 | 341.266 | 0 | 1692.964 | 7.15 | 219140.912 | 164.912 | 3103.8 | 800 | 3225.5 | 800 | 981.45 | 1170 | 0 |  |  | 0 | 6489746.814 | 3637.075 | 3843.1952 | 1178.8 | 236.3959 | 8 | 638.496 | 0 | 11.6038 | 404.664 | 8252.072 | 4072.7204 | 1157.6 | 0 | 0 | 3846.1232 | 645.2 | 303.0117 | 168.02 | 16516.19 | 0.23488 | 18504.768 | 46.074 | 169.987 | 444 | 57961 | 0 | 57961 | 0 | 16545 | 4579 |  | 0.23488 | #DIV/0! |  | 261.63 | 338.768 | 913.152 | 319.64 | 305.99 | 0 | 2139.18 |  |  |  | 1349.36 | 2139.18 | 8252.072 | 2141.72 | 4.8 | 0 | 1288.48 | 1157.6 | 3659.472 | #REF! | #REF!
2025-04-03 | 31.0562 | 156.506 | 12069.029 | 33.273 | 0 | 0 | 164.4042 | 1281.54 | 5397.6164 | 39.62 | 25176.365 | 259.321 | 3487.456 | 4344 | 69.0096 | 454.012 | 2219893.297 | 3668.798 | 2446.2496 | 5701.6 | 639.62 | 1935.6 | 50.4232 | 15704 | 5664.2144 | 409.732 | 121.7474 | 522.76 | 756519.758 | 427.557 | 3303762.682 | 701.419 | 2002.1056 | 4635 | 261.0458 | 929.32 | 700.6215 | 2006.16 | 387.6872 | 2148.96 | 3968.2816 | 12.8 | 292.8162 | 0 | 354.124 | 1287.6 | 205484.216 | 252.691 | 51909.341 | 69.542 | 1769.636 | 2276 | 642.3535 | 147.8 | 940.9381 | 44.4 | 20684 | 0 | 29532 | 4870 | 40114 | 3640 | 3493.4064 | 13031 | 0 | 0 | 83.1198 | 1506.168 | 112.5577 | 264.66 | 34.734 | 381.12 | 89.7761 | 900.536 | 515.6882 | 284.36 | 27.2854 | 293.91 | 341.266 | 0 | 1700.114 | 4.185 | 219305.824 | 163.072 | 3104.6 | 700 | 3226.3 | 800 | 982.62 | 1200 | 0 |  |  | 0 | 6493383.889 | 3694.202 | 3844.374 | 1201.6 | 236.4039 | 51.16 | 638.496 | 0 | 12.0085 | 395.588 | 8445.358 | 4073.878 | 1327.2 | 0 | 0 | 3846.7684 | 648 | 303.1797 | 175.74 | 16516.27 | 0 | 18550.842 | 53.458 | 170.431 | 488 | 56814 | 1748 | 58562 | 450 | 16431 | 0 |  | 0 | 3.8844 |  | 264.66 | 381.12 | 900.536 | 284.36 | 293.91 | 0 | 2124.586 |  |  |  | 1506.168 | 2124.586 | 8445.358 | 2148.96 | 12.8 | 0 | 1287.6 | 1327.2 | 3668.798 | #REF! | #REF!
2025-04-04 | 31.2127 | 163.606 | 12102.302 | 29.924 | 0 | 0 | 165.6858 | 1296.83 | 5437.2364 | 40.4892 | 25435.686 | 222.716 | 3491.8 | 4374 | 69.4636 | 511.956 | 2223562.095 | 3654.022 | 2451.9512 | 6073 | 641.5556 | 2063.56 | 50.4389 | 15960 | 6073.9464 | 354.624 | 122.2702 | 425.52 | 756947.315 | 515.139 | 3304464.101 | 658.843 | 3100.4838 | 4877.705 | 261.9751 | 961.2 | 702.6277 | 2065.52 | 389.8361 | 2031.76 | 3968.2944 | 52.8 | 292.8162 | 0 | 355.4116 | 1283.6 | 205736.907 | 292.144 | 51978.883 | 153.712 | 1771.912 | 2378 | 642.5013 | 156.48 | 940.9825 | 183.52 | 20684 | 0 | 30019 | 5020 | 40478 | 3620 | 16.5249 | 13813.153 | 0 | 0 | 84.6259 | 1508.6 | 112.8224 | 262.33 | 35.1151 | 383.3 | 90.6767 | 1118.616 | 515.9726 | 284.76 | 27.5793 | 314.012 | 341.266 | 0 | 1704.299 | 3.533 | 219468.896 | 146.24 | 3105.3 | 700 | 3227.1 | 800 | 983.82 | 1190 | 0 |  |  | 0 | 6497078.091 | 3691.585 | 3845.5756 | 1162 | 236.4551 | 16.88 | 638.496 | 0 | 12.404 | 359.362 | 8622.582 | 4075.2052 | 1600.4 | 0 | 0 | 3847.4164 | 748.4 | 303.3554 | 178.72 | 16516.27 | 0 | 18604.3 | 45.499 | 170.919 | 498 | 60142 | 0 | 60142 | 0 | 16431 | 27100 |  | 0 | #DIV/0! |  | 262.33 | 383.3 | 1118.616 | 284.76 | 314.012 | 0 | 2363.018 | person | number | forklift | 1508.6 | 2363.018 | 8622.582 | 2031.76 | 52.8 | 0 | 1283.6 | 1600.4 | 3654.022 | #REF! | #REF!
2025-04-05 | 31.3763 | 169.05 | 12132.226 | 31.51 | 0 | 0 | 166.9826 | 1250.92 | 5477.7256 | 40.082 | 25658.402 | 218.452 | 3496.174 | 4299 | 69.9756 | 464.104 | 2227216.117 | 3696.08 | 2458.0242 | 6138.4 | 643.6192 | 1952.8 | 50.4549 | 15472 | 6428.5704 | 401.4296 | 122.6957 | 472.19 | 757462.454 | 404.188 | 3305122.944 | 624.368 | 7978.1888 | 4667 | 262.9363 | 943.88 | 704.6932 | 2076.56 | 391.8679 | 576.2 | 3968.3472 | 1588 | 292.8162 | 124.68 | 356.6952 | 1303.92 | 206029.051 | 235.542 | 52132.595 | 82.721 | 1774.29 | 2337 | 642.6578 | 402.12 | 941.166 | 107.76 | 20684 | 0 | 30521 | 5110 | 40840 | 3670 | 30.338 | 13883.324 | 0 | 0 | 86.1345 | 1423.536 | 113.0847 | 261.7 | 35.4984 | 383.64 | 91.7953 | 1077.456 | 516.2573 | 288.28 | 27.8934 | 336.724 | 341.266 | 0 | 1707.832 | 9.168 | 219615.136 | 142.336 | 3106 | 700 | 3227.9 | 700 | 985.01 | 1160 | 0 |  |  | 0 | 6500769.676 | 3756.507 | 3846.7376 | 1180 | 236.4719 | 8.72 | 638.496 | 0 | 12.7634 | 372.14 | 9070.08 | 4076.8056 | 1781.2 | 0 | 0 | 3848.1648 | 659.2 | 303.5341 | 161.42 | 16516.27 | 0 | 18649.799 | 42.814 | 171.417 | 454 | 59832 | 0 | 59832 | 0 | 16431 | 34787 |  | 0 | #DIV/0! |  | 261.7 | 383.64 | 1077.456 | 288.28 | 336.724 | 0 | 2347.8 | rakesh | 9717941162 | bendy | 1423.536 | 2347.8 | 9070.08 | 576.2 | 1588 | 124.68 | 1303.92 | 1781.2 | 3696.08 | #REF! | #REF!
2025-04-06 | 31.5454 | 139.244 | 12163.736 | 34.005 | 0 | 0 | 168.2335 | 1256.7 | 5517.8076 | 40.1312 | 25876.854 | 185.627 | 3500.473 | 4316 | 70.4397 | 464.976 | 2230912.197 | 3669.304 | 2464.1626 | 5803 | 645.572 | 1841.92 | 50.4703 | 13928 | 6830 | 285.4984 | 123.1679 | 418.66 | 757866.642 | 309.415 | 3305747.312 | 522.364 | 12.6456 | 3911.945 | 263.8802 | 831.46 | 706.7698 | 1696.56 | 392.4441 | 0 | 3969.9352 | 866 | 292.9409 | 634.73 | 357.9992 | 1276.96 | 206264.593 | 171.42 | 52215.316 | 87.747 | 1776.627 | 1986 | 643.0599 | 323.48 | 941.2738 | 2.96 | 20684 | 0 | 31032 | 4920 | 41207 | 3570 | 44.2214 | 11603.172 | 0 | 0 | 87.5581 | 1438.304 | 113.3464 | 259.74 | 35.8821 | 383.852 | 92.8728 | 1293.872 | 516.5456 | 283.24 | 28.2301 | 305.946 | 341.266 | 0 | 1717 | 4.617 | 219757.472 | 121.872 | 3106.7 | 700 | 3228.6 | 800 | 986.17 | 1200 | 0 |  |  | 0 | 6504526.183 | 2384.923 | 3847.9176 | 1174.4 | 236.4807 | 8.9 | 638.496 | 0 | 13.1355 | 346.296 | 8104.994 | 4078.5868 | 1658 | 0 | 0 | 3848.824 | 270.8 | 303.6956 | 116.02 | 16516.27 | 0 | 18692.613 | 32.724 | 171.871 | 424 | 54198 | 0 | 54198 | 0 | 16320 | 9500 |  | 0 | #DIV/0! |  | 259.74 | 383.852 | 1293.872 | 283.24 | 305.946 | 0 | 2526.65 | ravindra | 7499054321 | bendy | 1438.304 | 2526.65 | 8104.994 | 0 | 866 | 634.73 | 1276.96 | 1658 | 3669.304 | #REF! | #REF!
2025-04-07 | 31.6846 | 142.588 | 12197.741 | 31.953 | 0 | 0 | 169.4902 | 1234.84 | 5557.9388 | 37.6132 | 26062.481 | 268.936 | 3504.789 | 4308 | 70.9046 | 459.6 | 2234581.501 | 3639.989 | 2469.9656 | 6215 | 647.4139 | 2027.64 | 50.4843 | 15932 | 7115.4984 | 350.6776 | 123.5865 | 432.86 | 758176.057 | 436.753 | 3306269.676 | 561.691 | 16.5575 | 5009.915 | 264.7116 | 945.24 | 708.4663 | 2048.8 | 392.4441 | 0 | 3970.8012 | 0 | 293.5756 | 1302.05 | 359.2761 | 1279.56 | 206436.013 | 204.199 | 52303.063 | 130.645 | 1778.613 | 2136 | 643.3834 | 245.56 | 941.2767 | 3.04 | 20684 | 0 | 31524 | 4900 | 41564 | 3620 | 55.8245 | 11318.6 | 0 | 0 | 88.9964 | 1547.266 | 113.6061 | 262.35 | 36.2659 | 377.592 | 94.1666 | 1341.952 | 516.8288 | 298.16 | 28.536 | 315.152 | 341.266 | 0 | 1721.617 | 5.776 | 219879.344 | 167.504 | 3107.4 | 700 | 3229.4 | 800 | 987.37 | 1180 | 0 |  |  | 0 | 6506911.106 | 3941.665 | 3849.092 | 1730.4 | 236.4896 | 8.78 | 638.496 | 0 | 13.4818 | 386.394 | 8317.199 | 4080.2448 | 2095.6 | 0 | 0 | 3849.0948 | 936.4 | 303.8116 | 160.58 | 16516.27 | 0 | 18725.337 | 47.701 | 172.295 | 485 | 59841 | 0 | 59841 | 0 | 16320 | 11385 |  | 0 | #DIV/0! |  | 262.35 | 377.592 | 1341.952 | 298.16 | 315.152 | 0 | 2595.206 | vikas | 7065108270 |  | 1547.266 | 2595.206 | 8317.199 | 0 | 0 | 1302.05 | 1279.56 | 2095.6 | 3639.989 | #REF! | #REF!
2025-04-08 | 31.8272 | 149.938 | 12229.694 | 32.046 | 0 | 0 | 170.7251 | 1251.9 | 5595.552 | 38.4696 | 26331.417 | 223.051 | 3509.097 | 4280 | 71.3642 | 487.104 | 2238221.49 | 3650.008 | 2476.1806 | 5986.8 | 649.4415 | 1887.88 | 50.5002 | 16324 | 7466.176 | 390.392 | 124.0194 | 523.04 | 758612.81 | 542.917 | 3306831.367 | 605.019 | 21.5674 | 5337.712 | 265.6569 | 1198.14 | 710.5151 | 2062.4 | 392.4441 | 0 | 3970.8012 | 118.8 | 294.8777 | 1393.66 | 360.5557 | 1289.72 | 206640.212 | 73.062 | 52433.708 | 128.904 | 1780.749 | 2177 | 643.6289 | 148.92 | 941.2798 | 3.12 | 20684 | 0 | 32014 | 4960 | 41926 | 3630 | 67.1431 | 11992.128 | 0 | 0 | 90.5436 | 1644.518 | 113.8685 | 262.53 | 36.6435 | 369.384 | 95.5086 | 1350.616 | 517.127 | 296.08 | 28.8512 | 328.258 | 341.266 | 0 | 1727.393 | 5.672 | 220046.848 | 164.152 | 3108.1 | 800 | 3230.2 | 700 | 988.55 | 1200 | 0 |  |  | 0 | 6510852.771 | 4490.926 | 3850.8224 | 1848.4 | 236.4983 | 40.86 | 638.496 | 0 | 13.8682 | 384.758 | 8504.988 | 4082.3404 | 2052.8 | 0 | 0 | 3850.0312 | 1024.4 | 303.9722 | 182.48 | 16516.27 | 39.6066 | 18773.038 | 51.724 | 172.78 | 509 | 60605 | 0 | 60605 | 0 | 16096 | 67843 |  | 39.6066 | #DIV/0! |  | 262.53 | 369.384 | 1350.616 | 296.08 | 328.258 | 0 | 2606.868 | akash | 9557024108 |  | 1644.518 | 2606.868 | 8504.988 | 0 | 118.8 | 1393.66 | 1289.72 | 2052.8 | 3650.008 | #REF! | #REF!
2025-04-09 | 31.9772 | 149.242 | 12261.74 | 34.838 | 0 | 0 | 171.977 | 1212.3 | 5634.0216 | 39.8988 | 26554.468 | 171.157 | 3513.377 | 4023 | 71.8513 | 459.568 | 2241871.498 | 3651.352 | 2482.1674 | 6568.4 | 651.3294 | 1918.24 | 50.5165 | 15840 | 7856.568 | 386.1808 | 124.5424 | 496.39 | 759155.727 | 427.271 | 3307436.386 | 569.299 | 26.9051 | 5296.224 | 266.855 | 955.5 | 712.5775 | 2054.88 | 392.4441 | 0 | 3970.92 | 15.6 | 296.2713 | 1152.7 | 361.8454 | 1287.76 | 206713.274 | 150.536 | 52562.612 | 127.146 | 1782.926 | 2216 | 643.7778 | 346.36 | 941.2829 | 3.04 | 20684 | 0 | 32510 | 4840 | 42289 | 0 | 79.1353 | 11611.912 | 0 | 0 | 92.1881 | 1636.056 | 114.131 | 261.21 | 37.0129 | 357.728 | 96.8592 | 1342.176 | 517.4231 | 314.12 | 29.1794 | 435.704 | 341.266 | 0 | 1733.065 | 8.397 | 220211 | 151.88 | 3108.9 | 500 | 3230.9 | 700 | 989.75 | 1040 | 0 |  |  | 0 | 6515343.697 | 4256.545 | 3852.6708 | 1650.8 | 236.5392 | 16.44 | 638.496 | 0 | 14.253 | 364.347 | 8153.412 | 4084.3932 | 2046 | 0 | 0 | 3851.0556 | 1043.2 | 304.1546 | 163.92 | 16529.76 | 0 | 18824.762 | 44.261 | 173.289 | 526 | 55227.2 | 1170 | 56397.2 | 350 | 15756 | 34577 |  | 0 | 3.3429 |  | 261.21 | 357.728 | 1342.176 | 314.12 | 435.704 | 0 | 2710.938 | haransh | 8650043053 |  | 1636.056 | 2710.938 | 8153.412 | 0 | 15.6 | 1152.7 | 1287.76 | 2046 | 3651.352 | #REF! | #REF!
2025-04-10 | 32.1264 | 224.018 | 12296.578 | 40.475 | 0 | 0 | 173.1893 | 1335.86 | 5673.9204 | 37.8848 | 26725.625 | 115.525 | 3517.4 | 4155 | 72.3109 | 301.08 | 2245522.85 | 3640.219 | 2488.7358 | 6303.8 | 653.2476 | 1849.06 | 50.5324 | 15916 | 8242.7488 | 383.8016 | 125.0388 | 489.14 | 759582.998 | 336.822 | 3308005.685 | 676.557 | 32.2013 | 5150.07 | 267.8105 | 1092.82 | 714.6324 | 2057 | 392.4441 | 0 | 3970.9356 | 10.4 | 297.424 | 983.58 | 363.1332 | 1285.56 | 206863.81 | 176.048 | 52689.758 | 136.195 | 1785.142 | 2642 | 644.1242 | 420.2 | 941.2859 | 3.04 | 20684 | 0 | 32994 | 4830 | 42289 | 600 | 90.7472 | 11728.232 | 0 | 0 | 93.8242 | 1470.792 | 114.3922 | 261.64 | 37.3706 | 321.472 | 98.2014 | 1293.128 | 517.7372 | 301.56 | 29.6151 | 402.678 | 341.266 | 0 | 1741.462 | 8.201 | 220362.88 | 79.344 | 3109.4 | 700 | 3231.6 | 700 | 990.79 | 1150 | 0 |  |  | 0 | 6519600.242 | 4124.403 | 3854.3216 | 1628.4 | 236.5556 | 206.42 | 638.496 | 0 | 14.6173 | 320.55 | 7964.559 | 4086.4392 | 2044.8 | 0 | 0 | 3852.0988 | 1088.8 | 304.3186 | 178.14 | 16529.76 | 247.0938 | 18869.023 | 47.273 | 173.815 | 497 | 47893.6 | 7121 | 55014.6 | 1800 | 13866 | 15438 |  | 247.0938 | 0.46126 |  | 261.64 | 321.472 | 1293.128 | 301.56 | 402.678 | 0 | 2580.478 | Name | contact no | work | 1470.792 | 2580.478 | 7964.559 | 0 | 10.4 | 983.58 | 1285.56 | 2044.8 | 3640.219 | #REF! | #REF!
2025-04-11 | 32.3504 | 158.02 | 12337.053 | 36.571 | 0 | 0 | 174.5251 | 1323.2 | 5711.8052 | 34.8948 | 26841.15 | 106.913 | 3521.555 | 4173 | 72.612 | 369.76 | 2249163.069 | 3607.118 | 2495.0396 | 6100.2 | 655.0967 | 2041.74 | 50.5483 | 15344 | 8626.5504 | 363.5648 | 125.528 | 468.49 | 759919.82 | 322.167 | 3308682.242 | 859.849 | 37.3514 | 4765.828 | 268.9033 | 1032.94 | 1507.1367 | 1919.1009 | 392.4441 | 0 | 3970.946 | 32.4 | 298.4076 | 1113.26 | 364.4187 | 1283.92 | 207039.858 | 179.557 | 52825.953 | 105.92 | 1787.784 | 1918 | 644.5444 | 295.84 | 941.289 | 3.04 | 20684 | 0 | 33477 | 4830 | 42349 | 3510 | 102.4754 | 11721.43 | 0 | 0 | 95.295 | 1306.632 | 114.6539 | 323.64 | 37.6921 | 340.356 | 99.4945 | 1157.394 | 518.0388 | 279.88 | 30.0178 | 344.098 | 341.266 | 0 | 1749.663 | 4.317 | 220442.224 | 63.28 | 3110.1 | 700 | 3232.3 | 700 | 991.94 | 1180 | 0 |  |  | 0 | 6523724.645 | 4042.508 | 3855.95 | 1523.2 | 236.7621 | 443.7 | 638.496 | 0 | 14.9379 | 315.508 | 8095.098 | 4088.484 | 2058.4 | 0 | 0 | 3853.1876 | 739.6 | 304.4967 | 182.64 | 16613.92 | 614.0938 | 18916.296 | 50.389 | 174.312 | 435 | 41620 | 16429 | 58049 | 4200 | 9627 | 2937 | 2447 liter reservation given | 614.0938 | 3.9117 |  | 323.64 | 340.356 | 1157.394 | 279.88 | 344.098 | 0 | 2445.368 | Jivan chandel | 9805973808 | diesel dip check | 1306.632 | 2445.368 | 8095.098 | 0 | 32.4 | 1113.26 | 1283.92 | 2058.4 | 3607.118 | #REF! | #REF!
2025-04-12 | 32.5084 | 194.694 | 12373.624 | 41.591 | 0 | 0 | 175.8483 | 1365 | 5746.7 | 40.0704 | 26948.063 | 226.734 | 3525.728 | 4186 | 72.9818 | 497.28 | 2252770.187 | 3693.155 | 2501.1398 | 6312.8 | 657.1384 | 2342.4 | 50.5636 | 15064 | 8990.1152 | 359.0312 | 125.9964 | 439.17 | 760241.987 | 409.633 | 3309542.091 | 676.677 | 42.1172 | 4299.876 | 269.9363 | 1207.22 | 3426.2376 | 2003.5212 | 392.4441 | 0 | 3970.9784 | 0 | 299.5209 | 1463.06 | 365.7026 | 1301.4 | 207219.415 | 187.593 | 52931.873 | 103.098 | 1789.702 | 2214 | 644.8402 | 203.6 | 941.292 | 3.04 | 20684 | 0 | 33960 | 5020 | 42700 | 3920 | 114.1968 | 12434.37 | 0 | 0 | 96.6016 | 1287 | 114.9775 | 367.42 | 38.0324 | 335.076 | 100.6519 | 1130.51 | 518.3186 | 317.64 | 30.3619 | 480.476 | 341.266 | 0 | 1753.98 | 8.103 | 220505.504 | 74.768 | 3110.8 | 600 | 3233 | 800 | 993.12 | 1200 | 0 |  |  | 0 | 6527767.153 | 4077.327 | 3857.4732 | 1513.2 | 237.2058 | 4.98 | 638.496 | 0 | 15.2534 | 373.121 | 8548.815 | 4090.5424 | 2091.2 | 0 | 0 | 3853.9272 | 341.2 | 304.6793 | 100.4 | 16823.08 | 0 | 18966.685 | 42.93 | 174.747 | 493 | 61167 | 0 | 61167 | 0 | 9501 | 23925 |  | 0 | #DIV/0! |  | 367.42 | 335.076 | 1130.51 | 317.64 | 480.476 | 0 | 2631.122 | rakesh | 8209029388 | diesel dip check | 1287 | 2631.122 | 8548.815 | 0 | 0 | 1463.06 | 1301.4 | 2091.2 | 3693.155 | #REF! | #REF!
2025-04-13 | 32.7031 | 212.608 | 12415.215 | 35.035 | 0 | 0 | 177.2133 | 1304.42 | 5786.7704 | 34.9736 | 27174.797 | 192.953 | 3529.914 | 4248 | 73.479 | 462.32 | 2256463.342 | 3658.363 | 2507.4526 | 5869 | 659.4808 | 2012.24 | 50.5787 | 14528 | 9349.1464 | 321.7088 | 126.4356 | 351.61 | 760651.62 | 241.844 | 3310218.768 | 616.189 | 46.4171 | 4196.6 | 271.1435 | 875.2 | 5429.7588 | 1480.7108 | 392.4441 | 0 | 3970.9784 | 150.4 | 300.9839 | 967.74 | 367.004 | 1249.6 | 207407.008 | 216.265 | 53034.971 | 75.632 | 1791.916 | 2146 | 645.0438 | 362.52 | 941.295 | 3.04 | 20684 | 0 | 34462 | 4890 | 43092 | 3820 | 126.6312 | 10438.97 | 0 | 0 | 97.8886 | 1325.568 | 115.3449 | 292.51 | 38.3675 | 351.78 | 101.7824 | 1134.52 | 518.6363 | 302.16 | 30.8424 | 365.388 | 341.266 | 0 | 1762.083 | 3.665 | 220580.272 | 70.944 | 3111.4 | 700 | 3233.8 | 700 | 994.32 | 1190 | 0 |  |  | 0 | 6531844.48 | 2877.395 | 3858.9864 | 1372 | 237.2107 | 50.22 | 638.496 | 0 | 15.6265 | 361.583 | 8052.103 | 4092.6336 | 2026 | 0 | 0 | 3854.2684 | 277.2 | 304.7797 | 100 | 16823.08 | 46.9173 | 19009.615 | 43.25 | 175.24 | 465 | 53397 | 1453 | 54850 | 460 | 8999 | 923 | 4204 liter reservation given | 46.9173 | 3.1587 |  | 292.51 | 351.78 | 1134.52 | 302.16 | 365.388 | 0 | 2446.358 | umesh | 9310062369 | diesel dip check | 1325.568 | 2446.358 | 8052.103 | 0 | 150.4 | 967.74 | 1249.6 | 2026 | 3658.363 | #REF! | #REF!
2025-04-14 | 32.9157 | 179.448 | 12450.25 | 36.242 | 0 | 0 | 178.5178 | 1260.04 | 5821.744 | 35.5188 | 27367.75 | 210.155 | 3534.162 | 4245 | 73.9414 | 476.872 | 2260121.705 | 3658.097 | 2513.3216 | 5874.4 | 661.4931 | 2028.4 | 50.5932 | 15912 | 9670.8552 | 356 | 126.7872 | 493.15 | 760893.464 | 546.407 | 3310834.957 | 756.657 | 50.6137 | 5128.404 | 272.0187 | 1275.718 | 6910.4696 | 2049.7704 | 392.4441 | 0 | 3971.1288 | 0 | 301.9517 | 1446.8 | 368.2536 | 1287.08 | 207623.273 | 148.922 | 53110.603 | 110.053 | 1794.062 | 2112 | 645.4064 | 373.92 | 941.2981 | 3.12 | 20684 | 0 | 34951 | 4770 | 43474 | 3730 | 137.0702 | 12190.46 | 0 | 0 | 99.2142 | 1423.548 | 115.6374 | 268.43 | 38.7193 | 373.02 | 102.9169 | 1160.12 | 518.9384 | 275.68 | 31.2078 | 332.92 | 341.266 | 0 | 1765.748 | 4.376 | 220651.216 | 71.456 | 3112.1 | 700 | 3234.5 | 700 | 995.51 | 1180 | 0 |  |  | 0 | 6534721.875 | 3984.459 | 3860.3584 | 1523.2 | 237.261 | 4.94 | 638.496 | 0 | 15.9881 | 354.022 | 8487.177 | 4094.6596 | 2095.2 | 0 | 0 | 3854.5456 | 947.2 | 304.8797 | 166.9 | 16839.06 | 0 | 19052.865 | 0 | 175.705 | 587 | 59952 | 0 | 59952 | 0 | 8999 | 28800 |  | 0 | #DIV/0! |  | 268.43 | 373.02 | 1160.12 | 275.68 | 332.92 | 0 | 2410.17 | krishna store |  | diesel dip check | 1423.548 | 2410.17 | 8487.177 | 0 | 0 | 1446.8 | 1287.08 | 2095.2 | 3658.097 | #REF! | #REF!
2025-04-15 | 33.0952 | 177.144 | 12486.492 | 35.937 | 0 | 0 | 179.7778 | 1218.68 | 5857.2628 | 34.4172 | 27577.905 | 204.432 | 3538.407 | 4271 | 74.4182 | 507.304 | 2263779.802 | 3666.379 | 2519.196 | 5733.6 | 663.5215 | 2016.08 | 50.6091 | 16292 | 10.026 | 384.978 | 127.2804 | 498.43 | 761439.871 | 440.346 | 3311591.614 | 719.356 | 55.7421 | 5436.596 | 273.2944 | 1012.832 | 8960.24 | 2027.596 | 392.4441 | 0 | 3971.1288 | 0 | 303.3985 | 1300.38 | 369.5407 | 1287.44 | 207772.195 | 118.51 | 53220.656 | 121.901 | 1796.174 | 2344 | 645.7803 | 177.72 | 941.3012 | 2.96 | 20684 | 0 | 35428 | 4840 | 43847 | 3830 | 149.2606 | 11892.51 | 0 | 0 | 100.6377 | 1583.4 | 115.9059 | 266.77 | 39.0923 | 374.992 | 104.077 | 1134.31 | 519.2141 | 262.48 | 31.5407 | 332.898 | 341.266 | 0 | 1770.124 | 3.653 | 220722.672 | 138.832 | 3112.8 | 700 | 3235.2 | 800 | 996.69 | 1190 | 0 |  |  | 0 | 6538706.334 | 3932.048 | 3861.8816 | 1496.4 | 237.2659 | 7.62 | 638.496 | 0 | 16.3421 | 352.726 | 8336.999 | 4096.7548 | 2082.8 | 0 | 0 | 3855.4928 | 1000.4 | 305.0466 | 159.68 | 16839.06 | 0 | 19052.865 | 90.248 | 176.292 | 629 | 60170 | 0 | 60170 | 0 | 8999 | 0 |  | 0 | #REF! |  | 266.77 | 374.992 | 1134.31 | 262.48 | 341.266 | 0 | 2379.818 |  |  |  | 1583.4 | 2379.818 | 8336.999 | 0 | 0 | 1300.38 | 1287.44 | 2082.8 | 3666.379 | #REF! | #REF!
2025-04-16 | 33.2723 | 173.802 | 12522.429 | 36.574 | 0 | 0 | 180.9965 | 1249.36 | 5891.68 | 37.9432 | 27782.337 | 254.172 | 3542.678 | 4190 | 74.9255 | 524.368 | 2267446.181 | 3663.116 | 2524.9296 | 6276.4 | 665.5376 | 2085.48 | 50.6254 | 16260 | 10.411 | 341.849 | 127.7788 | 497.81 | 761880.217 | 448.476 | 3312310.97 | 769.283 | 61.1787 | 5444.62 | 274.3073 | 1053.69 | 10987.836 | 2044.652 | 392.4441 | 0 | 3971.1288 | 0 | 304.6989 | 1335.96 | 370.8282 | 1291.12 | 207890.705 | 185.731 | 53342.557 | 116.342 | 1798.518 | 2227 | 645.958 | 240.48 | 941.3042 | 3.04 | 20684 | 0 | 35912 | 4790 | 44230 | 3770 | 161.1531 | 12104.08 | 0 | 0 | 102.2211 | 1556.46 | 116.1726 | 273 | 39.4673 | 371.104 | 105.2113 | 1123.38 | 519.4766 | 363.68 | 31.8736 | 332.46 | 341.266 | 0 | 1773.777 | 3.575 | 220861.504 | 140.016 | 3113.5 | 600 | 3236 | 700 | 997.88 | 1170 | 0 |  |  | 0 | 6542638.382 | 3999.85 | 3863.378 | 1502 | 237.2735 | 5.2 | 638.496 | 0 | 16.6949 | 370.781 | 8297.396 | 4098.8376 | 2007.2 | 0 | 0 | 3856.4932 | 1049.6 | 305.2063 | 175.96 | 16839.06 | 0 | 19143.113 | 46.067 | 176.921 | 648 | 60812 | 0 | 60812 | 0 | 8874 | 31003 |  | 0 | #DIV/0! |  | 273 | 371.104 | 1123.38 | 363.68 | 332.46 | 0 | 2463.624 | tana |  | bvg head | 1556.46 | 2463.624 | 8297.396 | 0 | 0 | 1335.96 | 1291.12 | 2007.2 | 3663.116 | #REF! | #REF!
2025-04-17 | 33.4461 | 204.906 | 12559.003 | 34.096 | 0 | 0 | 182.2458 | 1318.86 | 5929.6232 | 37.9232 | 28036.509 | 229.611 | 3546.868 | 4193 | 75.4499 | 519.016 | 2271109.297 | 3643.439 | 2531.206 | 6171.6 | 667.623 | 2330.56 | 50.6417 | 16456 | 10.7528 | 294.312 | 128.2766 | 488.64 | 762328.693 | 485.672 | 3313080.253 | 793.034 | 66.6233 | 5385.048 | 275.3609 | 1334.76 | 13032.488 | 2092.766 | 392.4441 | 0 | 3971.1288 | 0 | 306.0348 | 1412.98 | 372.1193 | 1280.32 | 208076.436 | 165.678 | 53458.899 | 119.888 | 1800.745 | 2263 | 646.1985 | 295.24 | 941.3072 | 3.12 | 20684 | 0 | 36391 | 4910 | 44607 | 3870 | 173.2572 | 12650.74 | 0 | 0 | 103.7776 | 1487.66 | 116.4456 | 331.88 | 39.8384 | 367.932 | 106.3347 | 962.93 | 519.8403 | 410.64 | 32.2061 | 333.518 | 341.266 | 0 | 1777.352 | 3.441 | 221001.52 | 146.768 | 3114.1 | 700 | 3236.7 | 700 | 999.05 | 1170 | 0 |  |  | 0 | 6546638.232 | 4260.494 | 3864.88 | 1479.2 | 237.2787 | 4.12 | 638.496 | 0 | 17.0656 | 365.618 | 8383.139 | 4100.8448 | 2046.4 | 0 | 0 | 3857.5428 | 1014.4 | 305.3823 | 165.36 | 16839.06 | 0 | 19189.18 | 56.663 | 177.569 | 488 | 62445 | 0 | 62445 | 0 | 8749 | 1728 |  | 0 | #DIV/0! |  | 331.88 | 367.932 | 962.93 | 410.64 | 333.518 | 0 | 2406.9 |  |  |  | 1487.66 | 2406.9 | 8383.139 | 0 | 0 | 1412.98 | 1280.32 | 2046.4 | 3643.439 | #REF! | #REF!
2025-04-18 | 33.651 | 248.564 | 12593.099 | 46.476 | 0 | 0 | 183.5647 | 1356.46 | 5967.5464 | 39.2396 | 28266.12 | 233.536 | 3551.061 | 4181 | 75.9689 | 515.68 | 2274752.736 | 3617.959 | 2537.3776 | 6187.4 | 669.9536 | 2524.88 | 50.6581 | 16996 | 11.0471 | 338.632 | 128.7653 | 464.86 | 762814.365 | 559.193 | 3313873.287 | 848.06 | 72.0084 | 5794.52 | 276.6957 | 907.44 | 15125.254 | 2019.56 | 392.4441 | 0 | 3971.1288 | 8.8 | 307.4478 | 1299.3 | 373.3996 | 1276.52 | 208242.114 | 268.773 | 53578.787 | 126.589 | 1803.008 | 2257 | 646.4937 | 102.36 | 941.3103 | 3.04 | 20684 | 0 | 36882 | 4860 | 44994 | 3600 | 185.908 | 12355 | 0 | 0 | 105.2653 | 1979.88 | 116.7775 | 360.78 | 40.2064 | 361.832 | 107.2977 | 1122.99 | 520.2509 | 398.44 | 32.5396 | 322.982 | 341.266 | 0 | 1780.793 | 4.643 | 221148.288 | 151.152 | 3114.8 | 700 | 3237.4 | 700 | 1000.22 | 1180 | 0 |  |  | 0 | 6550898.726 | 3920.23 | 3866.3592 | 1373.6 | 237.2828 | 130.2 | 638.496 | 0 | 17.4312 | 367.724 | 8188.979 | 4102.8912 | 1986.4 | 0 | 0 | 3858.5572 | 916.8 | 305.5476 | 173.02 | 16839.06 | 159.3661 | 19245.843 | 33.974 | 178.057 | 792 | 56651 | 5025 | 61676 | 1467 | 7142 | 0 |  | 159.3661 | 3.4254 |  | 360.78 | 361.832 | 1122.99 | 398.44 | 322.982 | 0 | 2567.024 |  |  |  | 1979.88 | 2567.024 | 8188.979 | 0 | 8.8 | 1299.3 | 1276.52 | 1986.4 | 3617.959 | #REF! | #REF!
2025-04-19 | 33.8996 | 194.988 | 12639.575 | 36.75 | 0 | 0 | 184.9212 | 1260 | 6006.786 | 35.6212 | 28499.656 | 285.788 | 3555.242 | 4257 | 76.4846 | 493.32 | 2278370.695 | 3630.858 | 2543.565 | 6246 | 672.4785 | 2477.68 | 50.6751 | 17396 | 11.3858 | 345.17 | 129.2301 | 490.64 | 763373.558 | 506.569 | 3314721.347 | 856.218 | 77.8029 | 6007.744 | 277.6031 | 968.34 | 17144.814 | 2080.274 | 392.4441 | 0 | 3971.1376 | 15.2 | 308.7471 | 1543.32 | 374.6761 | 1277.4 | 208510.887 | 209.53 | 53705.376 | 115.283 | 1805.265 | 2290 | 646.5961 | 89.4 | 941.3134 | 3.12 | 20684 | 0 | 37368 | 4920 | 45354 | 3720 | 198.263 | 12421.66 | 0 | 0 | 107.2451 | 2068.21 | 117.1383 | 358.76 | 40.5682 | 363.808 | 108.4206 | 1118.85 | 520.6494 | 458.44 | 32.8626 | 315.282 | 341.266 | 0 | 1785.436 | 4.74 | 221299.44 | 70.128 | 3115.5 | 700 | 3238.1 | 800 | 1.4054 | 1179.5 | 0 |  |  | 0 | 6554818.956 | 3999.418 | 3867.7328 | 1402 | 237.413 | 2.96 | 638.496 | 0 | 17.799 | 362.79 | 8499.178 | 4104.8776 | 2032.4 | 0 | 0 | 3859.474 | 1060.8 | 305.7207 | 154.78 | 16893.34 | 0 | 19279.817 | 40.866 | 178.849 | 625 | 62365 | 0 | 62365 | 0 | 19608 | 36515 |  | 0 | #DIV/0! |  | 358.76 | 363.808 | 1118.85 | 458.44 | 315.282 | 0 | 2615.14 |  |  |  | 2068.21 | 2615.14 | 8499.178 | 0 | 15.2 | 1543.32 | 1277.4 | 2032.4 | 3630.858 | #REF! | #REF!
2025-04-20 | 34.0946 | 161.028 | 12676.325 | 24.996 | 0 | 0 | 186.1812 | 1257.36 | 6042.4072 | 37.0504 | 28785.444 | 243.843 | 3559.499 | 4244 | 76.9779 | 492.192 | 2282001.553 | 3636.14 | 2549.811 | 6275 | 674.9562 | 2312.64 | 50.6925 | 15248 | 11.7309 | 263.438 | 129.7208 | 440.32 | 763880.127 | 261.826 | 3315577.565 | 729.838 | 83.8107 | 4857.736 | 278.5715 | 705.66 | 19225.088 | 1718.464 | 392.4441 | 0 | 3971.1528 | 395.2 | 310.2904 | 1107.16 | 375.9535 | 1246.24 | 208720.417 | 86.954 | 53820.659 | 115.644 | 1807.555 | 2122 | 646.6855 | 5.92 | 941.3165 | 3.04 | 20684 | 0 | 37860 | 4950 | 45726 | 3660 | 210.6846 | 11538.16 | 0 | 0 | 109.3133 | 2141.44 | 117.4971 | 359.37 | 40.932 | 366.424 | 109.5395 | 1102.08 | 521.1078 | 502.36 | 33.1778 | 222.12 | 341.266 | 299.8 | 1790.176 | 7.877 | 221369.568 | 83.552 | 3116.2 | 600 | 3238.9 | 700 | 2.5849 | 1178.4 | 0 |  |  | 0 | 6558818.374 | 3050.396 | 3869.1348 | 1398.8 | 237.416 | 4.14 | 638.496 | 0 | 18.1618 | 356.236 | 8235.14 | 4106.91 | 1850.4 | 0 | 0 | 3860.5348 | 382.8 | 305.8754 | 107.32 | 16893.34 | 0 | 19320.683 | 33.675 | 179.474 | 520 | 57595 | 0 | 57595 | 0 | 19608 | 945 |  | 0 | #DIV/0! |  | 359.37 | 366.424 | 1102.08 | 502.36 | 222.12 | 299.8 | 2852.154 |  |  |  | 2141.44 | 2852.154 | 8235.14 | 0 | 395.2 | 1107.16 | 1246.24 | 1850.4 | 3636.14 | #REF! | #REF!
2025-04-21 | 34.2556 | 215.3 | 12701.321 | 55.163 | 0 | 0 | 187.4385 | 1348.58 | 6079.4576 | 39.4384 | 29029.287 | 293.594 | 3563.743 | 4322 | 77.4701 | 479.752 | 2285637.693 | 3623.869 | 2556.086 | 7333 | 677.2688 | 2599.2 | 50.7078 | 17452 | 11.9944 | 337.099 | 130.1611 | 491.41 | 764141.953 | 646.191 | 3316307.403 | 945.183 | 88.6684 | 5868.384 | 279.2771 | 883.72 | 20943.552 | 2017.324 | 392.4441 | 0 | 3971.548 | 139.2 | 311.3976 | 1567.14 | 377.1998 | 1276.6 | 208807.371 | 289.873 | 53936.303 | 120.774 | 1809.677 | 2348 | 646.6914 | 88.32 | 941.3195 | 3.12 | 20684 | 0 | 38355 | 4900 | 46092 | 3760 | 222.2228 | 12666.48 | 0 | 0 | 111.4548 | 1899.59 | 117.8564 | 363.33 | 41.2984 | 364.124 | 110.6416 | 1106.44 | 521.6102 | 567.36 | 33.4 | 329.576 | 341.5658 | 474.88 | 1798.053 | 7.441 | 221453.12 | 80.624 | 3116.8 | 700 | 3239.6 | 700 | 3.7633 | 1209.9 | 0 |  |  | 0 | 6561868.77 | 4047.095 | 3870.5336 | 1390.4 | 237.4201 | 3.64 | 638.496 | 0 | 18.518 | 372.622 | 8619.209 | 4108.7604 | 2012.4 | 0 | 0 | 3860.9176 | 1078.4 | 305.9828 | 199.8 | 16893.34 | 0 | 19354.358 | 45.234 | 179.994 | 630 | 64129 | 0 | 64129 | 0 | 19608 | 1550 |  | 0 | #DIV/0! |  | 363.33 | 364.124 | 1106.44 | 567.36 | 329.576 | 474.88 | 3205.71 |  |  |  | 1899.59 | 3205.71 | 8619.209 | 0 | 139.2 | 1567.14 | 1276.6 | 2012.4 | 3623.869 | #REF! | #REF!
2025-04-22 | 34.4709 | 187.128 | 12756.484 | 38.716 | 0 | 0 | 188.7871 | 1371.58 | 6118.896 | 37.6256 | 29322.881 | 245.535 | 3568.065 | 4349 | 77.9499 | 502.872 | 2289261.562 | 3638.179 | 2563.419 | 7167.4 | 679.868 | 2384.88 | 50.7252 | 17096 | 12.3315 | 344.984 | 130.6525 | 506.9 | 764788.144 | 428.224 | 3317252.586 | 1034.393 | 94.5368 | 5875.644 | 280.1609 | 948.42 | 22960.876 | 2120.332 | 392.4441 | 0 | 3971.6872 | 0 | 312.9647 | 1731.84 | 378.4764 | 1275.12 | 209097.244 | 94.983 | 54057.077 | 141.765 | 1812.025 | 2275 | 646.7797 | 264.6 | 941.3226 | 3.04 | 20684 | 0 | 38845 | 5060 | 46468 | 3680 | 234.8893 | 12486.98 | 0 | 0 | 113.3544 | 1828.18 | 118.2198 | 363.54 | 41.6625 | 364.244 | 111.748 | 1075.88 | 522.1775 | 477.2 | 33.7295 | 331.38 | 342.0407 | 532.32 | 1805.494 | 3.004 | 221533.744 | 93.44 | 3117.5 | 700 | 3240.3 | 900 | 4.9732 | 1222.9 | 0 |  |  | 0 | 6565915.865 | 4099.906 | 3871.924 | 1492 | 237.4238 | 5.9 | 638.496 | 0 | 18.8906 | 348.678 | 8672.339 | 4110.7728 | 2027.2 | 0 | 0 | 3861.996 | 1033.6 | 306.1826 | 185.1 | 16893.34 | 0 | 19399.592 | 46.361 | 180.624 | 620 | 63719 | 0 | 63719 | 0 | 19608 | 10826 |  | 0 | #DIV/0! |  | 363.54 | 364.244 | 1075.88 | 477.2 | 331.38 | 532.32 | 3144.564 |  |  |  | 1828.18 | 3144.564 | 8672.339 | 0 | 0 | 1731.84 | 1275.12 | 2027.2 | 3638.179 | #REF! | #REF!
2025-04-23 | 34.658 | 185.856 | 12795.2 | 38.575 | 0 | 0 | 190.1587 | 1315.26 | 6156.5216 | 36.3172 | 29568.416 | 195.295 | 3572.414 | 4321 | 78.4527 | 481.76 | 2292899.741 | 3637.147 | 2570.5864 | 7073.8 | 682.2529 | 2321.76 | 50.7423 | 17334 | 12.6765 | 325.541 | 131.1594 | 483.08 | 765216.368 | 605.978 | 3318286.979 | 1045.885 | 100.4124 | 5808.27 | 281.1093 | 1340.76 | 25081.208 | 2030.5278 | 392.4441 | 0 | 3971.6872 | 734.4 | 314.6966 | 1436.98 | 379.7515 | 1281.04 | 209192.227 | 97.301 | 54198.842 | 126.155 | 1814.3 | 2371 | 647.0443 | 111 | 941.3257 | 3.04 | 20684 | 1040 | 39351 | 4830 | 46836 | 3610 | 247.3762 | 13552.32 | 0 | 0 | 115.1826 | 1807.39 | 118.5833 | 370.08 | 42.0268 | 364.196 | 112.8239 | 1095.06 | 522.6547 | 479.12 | 34.0609 | 328.308 | 342.573 | 515.68 | 1808.498 | 4.844 | 221627.184 | 78.064 | 3118.2 | 700 | 3241.2 | 700 | 6.1961 | 1193.2 | 0 |  |  | 0 | 6570015.771 | 4664.61 | 3873.416 | 1820 | 237.4297 | 8.36 | 638.496 | 0 | 19.2393 | 329.896 | 9087.567 | 4112.8 | 1998 | 0 | 0 | 3863.0296 | 996.4 | 306.3677 | 183.34 | 16893.34 | 0 | 19445.953 | 47.799 | 181.244 | 678 | 65867 | 0 | 65867 | 0 | 19288 | 0 |  | 0 | #DIV/0! |  | 370.08 | 364.196 | 1095.06 | 479.12 | 328.308 | 515.68 | 3152.444 |  |  |  | 1807.39 | 3152.444 | 9087.567 | 0 | 734.4 | 1436.98 | 1281.04 | 1998 | 3637.147 | #REF! | #REF!
2025-04-24 | 34.8439 | 184.384 | 12833.775 | 42.758 | 0 | 0 | 191.4739 | 1265.1 | 6192.8388 | 35.5548 | 29763.711 | 226.093 | 3576.735 | 4242 | 78.9345 | 500.112 | 2296536.888 | 3597.843 | 2577.6602 | 6963.8 | 684.5746 | 2381.6 | 50.7597 | 17078 | 13.002 | 337.24 | 131.6425 | 483.76 | 765822.346 | 562.933 | 3319332.864 | 976.02 | 106.2207 | 5727.45 | 282.45 | 1365.52 | 27111.7358 | 2083.0002 | 392.4441 | 0 | 3972.4216 | 206 | 316.1335 | 1442.16 | 381.0325 | 1266.6 | 209289.528 | 133.058 | 54324.997 | 156.281 | 1816.671 | 2291 | 647.1553 | 134.92 | 941.3287 | 3.12 | 20788 | 3790 | 39834 | 4760 | 47197 | 3640 | 260.9286 | 13106.84 | 0 | 0 | 116.9899 | 1802.19 | 118.9534 | 364.57 | 42.391 | 358.968 | 113.919 | 1094.36 | 523.1338 | 499.96 | 34.3892 | 329.76 | 343.0887 | 524.52 | 1813.342 | 1.765 | 221705.248 | 143.36 | 3118.9 | 600 | 3241.9 | 800 | 7.3893 | 1194.3 | 0 |  |  | 0 | 6574680.381 | 4210.904 | 3875.236 | 1729.2 | 237.438 | 8.6 | 638.496 | 0 | 19.5692 | 298.684 | 8517.003 | 4114.798 | 2004.4 | 0 | 0 | 3864.026 | 980 | 306.551 | 172.3 | 16893.34 | 0 | 19493.752 | 47.704 | 181.922 | 641 | 68106 | 0 | 68106 | 0 | 19288 | 0 |  | 0 | #DIV/0! |  | 364.57 | 358.968 | 1094.36 | 499.96 | 329.76 | 524.52 | 3172.138 |  |  |  | 1802.19 | 3172.138 | 8517.003 | 0 | 206 | 1442.16 | 1266.6 | 2004.4 | 3597.843 | #REF! | #REF!
2025-04-25 | 35.0283 | 191.312 | 12876.533 | 44.262 | 0 | 0 | 192.739 | 1352.02 | 6228.3936 | 34.4716 | 29989.804 | 223.433 | 3580.977 | 4347 | 79.4346 | 522.416 | 2300134.731 | 3647.163 | 2584.624 | 6950.8 | 686.9562 | 2413.84 | 50.7767 | 17628 | 13.3392 | 336.963 | 132.1262 | 488.72 | 766385.279 | 626.8 | 3320308.884 | 1054.274 | 111.9481 | 6087.27 | 283.8156 | 936.88 | 29194.736 | 2130.852 | 392.4441 | 0 | 3972.6276 | 272.8 | 317.5757 | 1368.44 | 382.2991 | 1284.76 | 209422.586 | 150.21 | 54481.278 | 133.145 | 1818.962 | 2331 | 647.2902 | 88.08 | 941.3318 | 3.04 | 21167 | 4070 | 40310 | 4130 | 47561 | 3630 | 274.0354 | 12970.58 | 0 | 0 | 118.7921 | 1885.09 | 119.3179 | 370.15 | 42.7499 | 362.642 | 115.0133 | 1096.19 | 523.6338 | 480.52 | 34.719 | 327.616 | 343.6132 | 519.7 | 1815.107 | 4.178 | 221848.608 | 143.328 | 3119.5 | 700 | 3242.7 | 800 | 8.5836 | 1191.6 | 0 |  |  | 0 | 6578891.285 | 4364.993 | 3876.9652 | 1756 | 237.4466 | 7.86 | 638.496 | 0 | 19.8679 | 306.138 | 8579.163 | 4116.8024 | 2006 | 0 | 0 | 3865.006 | 1194.8 | 306.7233 | 199.58 | 16893.34 | 0 | 19541.456 | 43.691 | 182.563 | 648 | 68216 | 0 | 68216 | 0 | 19288 | 42207.69 |  | 0 | #DIV/0! |  | 370.15 | 362.642 | 1096.19 | 480.52 | 327.616 | 519.7 | 3156.818 |  |  |  | 1885.09 | 3156.818 | 8579.163 | 0 | 272.8 | 1368.44 | 1284.76 | 2006 | 3647.163 | #REF! | #REF!
2025-04-26 | 35.2196 | 191.48 | 12920.795 | 37.038 | 0 | 0 | 194.0911 | 1389.3 | 6262.8652 | 35.036 | 30213.237 | 203.562 | 3585.324 | 4306 | 79.957 | 495.216 | 2303781.894 | 3634.437 | 2591.5748 | 7050 | 689.3701 | 2564.48 | 50.7944 | 17596 | 13.6762 | 362.593 | 132.6149 | 502.44 | 767012.079 | 633.798 | 3321363.158 | 984.912 | 118.0354 | 5979.07 | 284.7524 | 1302.2 | 31325.588 | 2124.702 | 392.4441 | 0 | 3972.9004 | 0 | 318.9441 | 1555.1 | 383.5839 | 1278.68 | 209572.796 | 206.615 | 54614.423 | 152.556 | 1821.293 | 2424 | 647.3783 | 18.4 | 941.3349 | 46.16 | 21574 | 4350 | 40723 | 3640 | 47924 | 3680 | 287.006 | 13171.82 | 0 | 0 | 120.6772 | 1954.22 | 119.6881 | 368.81 | 43.1126 | 360.514 | 116.1095 | 1084.13 | 524.1143 | 474.84 | 35.0466 | 324.444 | 344.1329 | 491.38 | 1819.285 | 9.438 | 221991.936 | 184.416 | 3120.2 | 700 | 3243.5 | 900 | 9.7752 | 464.8 | 0 |  |  | 0 | 6583256.278 | 4349.665 | 3878.7212 | 1746.4 | 237.4545 | 6.36 | 638.496 | 0 | 20.174 | 334.19 | 8504.617 | 4118.8084 | 2036.4 | 0 | 0 | 3866.2008 | 939.2 | 306.9229 | 153.54 | 16893.34 | 0 | 19585.147 | 45.684 | 183.211 | 662 | 67982 | 0 | 67982 | 0 | 19288 | 34570 |  | 0 | #DIV/0! |  | 368.81 | 360.514 | 1084.13 | 474.84 | 324.444 | 491.38 | 3104.118 |  |  |  | 1954.22 | 3104.118 | 8504.617 | 0 | 0 | 1555.1 | 1278.68 | 2036.4 | 3634.437 | #REF! | #REF!
2025-04-27 | 35.4111 | 148.336 | 12957.833 | 25.088 | 0 | 0 | 195.4804 | 1335.82 | 6297.9012 | 40.2584 | 30416.799 | 194.529 | 3589.63 | 4238 | 80.4522 | 489.792 | 2307416.331 | 3622.843 | 2598.6248 | 6640.8 | 691.9346 | 2212.08 | 50.812 | 15040 | 14.0388 | 322.185 | 133.1174 | 470.1 | 767645.877 | 263.184 | 3322348.07 | 797.329 | 124.0145 | 4544.99 | 286.0546 | 905.28 | 33450.29 | 1548.726 | 392.4441 | 0 | 3972.9004 | 252 | 320.4992 | 948.52 | 384.8626 | 1253.68 | 209779.411 | 29.676 | 54766.979 | 119.048 | 1823.717 | 2247 | 647.3967 | 14.372 | 941.381 | 27.76 | 22009 | 4170 | 41087 | 4240 | 48292 | 3510 | 300.1778 | 11426.18 | 0 | 0 | 122.6315 | 1899.8 | 120.0569 | 368.99 | 43.4731 | 370.412 | 117.1936 | 1083.85 | 524.5892 | 482.8 | 35.371 | 325.172 | 344.6243 | 499.2 | 1828.723 | 1.624 | 222176.352 | 178.96 | 3120.9 | 700 | 3244.4 | 900 | 10.24 | 1280 | 0 |  |  | 0 | 6587605.943 | 3284.745 | 3880.4676 | 1624.4 | 237.4609 | 5.04 | 638.496 | 0 | 20.5082 | 337.033 | 8011.843 | 4120.8448 | 1934.8 | 0 | 0 | 3867.14 | 302 | 307.0764 | 87.52 | 16893.34 | 0 | 19630.831 | 32.838 | 183.873 | 576 | 61730 | 0 | 61730 | 0 | 19288 | 3729 |  | 0 | #DIV/0! |  | 368.99 | 370.412 | 1083.85 | 482.8 | 325.172 | 499.2 | 3130.424 |  |  |  | 1899.8 | 3130.424 | 8011.843 | 0 | 252 | 948.52 | 1253.68 | 1934.8 | 3622.843 | #REF! | #REF!
2025-04-28 | 35.5594 | 150.932 | 12982.921 | 43.797 | 0 | 0 | 196.8162 | 1278.14 | 6338.1596 | 37.9988 | 30611.328 | 278.627 | 3593.868 | 4292 | 80.942 | 521.68 | 2311039.174 | 3628.489 | 2605.2656 | 7317 | 694.1466 | 2505.2 | 50.827 | 17172 | 14.361 | 380.342 | 133.5875 | 480.61 | 767909.061 | 571.52 | 3323145.399 | 975.861 | 128.5595 | 5786.31 | 286.9599 | 953.02 | 34999.016 | 2060.48 | 392.4441 | 0 | 3973.1524 | 13.2 | 321.4478 | 1629.48 | 386.1162 | 1279.24 | 209809.087 | 176.947 | 54886.027 | 134.81 | 1825.964 | 2334 | 647.4111 | 389.308 | 941.4088 | 70.48 | 22426 | 3860 | 41511 | 4290 | 48643 | 3680 | 311.604 | 12651.86 | 0 | 0 | 124.5312 | 1912.61 | 120.4259 | 370.24 | 43.8435 | 374.288 | 118.2775 | 1071.51 | 525.072 | 391.68 | 35.6962 | 324.796 | 345.1235 | 487.32 | 1830.347 | 10.51 | 222355.312 | 36.736 | 3121.6 | 600 | 3245.3 | 800 | 11.52 | 1020 | 0 |  |  | 0 | 6590890.688 | 4371.481 | 3882.092 | 1682 | 237.4659 | 8.1 | 638.496 | 0 | 20.8452 | 370.757 | 8591.209 | 4122.7796 | 2040.8 | 0 | 0 | 3867.442 | 118 | 307.1639 | 209.06 | 16893.34 | 0 | 19663.669 | 47.102 | 184.449 | 635 | 67824 | 0 | 67824 | 0 | 19033 | 0 |  | 0 | #DIV/0! |  | 370.24 | 374.288 | 1071.51 | 391.68 | 324.796 | 487.32 | 3019.834 |  |  |  | 1912.61 | 3019.834 | 8591.209 | 0 | 13.2 | 1629.48 | 1279.24 | 2040.8 | 3628.489 | #REF! | #REF!
2025-04-29 | 35.7103 | 170.764 | 13026.718 | 37.133 | 0 | 0 | 198.0943 | 1294.78 | 6376.1584 | 36.66 | 30889.955 | 245.705 | 3598.16 | 4414 | 81.4637 | 517.448 | 2314667.663 | 3644.421 | 2612.5826 | 7469.4 | 696.6518 | 2420.64 | 50.8442 | 16740 | 14.7413 | 338.592 | 134.0681 | 454.86 | 768480.581 | 420.001 | 3324121.26 | 922.664 | 134.3458 | 5607.52 | 287.9129 | 993.16 | 37059.496 | 2082.384 | 392.4441 | 0 | 3973.1656 | 48 | 323.0772 | 1516.46 | 387.3955 | 1283.2 | 209986.034 | 93.562 | 55020.837 | 135.173 | 1828.298 | 2318 | 647.8004 | 294.88 | 941.4793 | 180.4 | 22812 | 4060 | 41940 | 4170 | 49011 | 3580 | 324.2558 | 12571.32 | 0 | 0 | 126.4439 | 1845.34 | 120.7961 | 372.16 | 44.2178 | 376.58 | 119.349 | 1088.05 | 525.4636 | 365.16 | 36.021 | 327.456 | 345.6108 | 486.68 | 1840.857 | 6.878 | 222392.048 | 154.224 | 3122.2 | 700 | 3246.1 | 800 | 12.54 | 2112 | 0 |  |  | 0 | 6595262.169 | 4224.252 | 3883.774 | 1666.8 | 237.474 | 9.2 | 638.496 | 0 | 21.216 | 356.432 | 8532.481 | 4124.8204 | 2040.4 | 0 | 0 | 3867.56 | 1832.4 | 307.373 | 149.46 | 16893.34 | 0 | 19710.771 | 46.995 | 185.084 | 569 | 67320 | 0 | 67320 | 0 | 18946 | 0 |  | 0 | #DIV/0! |  | 372.16 | 376.58 | 1088.05 | 365.16 | 327.456 | 486.68 | 3016.086 |  |  |  | 1845.34 | 3016.086 | 8532.481 | 0 | 48 | 1516.46 | 1283.2 | 2040.4 | 3644.421 | #REF! | #REF!
2025-04-30 | 35.8811 | 211.416 | 13063.851 | 45.148 | 0 | 0 | 199.3891 | 1307.28 | 6412.8184 | 35.9884 | 31135.66 | 263.013 | 3602.574 | 4146 | 81.9812 | 520.4 | 2318312.084 | 3655.679 | 2620.052 | 7866.4 | 699.0725 | 2542.48 | 50.8609 | 17044 | 15.0799 | 311.686 | 134.523 | 454.33 | 768900.582 | 523.526 | 3325043.924 | 1014.422 | 139.9533 | 5892.89 | 288.9061 | 943.6 | 39141.88 | 1972.476 | 392.4441 | 0 | 3973.2136 | 0 | 324.5937 | 1542.06 | 388.6787 | 1289.76 | 210079.596 | 174.768 | 55156.01 | 141.33 | 1830.616 | 2377 | 648.0953 | 270.92 | 941.6597 | 114.16 | 23218 | 4200 | 42357 | 4140 | 49369 | 3630 | 336.8272 | 12489.04 | 0 | 0 | 128.2892 | 2166.31 | 121.1683 | 373.21 | 44.5944 | 376.615 | 120.437 | 1075 | 525.8288 | 422 | 36.3485 | 330.384 | 346.0975 | 490.8 | 1847.735 | 7.245 | 222546.272 | 199.248 | 3122.9 | 700 | 3246.9 | 800 | 14.652 | 1188 | 0 |  |  | 0 | 6599486.421 | 4317.356 | 3885.4408 | 1672.8 | 237.4832 | 8.64 | 638.496 | 0 | 21.5724 | 359.982 | 8487.499 | 4126.8608 | 2000 | 0 | 0 | 3869.3924 | 868.8 | 307.5225 | 170.68 | 16893.34 | 0 | 19757.766 | 38.618 | 185.653 | 613 | 67893 | 0 | 67893 | 0 | 18946 | 25117 |  | 0 | #DIV/0! |  | 373.21 | 376.615 | 1075 | 422 | 330.384 | 490.8 | 3068.009 |  |  |  | 2166.31 | 3068.009 | 8487.499 | 0 | 0 | 1542.06 | 1289.76 | 2000 | 3655.679 | #REF! | #REF!
2025-05-01 | 36.0925 |  | 13108.999 |  | 0 |  | 200.6964 |  | 6448.8068 |  | 31398.673 |  | 3606.72 |  | 82.5016 |  | 2321967.763 |  | 2627.9184 |  | 701.615 |  | 50.878 |  | 15.3916 |  | 134.9773 |  | 769424.108 |  | 3326058.346 |  | 145.8462 |  | 289.8497 |  | 41114.356 |  | 392.4441 |  | 3973.2136 |  | 326.1358 |  | 389.9684 |  | 210254.364 |  | 55297.34 |  | 1832.993 |  | 648.3662 |  | 941.7738 |  | 23638 |  | 42771 |  | 49732 |  | 349.3162 |  | 0 |  | 130.4555 |  | 121.5415 |  | 44.971 |  | 121.5121 |  | 526.2508 |  | 36.6788 |  | 346.5883 |  | 1854.98 |  | 222745.52 |  | 3123.6 |  | 3247.7 |  | 15.84 |  | 0 |  |  |  | 6603803.777 |  | 3887.1136 |  | 237.4918 |  | 638.496 |  | 21.9324 |  |  | 4128.8608 |  | 0 |  | 3870.2612 |  | 307.6931 |  | 16893.34 |  | 19796.384 |  | 186.266 |  |  |  | 0 |  |  |  |  | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF!
[120 empty] | 1808518.8 | 32946 | 1841464.8 | 8727 |  | 450601.69
[83 empty] | 12:00 | 174396.896 | 36.512
[83 empty] | 9:00 | 174433.408 | [35 empty] | 18151.79
[58 empty] | 55200 | [26 empty] | 4.0569 | [34 empty] | 1550
[58 empty] | 98400 | [26 empty] | 97.3653 | [34 empty] | 3100
[58 empty] | 153600 | [61 empty] | 18625
780.9
42207.69
85014
[53 empty] | 488.7218 |  | 910.2269
v
Note on AX15: 22522: mmeter reset & new installed
Note on AB28: 29541: 299.02250

## Sheet1 (hidden)
DATE | UPPCL POWER | % | SOLAR POWER | % | DG POWER | % | TOTAL
2024-07-01 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 57045
2024-07-02 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 57961
2024-07-03 | #REF! | #REF! | #REF! | #REF! | 1748 | 2.9849 | 58562
2024-07-04 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 60142
2024-07-05 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 59832
2024-07-06 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 54198
2024-07-07 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 59841
2024-07-08 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 60605
2024-07-09 | #REF! | #REF! | #REF! | #REF! | 1170 | 2.0746 | 56397.2
2024-07-10 | #REF! | #REF! | #REF! | #REF! | 7121 | 12.9438 | 55014.6
2024-07-11 | #REF! | #REF! | #REF! | #REF! | 16429 | 28.302 | 58049
2024-07-12 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 61167
2024-07-13 | #REF! | #REF! | #REF! | #REF! | 1453 | 2.649 | 54850
2024-07-14 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 59952
2024-07-15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 60170
2024-07-16 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 60812
2024-07-17 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 62445
2024-07-18 | #REF! | #REF! | #REF! | #REF! | 5025 | 8.1474 | 61676
2024-07-19 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 62365
2024-07-20 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 57595
2024-07-21 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 64129
2024-07-22 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 63719
2024-07-23 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 65867
2024-07-24 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 68106
2024-07-25 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 68216
2024-07-26 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 67982
2024-07-27 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 61730
2024-07-28 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 67824
2024-07-29 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 67320
2024-07-30 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2024-07-31 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!