## (1) Data sheet
| DAILY_ENERGY_METER_READING_ FOR_THE_MONTH_OF FEB 2020 | [5 empty] | SEP | 2020-10-01 | [62 empty] | 0.0005
DATE | NEW ETP1 | TOTAL KWH | ETP2 | TOTAL KWH | NBF-II | TOTAL KWH | 7F-630A | TOTAL KWH | 200V BUSBAR | TOTAL KWH | EVP BUS BAR | TOTAL KWH | RS UPS BUSBAR | TOTAL KWH | HEATER READIATOR | TOTAL KWH | AIR COMP. 1000 CFM | TOTAL KWH | MLTP DG ROOM | TOTAL KWH | ELECT PANEL-1 | TOTAL KWH | MAIN UPS ROOM | TOTAL KWH | BUS BAR-1 | TOTAL KWH | BUSBAR-2 | TOTAL KWH | BUSBAR-4 | TOTAL KWH | BUSBAR-5 | TOTAL KWH | BUSBAR-6 | TOTAL KWH | BUSBAR-7 | TOTAL KWH | BUSBAR-8 | TOTAL KWH | ATLAS-1 | TOTAL KWH | ATLAS-2 | TOTAL KWH | ATLAS-3 | TOTAL KWH | ATLAS-4 | TOTAL KWH | DM PLANT | TOTAL KWH | RO PLANT | TOTAL KWH | COMP UPS BUS BAR | TOTAL KWH | SURFACE TREATMENT-1 | TOTAL KWH | VBF | TOTAL KWH | NBF-1 | TOTAL KWH | NBF-3 | TOTAL KWH | NBF-4 | TOTAL KWH | COMP.PLANT 1600 AMP ACB NEW LT PANEL(11F) | TOTAL KWH | WTP-1 | TOTAL KWH | AHU | TOTAL KWH | AIR WASHER-1 | TOTAL KWH | A/W-2/3 | TOTAL KWH | MFC AIR WAHER-1 | TOTAL KWH | MFC AIR WASHER-2 | TOTAL KWH | MFC AIR WASHER-3 | TOTAL KWH | MFC AIR WASHER-4 | TOTAL KWH | STP 40kld | TOTAL KWH | STP 100kld | TOTAL KWH | S/T-2 PANEL-1 | TOTAL KWH | S/T-2 PANEL-2 | TOTAL KWH | S/T-2 PANEL-3 | TOTAL KWH | ENDURENCE M/C | TOTAL KWH | QA TEST LB | TOTAL KWH | B-196 | TOTAL KWH | Molding Machine | TOTAL KWH | DG AUX | TOTAL KWH | VBF CT FAN | TOTAL KWH | CONDENSOR LINE | TOTAL KWH | TOTAL AIR COMP. UNIT | ATLAS -5 | TOTAL KWH | KAESER COMPRESSOR | TOTAL KWH | ADMIN-1 (AC PANEL) | TOTAL KWH | ADMIN-1 (basement panel) | TOTAL KWH | PNG METER READING | TOTAL | TUC SHOP | TOTAL | NEW CANTEEN | TOTAL | UPPCL (UNIT ) | DG UNIT | total unit (UPPCL+DG) | Diesel consumption Ltr, | DIESEL STOCK | SPARE COST | used According store (diesel) | PNG (SCM) consumption | sfc | pf | AIR WASHER-1 | A/W-2/3 | MFC AIR WAHER-1 | MFC AIR WASHER-2 | MFC AIR WASHER-3 | MFC AIR WASHER-4 | Total |  |  |  | AHU | AIR WASHER | AIR COMP. | air comp 1 | air comp 2 | air comp 3 | air comp 4 | air comp 5 | air comp 6 (1000 cfm) | air comp 7 | total
2025-02-01 | 23.5139 | 156.22 | 9942.683 | 39.295 | 0 | 0 | 86.7565 | 1453.072 | 3164.7534 | 33.6418 | 15922.052 | 119.228 | 3224.572 | 4525 | 47.9831 | 267.444 | 1991646.54 | 3855.211 | 2241.8012 | 2703.6 | 558.3419 | 1028.52 | 49.5382 | 14472 | 117.7229 | 341.94 | 94.6653 | 445.976 | 728691.9 | 348.076 | 3271040.064 | 565.78 | 1766.1142 | 3551 | 202.8133 | 945.08 | 595.4766 | 1662.16 | 314.1782 | 0 | 3964.2376 | 0 | 241.637 | 1543.38 | 279.7286 | 1514.72 | 191482.172 | 283.035 | 46023.203 | 80.512 | 1638.294 | 2248 | 636.8291 | 0 | 938.8134 | 3.28 | 16071 | 0 | 292 | 5070 | 18056 | 3770 | 4216.3752 | 9687.6 | 0 | 0 | 10.175 | 1036.798 | 101.7554 | 0.5 | 25.5076 | 0 | 71.9695 | 137.792 | 507.0102 | 110.6 | 24.6291 | 0 | 341.266 | 0 | 1367.571 | 2.799 | 210752.128 | 145.312 | 3063.9 | 700 | 3177.3 | 900 | 911.61 | 1240 | 0 |  |  | 0 | 6334477.397 | 2809.569 | 3804.5372 | 768.8 | 231.5612 | 13.9 | 634.159 | 76.92 | 136.8704 | 360.35 | 8800.911 | 3972.0432 | 1887.6 | 430.35 | 0 | 3825.6688 | 143.2 | 294.9732 | 130.36 | 14853.49 | 0 | 15543.905 | 53.117 | 149.74 | 310 | 51174 | 0 | 51174 | 0 | 19204 | 22403 |  | 0 | #DIV/0! |  | 0.0005 | 0 | 137.792 | 110.6 | 0 | 0 | 248.3925 |  |  |  | 1036.798 | 248.3925 | 8800.911 | 0 | 0 | #REF! | 1514.72 | 1887.6 | 3855.211 | #REF! | #REF!
2025-02-02 | 23.6701 | 146.428 | 9981.978 | 40.78 | 0 | 0 | 88.2095 | 1381.032 | 3198.3952 | 37.47 | 16041.28 | 111.338 | 3229.097 | 4361 | 48.2506 | 243.684 | 1995501.751 | 3844.459 | 2244.5048 | 2119.2 | 559.3704 | 887.96 | 49.5527 | 13092 | 118.0648 | 272.35 | 95.1113 | 338.064 | 729039.976 | 398.508 | 3271605.844 | 331.316 | 1769.6652 | 2919.2 | 203.7583 | 723.24 | 597.1388 | 1165.48 | 314.1782 | 1866 | 3964.2376 | 283.2 | 243.1804 | 685.34 | 281.2434 | 1356.44 | 191765.207 | 274.32 | 46103.715 | 88.02 | 1640.542 | 1932 | 636.8291 | 0 | 938.8166 | 2.88 | 16071 | 0 | 799 | 5030 | 18433 | 3500 | 4226.0628 | 10284.8 | 0 | 0 | 11.2118 | 1081.534 | 101.7559 | 0 | 25.5076 | 0.02 | 72.1073 | 135.296 | 507.1208 | 107.64 | 24.6291 | 0 | 341.266 | 0 | 1370.37 | 3.468 | 210897.44 | 129.856 | 3064.6 | 800 | 3178.2 | 900 | 912.85 | 1250 | 0 |  |  | 0 | 6337286.966 | 1851.198 | 3805.306 | 407.6 | 231.5751 | 34.18 | 634.2359 | 76.04 | 137.2308 | 202.36 | 8227.839 | 3973.9308 | 192.4 | 430.35 | 0 | 3825.812 | 99.2 | 295.1036 | 78.38 | 14853.49 | 45.9484 | 15597.022 | 43.381 | 150.05 | 257 | 44954 | 907 | 45861 | 521 | 18491 | 23428 |  | 45.9484 | 1.7409 |  | 0 | 0.02 | 135.296 | 107.64 | 0 | 0 | 242.956 |  |  |  | 1081.534 | 242.956 | 8227.839 | 1866 | 283.2 | 1543.38 | 1356.44 | 192.4 | 3844.459 | #REF! | #REF!
2025-02-03 | 23.8165 | 174.664 | 10022.758 | 42.531 | 0 | 0 | 89.5906 | 1408.848 | 3235.8652 | 36.4956 | 16152.618 | 120.491 | 3233.458 | 4521 | 48.4942 | 282.4 | 1999346.21 | 3910.282 | 2246.624 | 2550 | 560.2584 | 1136.28 | 49.5658 | 13448 | 118.3372 | 321.18 | 95.4494 | 399.944 | 729438.484 | 408.715 | 3271937.16 | 533.337 | 1772.5844 | 3335.8 | 204.4816 | 897.42 | 598.3042 | 1695.36 | 316.0442 | 2094.3 | 3964.5208 | 383.6 | 243.8657 | 913.84 | 282.5998 | 1387.28 | 192039.527 | 348.368 | 46191.735 | 99.361 | 1642.474 | 2121 | 636.8291 | 0 | 938.8195 | 3.04 | 16071 | 0 | 1302 | 5160 | 18783 | 3750 | 4236.3476 | 12607.6 | 0 | 0 | 12.2933 | 930.614 | 101.7559 | 0 | 25.5076 | 0 | 72.2426 | 137.272 | 507.2285 | 110.48 | 24.6291 | 2.064 | 341.266 | 0 | 1373.838 | 3.337 | 211027.296 | 144.304 | 3065.4 | 700 | 3179.1 | 900 | 914.1 | 1260 | 0 |  |  | 0 | 6339138.164 | 2641.93 | 3805.7136 | 609.6 | 231.6093 | 7.02 | 634.312 | 75.62 | 137.4331 | 401.81 | 8799.302 | 3974.1232 | 110 | 430.35 | 0 | 3825.9112 | 145.2 | 295.1819 | 136.06 | 14869.14 | 0 | 15640.403 | 60.667 | 150.307 | 275 | 49802 | 0 | 49802 | 0 | 18491 | 168081 |  | 0 | #DIV/0! |  | 0 | 0 | 137.272 | 110.48 | 2.064 | 0 | 249.816 |  |  |  | 930.614 | 249.816 | 8799.302 | 2094.3 | 383.6 | 913.84 | 1387.28 | 110 | 3910.282 | #REF! | #REF!
2025-02-04 | 23.9912 | 157.098 | 10065.289 | 46.654 | 0 | 0 | 90.9994 | 1401.872 | 3272.3608 | 38.0344 | 16273.109 | 115.493 | 3237.979 | 4538 | 48.7766 | 252.268 | 2003256.492 | 3918.922 | 2249.174 | 2546 | 561.3946 | 1318.24 | 49.5792 | 14992 | 118.6584 | 328.52 | 95.8493 | 424.928 | 729847.199 | 532.325 | 3272470.497 | 563.005 | 1775.9202 | 3604 | 205.379 | 964.38 | 599.9996 | 1728.72 | 318.1385 | 2224.7 | 3964.9044 | 7.6 | 244.7796 | 1236.32 | 283.9871 | 1592.9 | 192387.895 | 304.01 | 46291.096 | 83.302 | 1644.595 | 2109 | 636.8291 | 0 | 938.8226 | 3.12 | 16071 | 0 | 1818 | 5110 | 19158 | 3750 | 4248.9552 | 11678 | 0 | 0 | 13.224 | 1075.897 | 101.7559 | 205.79 | 25.5076 | 139.586 | 72.3799 | 137.056 | 507.339 | 109.48 | 24.6312 | 0 | 341.266 | 0 | 1377.175 | 4.096 | 211171.6 | 148.384 | 3066.1 | 700 | 3180 | 900 | 915.36 | 1240 | 0 |  |  | 0 | 6341780.094 | 2649.079 | 3806.3232 | 556.8 | 231.6163 | 11.4 | 634.3876 | 75.9 | 137.8349 | 368.61 | 8980.442 | 3974.2332 | 0 | 430.35 | 0 | 3826.0564 | 154.4 | 295.318 | 182 | 14869.14 | 0.02936 | 15701.07 | 51.864 | 150.582 | 295 | 51128 | 0 | 51128 | 0 | 18396 | 322139 |  | 0.02936 | #DIV/0! |  | 205.79 | 139.586 | 137.056 | 109.48 | 0 | 0 | 591.912 | person | number | forklift | 1075.897 | 591.912 | 8980.442 | 2224.7 | 7.6 | 1236.32 | 1592.9 | 0 | 3918.922 | #REF! | #REF!
2025-02-05 | 24.1483 | 159.022 | 10111.943 | 29.98 | 0 | 0 | 92.4013 | 1389.072 | 3310.3952 | 38.025 | 16388.602 | 123.776 | 3242.517 | 4455 | 49.0289 | 276.04 | 2007175.414 | 3889.293 | 2251.72 | 3024.4 | 562.7129 | 1331 | 49.5942 | 13840 | 118.9869 | 353.25 | 96.2742 | 445.88 | 730379.524 | 428.026 | 3273033.502 | 545.732 | 1779.5242 | 3194.8 | 206.3434 | 890.84 | 601.7283 | 1766.6 | 320.3632 | 2202.98 | 3964.912 | 63.6 | 246.0159 | 1179.8 | 285.58 | 1444.46 | 192691.905 | 299.84 | 46374.398 | 75.257 | 1646.704 | 2122 | 636.8291 | 0 | 938.8257 | 3.04 | 16071 | 0 | 2329 | 5100 | 19533 | 3720 | 4260.6332 | 12178.4 | 0 | 0 | 14.2999 | 729.688 | 101.9617 | 232.16 | 25.6472 | 156.302 | 72.517 | 136.168 | 507.4484 | 106.44 | 24.6312 | 0 | 341.266 | 0 | 1381.271 | 3.231 | 211319.984 | 127.44 | 3066.8 | 700 | 3180.9 | 900 | 916.6 | 1230 | 0 |  |  | 0 | 6344429.173 | 2561.219 | 3806.88 | 544 | 231.6277 | 9.78 | 634.4635 | 73.72 | 138.2036 | 348.88 | 8780.133 | 3974.2332 | 0 | 430.35 | 0 | 3826.2108 | 164.8 | 295.5 | 101.66 | 14869.15 | 0 | 15752.934 | 55.195 | 150.877 | 302 | 51438 | 0 | 51438 | 0 | 18301 | 37693 |  | 0 | #DIV/0! |  | 232.16 | 156.302 | 136.168 | 106.44 | 0 | 0 | 631.07 | rakesh | 9717941162 | bendy | 729.688 | 631.07 | 8780.133 | 2202.98 | 63.6 | 1179.8 | 1444.46 | 0 | 3889.293 | #REF! | #REF!
2025-02-06 | 24.3073 | 162.562 | 10141.923 | 26.939 | 0 | 0 | 93.7904 | 1415.696 | 3348.4202 | 38.1398 | 16512.378 | 119.58 | 3246.972 | 4555 | 49.3049 | 287.068 | 2011064.707 | 3926.281 | 2254.7444 | 2744.2 | 564.0439 | 1352.72 | 49.6081 | 14476 | 119.3401 | 310.85 | 96.7201 | 444.752 | 730807.55 | 577.051 | 3273579.234 | 573.517 | 1782.719 | 3489.8 | 207.2342 | 927.66 | 603.4949 | 1830.68 | 322.5662 | 2219.6 | 3964.9756 | 0 | 247.1957 | 1496.9 | 287.0244 | 1162.06 | 192991.745 | 331.094 | 46449.655 | 62.955 | 1648.826 | 2155 | 636.8291 | 0 | 938.8287 | 3.12 | 16071 | 0 | 2839 | 5110 | 19905 | 3740 | 4272.8116 | 12323.2 | 0 | 0 | 15.0295 | 880.353 | 102.1939 | 234.78 | 25.8035 | 157.722 | 72.6531 | 138.008 | 507.5549 | 109.04 | 24.6312 | 0 | 341.266 | 0 | 1384.502 | 3.377 | 211447.424 | 139.7 | 3067.5 | 800 | 3181.8 | 900 | 917.83 | 1240 | 0 |  |  | 0 | 6346990.392 | 2701.163 | 3807.424 | 683.6 | 231.6375 | 9.96 | 634.5372 | 73.24 | 138.5524 | 336.91 | 8804.841 | 3974.2332 | 0 | 430.35 | 0 | 3826.3756 | 158.4 | 295.6017 | 145.22 | 14869.15 | 0 | 15808.129 | 64.449 | 151.179 | 299 | 51641 | 0 | 51641 | 0 | 18301 | 221 |  | 0 | #DIV/0! |  | 234.78 | 157.722 | 138.008 | 109.04 | 0 | 0 | 639.55 | ravindra | 7499054321 | bendy | 880.353 | 639.55 | 8804.841 | 2219.6 | 0 | 1496.9 | 1162.06 | 0 | 3926.281 | #REF! | #REF!
2025-02-07 | 24.4699 | 118.486 | 10168.862 | 19.96 | 0 | 0 | 95.2061 | 1337.24 | 3386.56 | 37.4968 | 16631.958 | 110.743 | 3251.527 | 4550 | 49.592 | 282.092 | 2014990.988 | 3928.123 | 2257.4886 | 2784.2 | 565.3966 | 1358.04 | 49.6225 | 14216 | 119.651 | 332.64 | 97.1649 | 435.136 | 731384.601 | 474.163 | 3274152.751 | 538.113 | 1786.2088 | 3328 | 208.1619 | 935.2 | 605.3256 | 1798.52 | 324.7858 | 2221.08 | 3964.9756 | 294.8 | 248.6926 | 1775.68 | 288.1865 | 766.64 | 193322.839 | 267.982 | 46512.61 | 115.95 | 1650.981 | 2167 | 636.8291 | 0 | 938.8318 | 3.04 | 16071 | 0 | 3350 | 5060 | 20279 | 3710 | 4285.1348 | 12576 | 0 | 0 | 15.9099 | 805.177 | 102.4287 | 235.78 | 25.9612 | 158.344 | 72.7911 | 138.56 | 507.6639 | 107.28 | 24.6312 | 0.356 | 341.266 | 0 | 1387.879 | 2.769 | 211587.124 | 122.06 | 3068.3 | 700 | 3182.7 | 1000 | 919.07 | 1260 | 0 |  |  | 0 | 6349691.555 | 2742.001 | 3808.1076 | 743.2 | 231.6474 | 170.7 | 634.6104 | 74.44 | 138.8893 | 378.12 | 8986.323 | 3974.2332 | 0 | 430.35 | 0 | 3826.534 | 128 | 295.7469 | 130 | 14869.15 | 302.2025 | 15872.578 | 51.403 | 151.478 | 244.7 | 43882 | 7152 | 51034 | 1684 | 16431 | 5147 |  | 302.2025 | 4.247 |  | 235.78 | 158.344 | 138.56 | 107.28 | 0.356 | 0 | 640.32 | vikas | 7065108270 |  | 805.177 | 640.32 | 8986.323 | 2221.08 | 294.8 | 1775.68 | 766.64 | 0 | 3928.123 | #REF! | #REF!
2025-02-08 | 24.5884 | 158.582 | 10188.822 | 30.217 | 0 | 0 | 96.5433 | 1374.248 | 3424.0568 | 35.112 | 16742.701 | 122.998 | 3256.077 | 4507 | 49.8741 | 255.42 | 2018919.111 | 3885.004 | 2260.2728 | 2506.2 | 566.7546 | 1291.56 | 49.6367 | 14204 | 119.9836 | 318.08 | 97.6 | 412.592 | 731858.764 | 523.926 | 3274690.864 | 465.02 | 1789.5368 | 3314.6 | 209.0971 | 948.18 | 607.1241 | 1784.08 | 327.0068 | 969.52 | 3965.2704 | 0 | 250.4683 | 1537.04 | 288.9531 | 1098.1 | 193590.821 | 316.645 | 46628.56 | 51.703 | 1653.148 | 2167 | 636.8291 | 0 | 938.8349 | 3.12 | 16071 | 0 | 3856 | 5000 | 20650 | 3690 | 4297.7108 | 10873.6 | 0 | 0 | 16.7151 | 852.161 | 102.6644 | 235.34 | 26.1196 | 156.836 | 72.9297 | 137.224 | 507.7712 | 107.28 | 24.6315 | 0.246 | 341.266 | 0 | 1390.648 | 2.903 | 211709.184 | 140.832 | 3069 | 800 | 3183.7 | 900 | 920.33 | 1250 | 0 |  |  | 0 | 6352433.556 | 2726.396 | 3808.8508 | 771.6 | 231.8181 | 10.7 | 634.6849 | 66.28 | 139.2675 | 359.22 | 8576.864 | 3974.2332 | 1087.2 | 430.35 | 0 | 3826.662 | 101.2 | 295.8769 | 73.86 | 14972.08 | 0 | 15923.981 | 42.234 | 151.7227 | 292.3 | 50415 | 0 | 50415 | 0 | 16431 | 49081 |  | 0 | #DIV/0! |  | 235.34 | 156.836 | 137.224 | 107.28 | 0.246 | 0 | 636.926 | akash | 9557024108 |  | 852.161 | 636.926 | 8576.864 | 969.52 | 0 | 1537.04 | 1098.1 | 1087.2 | 3885.004 | #REF! | #REF!
2025-02-09 | 24.7469 | 100.768 | 10219.039 | 33.079 | 0 | 0 | 97.9176 | 1308.124 | 3459.1688 | 39.5068 | 16865.699 | 91.92 | 3260.584 | 4344 | 50.1295 | 238.18 | 2022804.115 | 3732.934 | 2262.779 | 2610.2 | 568.0462 | 1203.08 | 49.6509 | 12940 | 120.3017 | 274.54 | 98.0126 | 358.336 | 732382.69 | 265.353 | 3275155.884 | 375.256 | 1792.8514 | 2938 | 210.0453 | 725.58 | 608.9082 | 1231.44 | 327.9764 | 361.48 | 3965.2704 | 80.8 | 252.0053 | 920.44 | 290.0512 | 1201.42 | 193907.466 | 290.421 | 46680.263 | 72.296 | 1655.315 | 1907 | 636.8291 | 0 | 938.838 | 3.04 | 16071 | 0 | 4356 | 5060 | 21019 | 3400 | 4308.5844 | 8994.4 | 0 | 0 | 17.5672 | 1015.774 | 102.8998 | 233.44 | 26.2764 | 156.436 | 73.0669 | 136.16 | 507.8785 | 104.52 | 24.6318 | 0 | 341.266 | 0 | 1393.551 | 6.379 | 211850.016 | 137.312 | 3069.8 | 700 | 3184.6 | 900 | 921.58 | 1240 | 0 |  |  | 0 | 6355159.952 | 2094.604 | 3809.6224 | 560.4 | 231.8288 | 310.06 | 634.7512 | 82.92 | 139.6267 | 241.86 | 8178.674 | 3975.3204 | 1881.6 | 430.35 | 0 | 3826.7632 | 100 | 295.9507 | 79.9 | 14972.08 | 594.2758 | 15966.215 | 37.4 | 152.015 | 222 | 34161 | 12262 | 46423 | 3085 | 13132 | 0 |  | 594.2758 | 3.9747 |  | 233.44 | 156.436 | 136.16 | 104.52 | 0 | 0 | 630.556 | haransh | 8650043053 |  | 1015.774 | 630.556 | 8178.674 | 361.48 | 80.8 | 920.44 | 1201.42 | 1881.6 | 3732.934 | #REF! | #REF!
2025-02-10 | 24.8477 | 91.696 | 10252.118 | 27.672 | 0 | 0 | 99.2257 | 1283.554 | 3498.6756 | 37.2008 | 16957.619 | 122.029 | 3264.928 | 4463 | 50.3677 | 273.42 | 2026537.049 | 3852.775 | 2265.3892 | 2627.2 | 569.2493 | 1285.48 | 49.6639 | 14304 | 120.5763 | 308.87 | 98.3709 | 455.768 | 732648.043 | 529.012 | 3275531.14 | 536.943 | 1795.7894 | 3558.2 | 210.7708 | 901.48 | 610.1396 | 1672.96 | 328.3378 | 10.36 | 3965.3512 | 10 | 252.9258 | 1258.56 | 291.2527 | 1314.78 | 194197.887 | 210.702 | 46752.559 | 88.367 | 1657.222 | 2067 | 636.8291 | 0 | 938.841 | 3.12 | 16071 | 0 | 4862 | 5000 | 21359 | 3670 | 4317.5788 | 9852 | 0 | 0 | 18.583 | 1071.522 | 103.1332 | 235.36 | 26.4328 | 157.406 | 73.2031 | 136.936 | 507.983 | 109.12 | 24.6318 | 0.008 | 341.266 | 0 | 1399.93 | 3.821 | 211987.328 | 132.128 | 3070.5 | 700 | 3185.5 | 900 | 922.82 | 2020 | 0 |  |  | 0 | 6357254.556 | 2571.729 | 3810.1828 | 570.4 | 232.1389 | 57.38 | 634.8341 | 103 | 139.8685 | 362.54 | 8457.675 | 3977.202 | 2011.2 | 430.35 | 0 | 3826.8632 | 169.2 | 296.0306 | 128.8 | 15174.49 | 76.7764 | 16003.615 | 51.252 | 152.237 | 292 | 48135 | 1888 | 50023 | 527 | 12885 | 98804 |  | 76.7764 | 3.5825 |  | 235.36 | 157.406 | 136.936 | 109.12 | 0.008 | 0 | 638.83 | Name | contact no | work | 1071.522 | 638.83 | 8457.675 | 10.36 | 10 | 1258.56 | 1314.78 | 2011.2 | 3852.775 | #REF! | #REF!
2025-02-11 | 24.9394 | 140.132 | 10279.79 | 26.346 | 0 | 0 | 100.5092 | 1316.55 | 3535.8764 | 34.6416 | 17079.648 | 119.612 | 3269.391 | 4427 | 50.6411 | 260.46 | 2030389.824 | 3821.05 | 2268.0164 | 2533.2 | 570.5348 | 1224.32 | 49.6782 | 14624 | 120.8851 | 337.18 | 98.8267 | 461.12 | 733177.055 | 651.259 | 3276068.083 | 544.713 | 1799.3476 | 3585.2 | 211.6723 | 952.98 | 611.8126 | 1792.64 | 328.3482 | 0 | 3965.3612 | 0 | 254.1843 | 1298.2 | 292.5674 | 1299.6 | 194408.589 | 204.102 | 46840.926 | 71.7 | 1659.289 | 2195 | 636.8291 | 0 | 938.8442 | 3.04 | 16071 | 0 | 5362 | 5130 | 21726 | 3660 | 4327.4308 | 9907.2 | 0 | 0 | 19.6545 | 987.386 | 103.3686 | 231.38 | 26.5902 | 155.244 | 73.34 | 135.296 | 508.0921 | 108.08 | 24.6318 | 0.31 | 341.266 | 0 | 1403.751 | 5.786 | 212119.456 | 147.984 | 3071.2 | 700 | 3186.4 | 900 | 924.84 | 410 | 0 |  |  | 0 | 6359826.285 | 2474.917 | 3810.7532 | 550.8 | 232.1963 | 7.32 | 634.9371 | 103.64 | 140.2311 | 370.42 | 8446.25 | 3979.2132 | 2027.4 | 430.35 | 0 | 3827.0324 | 166.4 | 296.1594 | 129.52 | 15200.64 | 0 | 16054.867 | 50.937 | 152.529 | 280 | 50706 | 0 | 50706 | 0 | 12885 | 3407 |  | 0 | #DIV/0! |  | 231.38 | 155.244 | 135.296 | 108.08 | 0.31 | 0 | 630.31 | Jivan chandel | 9805973808 | diesel dip check | 987.386 | 630.31 | 8446.25 | 0 | 0 | 1298.2 | 1299.6 | 2027.4 | 3821.05 | #REF! | #REF!
2025-02-12 | 25.0795 | 164.228 | 10306.136 | 35.708 | 0 | 0 | 101.8258 | 1342.6 | 3570.518 | 36.4612 | 17199.26 | 136.561 | 3273.818 | 4474 | 50.9016 | 288.032 | 2034210.874 | 3617.28 | 2270.5496 | 2678.2 | 571.7591 | 1250.2 | 49.6928 | 14768 | 121.2223 | 338.04 | 99.2878 | 480.392 | 733828.314 | 673.506 | 3276612.796 | 581.508 | 1802.9328 | 3657.6 | 212.6253 | 941.78 | 613.6052 | 1840.08 | 328.3482 | 146.38 | 3965.3612 | 156 | 255.4825 | 1137.98 | 293.867 | 1289.96 | 194612.691 | 239.161 | 46912.626 | 93.255 | 1661.484 | 2185 | 636.8291 | 0 | 938.8472 | 2.96 | 16071 | 0 | 5875 | 5080 | 22092 | 3730 | 4337.338 | 10224.8 | 0 | 0 | 20.6419 | 985.758 | 103.6 | 234.72 | 26.7455 | 156.682 | 73.4753 | 137.776 | 508.2002 | 109.16 | 24.6321 | 0 | 341.266 | 0 | 1409.537 | 9.976 | 212267.44 | 146.24 | 3071.9 | 800 | 3187.3 | 900 | 925.25 | 1230 | 0 |  |  | 0 | 6362301.202 | 2406.743 | 3811.304 | 412 | 232.2036 | 7.32 | 635.0407 | 98.84 | 140.6015 | 360.85 | 8367.8 | 3981.2406 | 2020.2 | 430.35 | 0 | 3827.1988 | 169.6 | 296.289 | 133.16 | 15200.64 | 0 | 16105.804 | 56.383 | 152.809 | 317 | 51268 | 0 | 51268 | 0 | 12885 | 0 |  | 0 | #DIV/0! |  | 234.72 | 156.682 | 137.776 | 109.16 | 0 | 0 | 638.338 | rakesh | 8209029388 | diesel dip check | 985.758 | 638.338 | 8367.8 | 146.38 | 156 | 1137.98 | 1289.96 | 2020.2 | 3617.28 | #REF! | #REF!
2025-02-13 | 25.2438 | 144.984 | 10341.844 | 31.068 | 0 | 0 | 103.1684 | 1344.63 | 3606.9792 | 37.4976 | 17335.821 | 140.583 | 3278.292 | 4458 | 51.1896 | 258.36 | 2037828.154 | 3830.469 | 2273.2278 | 2620.8 | 573.0093 | 1165.56 | 49.7076 | 14332 | 121.5603 | 342.2 | 99.7682 | 474.626 | 734501.82 | 500.216 | 3277194.304 | 557.821 | 1806.5904 | 3512.6 | 213.5671 | 963.68 | 615.4453 | 1812.48 | 328.4946 | 4.42 | 3965.5172 | 5.6 | 256.6205 | 1078.42 | 295.157 | 1297.4 | 194851.852 | 221.773 | 47005.881 | 68.24 | 1663.669 | 2136 | 636.8291 | 0 | 938.8502 | 3.2 | 16071 | 0 | 6383 | 5090 | 22465 | 3710 | 4347.5628 | 9992 | 0 | 0 | 21.6277 | 891.304 | 103.8347 | 235.13 | 26.9022 | 156.286 | 73.6131 | 137.744 | 508.3094 | 108.12 | 24.6321 | 0 | 341.266 | 0 | 1419.513 | 5.417 | 212413.68 | 160.672 | 3072.7 | 700 | 3188.2 | 900 | 926.48 | 1230 | 0 |  |  | 0 | 6364707.945 | 2509.763 | 3811.716 | 530 | 232.2109 | 7.22 | 635.1396 | 101.84 | 140.9623 | 365.43 | 8235.509 | 3983.2608 | 2019.2 | 430.35 | 0 | 3827.3684 | 186.4 | 296.4221 | 128.9 | 15200.64 | 0.02936 | 16162.187 | 64.151 | 153.126 | 291 | 50518 | 0 | 50518 | 0 | 12264 | 3060 |  | 0.02936 | #DIV/0! |  | 235.13 | 156.286 | 137.744 | 108.12 | 0 | 0 | 637.28 | umesh | 9310062369 | diesel dip check | 891.304 | 637.28 | 8235.509 | 4.42 | 5.6 | 1078.42 | 1297.4 | 2019.2 | 3830.469 | #REF! | #REF!
2025-02-14 | 25.3887 | 166.297 | 10372.912 | 37.278 | 0 | 0 | 104.513 | 1366.96 | 3644.4768 | 36.6872 | 17476.404 | 144.3 | 3282.75 | 4463 | 51.448 | 273.02 | 2041658.623 | 3841.953 | 2275.8486 | 2606.4 | 574.1748 | 1212.12 | 49.7219 | 14332 | 121.9025 | 346.65 | 100.2429 | 447.82 | 735002.036 | 501.113 | 3277752.125 | 565.434 | 1810.103 | 3524.8 | 214.5308 | 946.8 | 617.2578 | 1784.92 | 328.499 | 0 | 3965.5228 | 0 | 257.6989 | 1069.68 | 296.4544 | 1303.68 | 195073.625 | 254.002 | 47074.121 | 72.603 | 1665.805 | 2176 | 636.8291 | 0 | 938.8534 | 2.96 | 16071 | 0 | 6892 | 4990 | 22836 | 3620 | 4357.5548 | 10022 | 0 | 0 | 22.519 | 901.932 | 104.0698 | 234.1 | 27.0585 | 156.568 | 73.7508 | 137.528 | 508.4175 | 108.8 | 24.6321 | 0 | 341.266 | 0 | 1424.93 | 10.853 | 212574.352 | 144.496 | 3073.4 | 800 | 3189.1 | 900 | 927.71 | 1220 | 0 |  |  | 0 | 6367217.708 | 2672.955 | 3812.246 | 644 | 232.2181 | 6.42 | 635.2414 | 102.12 | 141.3278 | 362.99 | 8233.713 | 3985.28 | 2018.4 | 430.35 | 0 | 3827.5548 | 195.6 | 296.551 | 140.2 | 15200.65 | 0 | 16226.338 | 49.027 | 153.417 | 278 | 50620 | 0 | 50620 | 0 | 12264 | 0 |  | 0 | #DIV/0! |  | 234.1 | 156.568 | 137.528 | 108.8 | 0 | 0 | 636.996 | krishna store |  | diesel dip check | 901.932 | 636.996 | 8233.713 | 0 | 0 | 1069.68 | 1303.68 | 2018.4 | 3841.953 | #REF! | #REF!
2025-02-15 | 25.555 | 136.253 | 10410.19 | 34.626 | 0 | 0 | 105.88 | 1330.35 | 3681.164 | 37.4984 | 17620.704 | 144.668 | 3287.213 | 4451 | 51.721 | 266.08 | 2045500.576 | 3820.986 | 2278.455 | 2992.8 | 575.387 | 1170.64 | 49.7362 | 14324 | 122.2492 | 341.4 | 100.6907 | 448.37 | 735503.149 | 432.7 | 3278317.559 | 526.533 | 1813.6278 | 3487.6 | 215.4776 | 945.82 | 619.0427 | 1770.28 | 328.499 | 0.9 | 3965.5228 | 0 | 258.7686 | 1111.92 | 297.7581 | 1297.86 | 195327.627 | 209.06 | 47146.724 | 96.807 | 1667.981 | 2170 | 636.8291 | 0 | 938.8563 | 3.12 | 16071 | 0 | 7391 | 5070 | 23198 | 3620 | 4367.5768 | 9888 | 0 | 0 | 23.4209 | 959.486 | 104.3039 | 233.2 | 27.215 | 154.928 | 73.8884 | 135.448 | 508.5263 | 106.04 | 24.6321 | 0 | 341.266 | 0 | 1435.783 | 15.433 | 212718.848 | 125.232 | 3074.2 | 700 | 3190 | 900 | 928.93 | 1220 | 0 |  |  | 0 | 6369890.663 | 2582.156 | 3812.89 | 602.8 | 232.2246 | 7 | 635.3435 | 99.64 | 141.6908 | 345.34 | 8258.866 | 3987.2984 | 2027.2 | 430.35 | 0 | 3827.7504 | 172 | 296.6912 | 136.7 | 15200.65 | 0 | 16275.365 | 55.43 | 153.695 | 301 | 50911 | 0 | 50911 | 0 | 12140 | 1552 |  | 0 | #REF! |  | 233.2 | 154.928 | 135.448 | 106.04 | 341.266 | 0 | 970.882 |  |  |  | 959.486 | 970.882 | 8258.866 | 0.9 | 0 | 1111.92 | 1297.86 | 2027.2 | 3820.986 | #REF! | #REF!
2025-02-16 | 25.6913 | 88.956 | 10444.816 | 26.807 | 0 | 0 | 107.2103 | 1242.89 | 3718.6624 | 37.8936 | 17765.372 | 95.918 | 3291.664 | 4326 | 51.9871 | 263.472 | 2049321.562 | 3648.391 | 2281.4478 | 2874.8 | 576.5576 | 1065.4 | 49.7506 | 13040 | 122.5906 | 242.78 | 101.139 | 355.23 | 735935.849 | 294.304 | 3278844.092 | 405.912 | 1817.1154 | 2912.6 | 216.4234 | 685.4 | 620.813 | 1381.92 | 328.4999 | 393.5 | 3965.5228 | 193.2 | 259.8805 | 777.8 | 299.0559 | 1207.54 | 195536.687 | 172.652 | 47243.531 | 101.123 | 1670.151 | 1935 | 636.8291 | 0 | 938.8594 | 3.04 | 16071 | 0 | 7898 | 5160 | 23560 | 3380 | 4377.4648 | 9014.8 | 0 | 0 | 24.3804 | 907.65 | 104.5371 | 229.2 | 27.3699 | 157.042 | 74.0238 | 137.472 | 508.6323 | 99.72 | 24.6321 | 0 | 341.266 | 0 | 1451.216 | 6.301 | 212844.08 | 80.544 | 3074.9 | 800 | 3190.9 | 900 | 930.15 | 1240 | 0 |  |  | 0 | 6372472.819 | 1550.501 | 3813.4928 | 420 | 232.2316 | 555.08 | 635.4432 | 79.84 | 142.0361 | 223.48 | 8024.031 | 3989.3256 | 1803.6 | 430.35 | 0 | 3827.9224 | 118.8 | 296.8279 | 86.88 | 15200.65 | 339.842 | 16330.795 | 45.495 | 153.996 | 314 | 26163 | 19450 | 45613 | 5120 | 7020 | 3701 |  | 339.842 | 3.7988 |  | 229.2 | 157.042 | 137.472 | 99.72 | 0 | 0 | 623.434 | tana |  | bvg head | 907.65 | 623.434 | 8024.031 | 393.5 | 193.2 | 777.8 | 1207.54 | 1803.6 | 3648.391 | #REF! | #REF!
2025-02-17 | 25.7803 | 111.862 | 10471.623 | 33.121 | 0 | 0 | 108.4532 | 1173.33 | 3756.556 | 36.9048 | 17861.29 | 137.551 | 3295.99 | 4303 | 52.2506 | 264.868 | 2052969.953 | 3777.71 | 2284.3226 | 2775.6 | 577.623 | 1158.2 | 49.7636 | 14264 | 122.8334 | 322.14 | 101.4943 | 455.55 | 736230.153 | 508.662 | 3279250.004 | 569.737 | 1820.028 | 3648 | 217.1088 | 848.2 | 622.1949 | 1803.72 | 328.8934 | 186.32 | 3965.716 | 197.2 | 260.6583 | 923.52 | 300.2635 | 1182.3 | 195709.339 | 195.67 | 47344.654 | 89.855 | 1672.086 | 2144 | 636.8291 | 0 | 938.8625 | 3.04 | 16071 | 0 | 8414 | 4940 | 23898 | 3620 | 4386.4796 | 10063.2 | 0 | 0 | 25.288 | 1092.882 | 104.7663 | 227.49 | 27.527 | 162.6 | 74.1613 | 133.184 | 508.732 | 123.08 | 24.6321 | 0.37 | 341.266 | 0 | 1457.517 | 3.817 | 212924.624 | 124.672 | 3075.7 | 700 | 3191.8 | 800 | 931.39 | 1220 | 0 |  |  | 0 | 6374023.32 | 2700.652 | 3813.9128 | 787.6 | 232.7866 | 61.22 | 635.523 | 71.64 | 142.2596 | 319.39 | 8201.45 | 3991.1292 | 1934.4 | 430.35 | 0 | 3828.0412 | 220.8 | 296.9148 | 141.44 | 15316.4 | 76.5122 | 16376.29 | 49.722 | 154.31 | 203 | 48006 | 1905 | 49911 | 543 | 18301 | 5705 |  | 76.5122 | 3.5083 |  | 227.49 | 162.6 | 133.184 | 123.08 | 0.37 | 0 | 646.724 |  |  |  | 1092.882 | 646.724 | 8201.45 | 186.32 | 197.2 | 923.52 | 1182.3 | 1934.4 | 3777.71 | #REF! | #REF!
2025-02-18 | 25.8921 | 112.878 | 10504.744 | 39.502 | 0 | 0 | 109.6265 | 1303.71 | 3793.4608 | 37.8848 | 17998.841 | 149.766 | 3300.293 | 4355 | 52.5154 | 262.596 | 2056747.663 | 3800.808 | 2287.0982 | 2597.2 | 578.7812 | 1191.56 | 49.7779 | 14516 | 123.1555 | 330.53 | 101.9498 | 461.26 | 736738.815 | 569.056 | 3279819.741 | 568.716 | 1823.676 | 3645.2 | 217.957 | 916.9 | 623.9986 | 1804.16 | 329.0797 | 0 | 3965.9132 | 0 | 261.5818 | 1272.54 | 301.4458 | 1298.16 | 195905.009 | 183.284 | 47434.509 | 111.741 | 1674.23 | 2159 | 636.8291 | 0 | 938.8655 | 3.04 | 16071 | 0 | 8908 | 5020 | 24260 | 3610 | 4396.5428 | 9897.6 | 0 | 0 | 26.3809 | 969.814 | 104.9938 | 227.39 | 27.6896 | 148.404 | 74.2945 | 135.827 | 508.8551 | 127.6 | 24.6324 | 0 | 341.266 | 0 | 1461.334 | 3.223 | 213049.296 | 152.288 | 3076.4 | 700 | 3192.6 | 900 | 932.61 | 1200 | 0 |  |  | 0 | 6376723.972 | 2724.125 | 3814.7004 | 594.4 | 232.8479 | 9.34 | 635.5946 | 76.76 | 142.579 | 310.29 | 8407.908 | 3993.0636 | 2036.4 | 430.35 | 0 | 3828.262 | 250 | 297.0562 | 152.16 | 15342.46 | 0 | 16426.012 | 55.489 | 154.513 | 285 | 50928 | 0 | 50928 | 0 | 18204 | 6000 |  | 0 | #DIV/0! |  | 227.39 | 148.404 | 135.827 | 127.6 | 0 | 0 | 639.221 |  |  |  | 969.814 | 639.221 | 8407.908 | 0 | 0 | 1272.54 | 1298.16 | 2036.4 | 3800.808 | #REF! | #REF!
2025-02-19 | 26.005 | 119.492 | 10544.246 | 43.251 | 0 | 0 | 110.9303 | 1317.64 | 3831.3456 | 39.1524 | 18148.607 | 147.064 | 3304.648 | 4302 | 52.778 | 261.496 | 2060548.471 | 3790.777 | 2289.6954 | 2691 | 579.9728 | 1235.28 | 49.7924 | 14684 | 123.486 | 334.21 | 102.4111 | 470.8 | 737307.871 | 561.331 | 3280388.457 | 568.536 | 1827.3212 | 3759.4 | 218.8739 | 903.36 | 625.8028 | 1809.44 | 329.0797 | 0.94 | 3965.9132 | 0 | 262.8544 | 1300.16 | 302.7439 | 1296.96 | 196088.293 | 262.148 | 47546.25 | 75.068 | 1676.389 | 2224 | 636.8291 | 0 | 938.8686 | 3.12 | 16071 | 0 | 9410 | 5200 | 24621 | 3620 | 4406.4404 | 9943.2 | 0 | 0 | 27.3507 | 1166.74 | 105.2212 | 224.84 | 27.838 | 155.468 | 74.4303 | 135.557 | 508.9827 | 129.24 | 24.6324 | 0 | 341.266 | 0 | 1464.557 | 7.064 | 213201.584 | 147.44 | 3077.1 | 700 | 3193.5 | 900 | 933.81 | 1170 | 0 |  |  | 0 | 6379448.097 | 2567.344 | 3815.2948 | 529.6 | 232.8572 | 7.7 | 635.6714 | 76.64 | 142.8893 | 338.65 | 8427.237 | 3995.1 | 2038.4 | 430.35 | 0 | 3828.512 | 292.4 | 297.2084 | 146.56 | 15342.46 | 0 | 16481.501 | 52.968 | 154.798 | 281 | 51507 | 0 | 51507 | 0 | 18204 | 34450 |  | 0 | #DIV/0! |  | 224.84 | 155.468 | 135.557 | 129.24 | 0 | 0 | 645.105 |  |  |  | 1166.74 | 645.105 | 8427.237 | 0.94 | 0 | 1300.16 | 1296.96 | 2038.4 | 3790.777 | #REF! | #REF!
2025-02-20 | 26.1245 | 136.474 | 10587.497 | 37.22 | 0 | 0 | 112.2479 | 1345.32 | 3870.498 | 36.3376 | 18295.671 | 147.351 | 3308.95 | 4502 | 53.0395 | 252.052 | 2064339.248 | 3815.049 | 2292.3864 | 2761.8 | 581.208 | 1200.88 | 49.8071 | 14872 | 123.8203 | 348.99 | 102.8819 | 432.68 | 737869.202 | 632.48 | 3280956.993 | 571.773 | 1831.0806 | 3774.2 | 219.7772 | 966.04 | 627.6122 | 1818.88 | 329.0807 | 409.42 | 3965.9132 | 267.6 | 264.1545 | 1488.08 | 304.0409 | 1327.56 | 196350.441 | 244.709 | 47621.318 | 69.992 | 1678.613 | 2178 | 636.8291 | 0 | 938.8717 | 3.04 | 16071 | 0 | 9930 | 5100 | 24983 | 3600 | 4416.3836 | 10707.6 | 0 | 0 | 28.5175 | 1063.846 | 105.446 | 224.89 | 27.9935 | 156.214 | 74.5658 | 174.3144 | 509.112 | 127 | 24.6324 | 0 | 341.266 | 0 | 1471.621 | 7.158 | 213349.024 | 144.976 | 3077.8 | 700 | 3194.4 | 900 | 934.98 | 1220 | 0 |  |  | 0 | 6382015.441 | 2561.156 | 3815.8244 | 562.4 | 232.8649 | 83.44 | 635.748 | 71.12 | 143.2279 | 316.01 | 9035.709 | 3997.1384 | 1728 | 430.35 | 0 | 3828.8044 | 290 | 297.355 | 156.54 | 15342.46 | 142.7483 | 16534.469 | 58.282 | 155.079 | 311 | 49042 | 2757 | 51799 | 566 | 17638 | 11873 |  | 142.7483 | 4.871 |  | 224.89 | 156.214 | 174.3144 | 127 | 0 | 0 | 682.4184 |  |  |  | 1063.846 | 682.4184 | 9035.709 | 409.42 | 267.6 | 1488.08 | 1327.56 | 1728 | 3815.049 | #REF! | #REF!
2025-02-21 | 26.261 | 121.622 | 10624.717 | 43.204 | 0 | 0 | 113.5932 | 1327.03 | 3906.8356 | 38.1816 | 18443.022 | 109.587 | 3313.452 | 4479 | 53.2916 | 267.68 | 2068154.297 | 3893.015 | 2295.1482 | 2585.6 | 582.4089 | 1295.2 | 49.8219 | 14792 | 124.1692 | 354.3 | 103.3146 | 462.53 | 738501.682 | 526.746 | 3281528.766 | 570.734 | 1834.8548 | 3813.2 | 220.7433 | 985.82 | 629.4311 | 1826.24 | 329.4901 | 2059.5 | 3966.1808 | 0 | 265.6426 | 1460.68 | 305.3685 | 766.5 | 196595.15 | 289.138 | 47691.31 | 80.696 | 1680.791 | 2210 | 636.8291 | 0 | 938.8747 | 3.12 | 16071 | 0 | 10440 | 5260 | 25343 | 3610 | 4427.0912 | 12222.4 | 0 | 0 | 29.5813 | 1019.918 | 105.6709 | 218.18 | 28.1497 | 156.994 | 74.7402 | 101.0776 | 509.239 | 132.04 | 24.6324 | 0 | 341.266 | 0 | 1478.779 | 7.466 | 213494 | 156.328 | 3078.5 | 800 | 3195.3 | 900 | 936.2 | 1250 | 0 |  |  | 0 | 6384576.597 | 2506.364 | 3816.3868 | 519.6 | 232.9483 | 4.96 | 635.8192 | 49.84 | 143.5439 | 323.55 | 10300.895 | 3998.8664 | 2121.2 | 430.35 | 0 | 3829.0944 | 350.8 | 297.5115 | 147.54 | 15391.08 | 0 | 16592.751 | 47.51 | 155.39 | 295 | 52782 | 0 | 52782 | 0 | 17606 | 8819 |  | 0 | #DIV/0! |  | 218.18 | 156.994 | 101.0776 | 132.04 | 0 | 0 | 608.2916 |  |  |  | 1019.918 | 608.2916 | 10300.895 | 2059.5 | 0 | 1460.68 | 766.5 | 2121.2 | 3893.015 | #REF! | #REF!
2025-02-22 | 26.3826 | 94.488 | 10667.921 | 40.902 | 0 | 0 | 114.9202 | 1290.92 | 3945.0172 | 34.5956 | 18552.609 | 96.06 | 3317.931 | 4346 | 53.5592 | 243.216 | 2072047.312 | 3991.011 | 2297.7338 | 2549.8 | 583.7041 | 1235.88 | 49.8367 | 14780 | 124.5235 | 316.36 | 103.7771 | 476.41 | 739028.428 | 531.983 | 3282099.5 | 554.612 | 1838.668 | 3637.2 | 221.7291 | 966.48 | 631.2574 | 1838.08 | 331.5496 | 2222.62 | 3966.1808 | 0 | 267.1033 | 99.54 | 306.135 | 1331.32 | 196884.288 | 214.1 | 47772.006 | 78.193 | 1683.001 | 2197 | 636.8291 | 0 | 938.8778 | 3.04 | 16071 | 0 | 10966 | 5070 | 25704 | 2620 | 4439.3136 | 12153.2 | 0 | 0 | 30.6012 | 910.798 | 105.8891 | 226.18 | 28.3067 | 115.686 | 74.8412 | 135.088 | 509.371 | 125.48 | 24.6324 | 0.248 | 341.266 | 0 | 1486.245 | 4.096 | 213650.328 | 155.471 | 3079.3 | 700 | 3196.2 | 800 | 937.45 | 1210 | 0 |  |  | 0 | 6387082.961 | 2541.488 | 3816.9064 | 533.8 | 232.9533 | 2.46 | 635.869 | 102.24 | 143.8675 | 334.25 | 9205.291 | 4000.9876 | 1560.8 | 430.35 | 0 | 3829.4452 | 268 | 297.659 | 131.2 | 15391.08 | 0 | 16640.261 | 52.51 | 155.685 | 317 | 50490 | 0 | 50490 | 0 | 17295 | 0 |  | 0 | #DIV/0! |  | 226.18 | 115.686 | 135.088 | 125.48 | 0.248 | 0 | 602.682 |  |  |  | 910.798 | 602.682 | 9205.291 | 2222.62 | 0 | 99.54 | 1331.32 | 1560.8 | 3991.011 | #REF! | #REF!
2025-02-23 | 26.4771 | 105.53 | 10708.823 | 41.216 | 0 | 0 | 116.2112 | 1321.82 | 3979.6128 | 37.8392 | 18648.669 | 96.755 | 3322.277 | 4462 | 53.8025 | 251.404 | 2076038.323 | 3630.209 | 2300.2836 | 2693.4 | 584.94 | 1001.52 | 49.8515 | 12932 | 124.8399 | 265.15 | 104.2535 | 382.93 | 739560.411 | 233.789 | 3282654.112 | 419.134 | 1842.3052 | 3040.4 | 222.6956 | 654.74 | 633.0954 | 1305.96 | 333.7722 | 396.8 | 3966.1808 | 174 | 267.2028 | 991.94 | 307.4663 | 1285.72 | 197098.388 | 209.592 | 47850.199 | 76.38 | 1685.198 | 1924 | 636.8291 | 6.32 | 938.8809 | 3.04 | 16071 | 0 | 11473 | 5190 | 25966 | 3780 | 4451.4668 | 9120.8 | 0 | 0 | 31.512 | 1063.462 | 106.1153 | 220.85 | 28.4224 | 109.304 | 74.9763 | 138.024 | 509.4965 | 113.08 | 24.6327 | 0 | 341.266 | 0 | 1490.341 | 6.218 | 213805.799 | 146.889 | 3080 | 800 | 3197 | 1000 | 938.66 | 1250 | 0 |  |  | 0 | 6389624.449 | 1789.011 | 3817.4402 | 721 | 232.9558 | 320.12 | 635.9712 | 70.08 | 144.2017 | 297.48 | 8322.269 | 4002.5484 | 1843.6 | 430.35 | 0 | 3829.7132 | 139.7 | 297.7902 | 97.12 | 15391.08 | 463.2421 | 16692.771 | 37.779 | 156.002 | 289 | 35786 | 11131 | 46917 | 2829 | 14228 | 0 |  | 463.2421 | 3.9346 |  | 220.85 | 109.304 | 138.024 | 113.08 | 0 | 0 | 581.258 |  |  |  | 1063.462 | 581.258 | 8322.269 | 396.8 | 174 | 991.94 | 1285.72 | 1843.6 | 3630.209 | #REF! | #REF!
2025-02-24 | 26.5826 | 113.006 | 10750.039 | 53.075 | 0 | 0 | 117.533 | 1251.4 | 4017.452 | 38.3864 | 18745.424 | 125.097 | 3326.739 | 4350 | 54.0539 | 243.836 | 2079668.532 | 3872.751 | 2302.977 | 2778.6 | 585.9415 | 1240.12 | 49.8645 | 14672 | 125.1051 | 302.16 | 104.6364 | 447.7 | 739794.2 | 619.919 | 3283073.246 | 538.594 | 1845.3456 | 3832.6 | 223.3503 | 941.86 | 634.4014 | 1735.08 | 334.169 | 2168.44 | 3966.3548 | 1.6 | 268.1948 | 38.38 | 308.752 | 1331.5 | 197307.98 | 256.885 | 47926.579 | 95.173 | 1687.122 | 2091 | 636.8354 | 119.64 | 938.8839 | 3.36 | 16071 | 0 | 11992 | 4960 | 26344 | 3720 | 4460.5876 | 12034 | 0 | 0 | 32.5755 | 1108.1652 | 106.3361 | 218.23 | 28.5317 | 91.748 | 75.1143 | 134.784 | 509.6096 | 109.96 | 24.6327 | 0.74 | 341.266 | 0 | 1496.559 | 8.914 | 213952.688 | 106.656 | 3080.8 | 700 | 3198 | 800 | 939.91 | 1210 | 0 |  |  | 0 | 6391413.46 | 2455.614 | 3818.1612 | 554 | 233.2759 | 41.46 | 636.0413 | 70.68 | 144.4992 | 372.1 | 9007.471 | 4004.392 | 1594.8 | 430.35 | 0 | 3829.8529 | 291.5 | 297.8874 | 130 | 15548.86 | 28.8315 | 16730.55 | 52.745 | 156.291 | 274 | 49815 | 1120 | 50935 | 310 | 13866 | 40141 |  | 28.8315 | 3.6129 |  | 218.23 | 91.748 | 134.784 | 109.96 | 0.74 | 0 | 555.462 |  |  |  | 1108.1652 | 555.462 | 9007.471 | 2168.44 | 1.6 | 38.38 | 1331.5 | 1594.8 | 3872.751 | #REF! | #REF!
2025-02-25 | 26.6956 | 106.296 | 10803.114 | 41.796 | 0 | 0 | 118.7844 | 1323.02 | 4055.8384 | 36.2072 | 18870.521 | 112.653 | 3331.089 | 4515 | 54.2977 | 249.46 | 2083541.283 | 3928.278 | 2305.7556 | 2694.4 | 587.1816 | 1306.36 | 49.8791 | 15100 | 125.4072 | 300.33 | 105.0841 | 457.87 | 740414.119 | 499.706 | 3283611.84 | 572.403 | 1849.1782 | 4031 | 224.2922 | 947.9 | 636.1365 | 1811.96 | 336.3374 | 2254.68 | 3966.3564 | 0 | 268.2332 | 0.02 | 310.0835 | 1353.42 | 197564.865 | 263.947 | 48021.752 | 76.919 | 1689.213 | 2245 | 636.9551 | 72.84 | 938.8873 | 3.28 | 16071 | 0 | 12488 | 5060 | 26716 | 3740 | 4472.6216 | 12392.4 | 0 | 0 | 33.6837 | 878.4988 | 106.5544 | 206.87 | 28.6234 | 89.294 | 75.2491 | 138.256 | 509.7195 | 112.2 | 24.6334 | 0 | 341.266 | 0 | 1505.473 | 4.213 | 214059.344 | 70.528 | 3081.5 | 700 | 3198.8 | 900 | 941.12 | 1230 | 0 |  |  | 0 | 6393869.074 | 2557.451 | 3818.7152 | 472 | 233.3173 | 8.56 | 636.112 | 76.04 | 144.8713 | 322.39 | 9139.998 | 4005.9868 | 1603.6 | 430.35 | 0 | 3830.1444 | 325.6 | 298.0174 | 147.16 | 15558.68 | 0 | 16783.295 | 54.593 | 156.565 | 233 | 52785 | 0 | 52785 | 0 | 13866 | 4947 |  | 0 | #DIV/0! |  | 206.87 | 89.294 | 138.256 | 112.2 | 0 | 0 | 546.62 |  |  |  | 878.4988 | 546.62 | 9139.998 | 2254.68 | 0 | 0.02 | 1353.42 | 1603.6 | 3928.278 | #REF! | #REF!
2025-02-26 | 26.8019 | 88.202 | 10844.91 | 29.278 | 0 | 0 | 120.1074 | 1260.86 | 4092.0456 | 33.7436 | 18983.174 | 119.743 | 3335.604 | 4432 | 54.5472 | 256.848 | 2087469.561 | 3821.563 | 2308.45 | 2744.6 | 588.488 | 1223.36 | 49.8942 | 14976 | 125.7075 | 301.15 | 105.542 | 460.98 | 740913.825 | 670.935 | 3284184.243 | 481.222 | 1853.2092 | 3858 | 225.2401 | 920.78 | 637.9484 | 1806.04 | 338.5921 | 59.52 | 3966.3564 | 0 | 268.2332 | 1663.1 | 311.4369 | 1314.7 | 197828.812 | 185.771 | 48098.671 | 82.429 | 1691.458 | 2149 | 637.0279 | 0 | 938.8906 | 65.2 | 16071 | 0 | 12994 | 5040 | 27090 | 3650 | 4485.014 | 9817.6 | 0 | 0 | 34.5622 | 1920.894 | 106.7612 | 234.51 | 28.7127 | 118.89 | 75.3874 | 135.992 | 509.8317 | 112.52 | 24.6334 | 0 | 341.266 | 0 | 1509.686 | 4.444 | 214129.872 | 76.992 | 3082.2 | 800 | 3199.7 | 900 | 942.35 | 1200 | 0 |  |  | 0 | 6396426.525 | 2667.401 | 3819.1872 | 520 | 233.3259 | 10.36 | 636.188 | 77.84 | 145.1937 | 347.43 | 8933.683 | 4007.5904 | 2074.8 | 430.35 | 0 | 3830.47 | 172 | 298.1645 | 110.24 | 15558.68 | 0 | 16837.888 | 41.364 | 156.798 | 478 | 51763 | 0 | 51763 | 0 | 17809 | 77793 |  | 0 | #DIV/0! |  | 234.51 | 118.89 | 135.992 | 112.52 | 0 | 0 | 601.912 |  |  |  | 1920.894 | 601.912 | 8933.683 | 59.52 | 0 | 1663.1 | 1314.7 | 2074.8 | 3821.563 | #REF! | #REF!
2025-02-27 | 26.8901 | 109.69 | 10874.188 | 30.322 | 0 | 0 | 121.3683 | 1311.01 | 4125.7892 | 37.4316 | 19102.917 | 107.025 | 3340.036 | 4468 | 54.804 | 303.3 | 2091291.124 | 3849.295 | 2311.1946 | 3139.2 | 589.7114 | 1329.6 | 49.9092 | 14564 | 126.0087 | 327.6 | 106.003 | 471.15 | 741584.76 | 380.528 | 3284665.465 | 522.611 | 1857.0672 | 3739.2 | 226.1609 | 964.74 | 639.7545 | 1772.96 | 338.6516 | 1959.84 | 3966.3564 | 2.4 | 269.8963 | 305.68 | 312.7516 | 1334.46 | 198014.583 | 276.002 | 48181.1 | 86.616 | 1693.607 | 2144 | 637.0279 | 0 | 938.9558 | 3.36 | 16071 | 0 | 13498 | 5070 | 27455 | 3720 | 4494.8316 | 12183.2 | 0 | 0 | 36.4831 | 1102.64 | 106.9957 | 216.59 | 28.8316 | 109.024 | 75.5234 | 135.76 | 509.9442 | 110.56 | 24.6334 | 0 | 341.266 | 0 | 1514.13 | 5.43 | 214206.864 | 79.536 | 3083 | 700 | 3200.6 | 900 | 943.55 | 1210 | 0 |  |  | 0 | 6399093.926 | 2774.728 | 3819.7072 | 533.6 | 233.3363 | 95.5 | 636.2659 | 77.84 | 145.5411 | 114.75 | 9231.675 | 4009.6652 | 1780 | 430.35 | 0 | 3830.642 | 295.2 | 298.2748 | 158.32 | 15558.68 | 153.4647 | 16879.252 | 54.632 | 157.276 | 358 | 49522 | 3058 | 52580 | 800 | 16976 | 135173 |  | 153.4647 | 3.8225 |  | 216.59 | 109.024 | 135.76 | 110.56 | 0 | 0 | 571.934 |  |  |  | 1102.64 | 571.934 | 9231.675 | 1959.84 | 2.4 | 305.68 | 1334.46 | 1780 | 3849.295 | #REF! | #REF!
2025-02-28 | 26.9998 | 103.648 | 10904.51 | 32.805 | 0 | 0 | 122.6793 | 1296.98 | 4163.2208 | 37.032 | 19209.942 | 110.849 | 3344.504 | 4477 | 55.1073 | 268.552 | 2095140.419 | 3886.175 | 2314.3338 | 2878.8 | 591.041 | 1323.24 | 49.9238 | 14684 | 126.3363 | 324.6 | 106.4741 | 471.43 | 741965.288 | 426.617 | 3285188.076 | 538.378 | 1860.8064 | 3766.8 | 227.1256 | 998.48 | 641.5274 | 1827.44 | 340.6115 | 1123.44 | 3966.3588 | 0 | 270.202 | 764.38 | 314.0861 | 1349.58 | 198290.585 | 342.596 | 48267.716 | 80.188 | 1695.751 | 2293 | 637.0279 | 0 | 938.9591 | 4.16 | 16071 | 0 | 14005 | 5140 | 27827 | 3760 | 4507.0148 | 11044.8 | 0 | 0 | 37.5857 | 1096.464 | 107.2123 | 227.59 | 28.9406 | 127.844 | 75.6591 | 137.24 | 510.0548 | 112.92 | 24.6334 | 0.002 | 341.266 | 0 | 1519.56 | 5.314 | 214286.4 | 128.928 | 3083.7 | 700 | 3201.5 | 800 | 944.76 | 1220 | 0 |  |  | 0 | 6401868.654 | 2615.425 | 3820.2408 | 548.8 | 233.4318 | 10.32 | 636.3437 | 79.08 | 145.6559 | 0 | 9111.175 | 4011.4452 | 1987.6 | 430.35 | 0 | 3830.9372 | 339.6 | 298.4331 | 156.64 | 15610.95 | 0 | 16933.884 | 47.708 | 157.634 | 303 | 52162 | 0 | 52162 | 0 | 16869 | 221712 |  | 0 | #DIV/0! |  | 227.59 | 127.844 | 137.24 | 112.92 | 0.002 | 0 | 605.596 |  |  |  | 1096.464 | 605.596 | 9111.175 | 1123.44 | 0 | 764.38 | 1349.58 | 1987.6 | 3886.175 | #REF! | #REF!
2025-03-01 | 27.1034 | #REF! | 10937.315 | #REF! | 0 | #REF! | 123.9762 | #REF! | 4200.2528 | #REF! | 19320.791 | #REF! | 3348.981 | #REF! | 55.3759 | #REF! | 2099026.594 | #REF! | 2317.2126 | #REF! | 592.3642 | #REF! | 49.9384 | #REF! | 126.6609 | #REF! | 106.9456 | #REF! | 742391.905 | #REF! | 3285726.454 | #REF! | 1864.5732 | #REF! | 228.1241 | #REF! | 643.3549 | #REF! | 341.7349 | #REF! | 3966.3588 | #REF! | 270.9663 | #REF! | 315.4357 | #REF! | 198633.181 | #REF! | 48347.904 | #REF! | 1698.044 | #REF! | 637.0279 | #REF! | 938.9633 | #REF! | 16071 | #REF! | 14519 |  | 28203 |  | 4518.0596 | #REF! | 0 | 0 | 38.6822 | 28507.156 | 107.4399 | #REF! | 29.0685 | #REF! | 75.7964 | #REF! | 510.1677 | #REF! | 24.6334 | #REF! | 341.266 | #REF! | 1524.874 | #REF! | 214415.328 | #REF! | 3084.4 | #REF! | 3202.3 | #REF! | 945.98 | #REF! | 0 |  |  | 0 | 6404484.079 | #REF! | 3820.7896 | #REF! | 233.4421 | #REF! | 636.4228 | #REF! | 145.6559 | #REF! | #REF! | 4013.4328 | #REF! | 430.35 | #REF! | 3831.2768 | #REF! | 298.5897 | #REF! | 15610.95 | #REF! | 16981.592 | #REF! | 157.937 | #REF! |  |  | 0 |  |  |  |  | #REF! | #DIV/0! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | 28507.156 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[12 empty] | 0 | [46 empty] | 28 days | 142270 | 28 days | 101470 | [9 empty] | 0 | [57 empty] | 22281 | 795.75
[12 empty] | 0 | [59 empty] | 0 | [57 empty] | 24668.25 | 2387.25
[12 empty] | 0 | [59 empty] | 0
0
0
[83 empty] | 12:00 | 174396.896 | 36.512
[83 empty] | 9:00 | 174433.408
[58 empty] | 55200 | [26 empty] | 4.0569
[58 empty] | 98400 | [26 empty] | 97.3653
153600
85014
[53 empty] | 488.7218 |  | 910.2269
v
Note on AX15: 22522: mmeter reset & new installed
Note on AN21: 22522: Reading changed mwh into kwh
Note on AB28: 29541: 299.02250

## Sheet1 (hidden)
DATE | UPPCL POWER | % | SOLAR POWER | % | DG POWER | % | TOTAL
2024-07-01 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 51174
2024-07-02 | #REF! | #REF! | #REF! | #REF! | 907 | 1.9777 | 45861
2024-07-03 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 49802
2024-07-04 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 51128
2024-07-05 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 51438
2024-07-06 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 51641
2024-07-07 | #REF! | #REF! | #REF! | #REF! | 7152 | 14.0142 | 51034
2024-07-08 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 50415
2024-07-09 | #REF! | #REF! | #REF! | #REF! | 12262 | 26.4136 | 46423
2024-07-10 | #REF! | #REF! | #REF! | #REF! | 1888 | 3.7743 | 50023
2024-07-11 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 50706
2024-07-12 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 51268
2024-07-13 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 50518
2024-07-14 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 50620
2024-07-15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 50911
2024-07-16 | #REF! | #REF! | #REF! | #REF! | 19450 | 42.6414 | 45613
2024-07-17 | #REF! | #REF! | #REF! | #REF! | 1905 | 3.8168 | 49911
2024-07-18 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 50928
2024-07-19 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 51507
2024-07-20 | #REF! | #REF! | #REF! | #REF! | 2757 | 5.3225 | 51799
2024-07-21 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 52782
2024-07-22 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 50490
2024-07-23 | #REF! | #REF! | #REF! | #REF! | 11131 | 23.7249 | 46917
2024-07-24 | #REF! | #REF! | #REF! | #REF! | 1120 | 2.1989 | 50935
2024-07-25 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 52785
2024-07-26 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 51763
2024-07-27 | #REF! | #REF! | #REF! | #REF! | 3058 | 5.8159 | 52580
2024-07-28 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 52162
2024-07-29 | #REF! | #REF! | #REF! | #REF! | 0 | #DIV/0! | 0
2024-07-30 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2024-07-31 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!