## (1) Data sheet
| DAILY_ENERGY_METER_READING_ FOR_THE_MONTH_OF FEB 2020 | [5 empty] | SEP | 2020-10-01 | [62 empty] | 0.20799
DATE | NEW ETP1 | TOTAL KWH | ETP2 | TOTAL KWH | NBF-II | TOTAL KWH | 7F-630A | TOTAL KWH | 200V BUSBAR | TOTAL KWH | EVP BUS BAR | TOTAL KWH | RS UPS BUSBAR | TOTAL KWH | HEATER READIATOR | TOTAL KWH | AIR COMP. 1000 CFM | TOTAL KWH | MLTP DG ROOM | TOTAL KWH | ELECT PANEL-1 | TOTAL KWH | MAIN UPS ROOM | TOTAL KWH | BUS BAR-1 | TOTAL KWH | BUSBAR-2 | TOTAL KWH | BUSBAR-4 | TOTAL KWH | BUSBAR-5 | TOTAL KWH | BUSBAR-6 | TOTAL KWH | BUSBAR-7 | TOTAL KWH | BUSBAR-8 | TOTAL KWH | ATLAS-1 | TOTAL KWH | ATLAS-2 | TOTAL KWH | ATLAS-3 | TOTAL KWH | ATLAS-4 | TOTAL KWH | DM PLANT | TOTAL KWH | RO PLANT | TOTAL KWH | COMP UPS BUS BAR | TOTAL KWH | SURFACE TREATMENT-1 | TOTAL KWH | VBF | TOTAL KWH | NBF-1 | TOTAL KWH | NBF-3 | TOTAL KWH | NBF-4 | TOTAL KWH | COMP.PLANT 1600 AMP ACB NEW LT PANEL(11F) | TOTAL KWH | WTP-1 | TOTAL KWH | AHU | TOTAL KWH | AIR WASHER-1 | TOTAL KWH | A/W-2/3 | TOTAL KWH | MFC AIR WAHER-1 | TOTAL KWH | MFC AIR WASHER-2 | TOTAL KWH | MFC AIR WASHER-3 | TOTAL KWH | MFC AIR WASHER-4 | TOTAL KWH | STP 40kld | TOTAL KWH | STP 100kld | TOTAL KWH | S/T-2 PANEL-1 | TOTAL KWH | S/T-2 PANEL-2 | TOTAL KWH | S/T-2 PANEL-3 | TOTAL KWH | ENDURENCE M/C | TOTAL KWH | QA TEST LB | TOTAL KWH | B-196 | TOTAL KWH | Molding Machine | TOTAL KWH | DG AUX | TOTAL KWH | VBF CT FAN | TOTAL KWH | CONDENSOR LINE | TOTAL KWH | TOTAL AIR COMP. UNIT | ATLAS -5 | TOTAL KWH | KAESER COMPRESSOR | TOTAL KWH | ADMIN-1 (AC PANEL) | TOTAL KWH | ADMIN-1 (basement panel) | TOTAL KWH | PNG METER READING | TOTAL | TUC SHOP | TOTAL | NEW CANTEEN | TOTAL | UPPCL (UNIT ) | DG UNIT | total unit (UPPCL+DG) | Diesel consumption Ltr, | DIESEL STOCK | SPARE COST | used According store (diesel) | PNG (SCM) consumption | sfc | pf | AIR WASHER-1 | A/W-2/3 | MFC AIR WAHER-1 | MFC AIR WASHER-2 | MFC AIR WASHER-3 | MFC AIR WASHER-4 | Total |  |  |  | AHU | AIR WASHER | AIR COMP. | air comp 1 | air comp 2 | air comp 3 | air comp 4 | air comp 5 | air comp 6 (1000 cfm) | air comp 7 | total
2025-03-01 | 27.1034 | 114.034 | 10937.315 | 38.526 | 0 | 0 | 123.9762 | 1408.98 | 4200.2528 | 37.5532 | 19320.791 | 103.822 | 3348.981 | 4357 | 55.376 | 271.844 | 2099026.594 | 3799.813 | 2317.2126 | 2749.8 | 592.3642 | 1272.72 | 49.9384 | 14228 | 126.6609 | 322.16 | 106.9456 | 442.53 | 742391.905 | 403.56 | 3285726.454 | 431.137 | 1864.5732 | 3522.4 | 228.1241 | 880.67 | 643.3549 | 1670.56 | 341.7349 | 986.52 | 3966.3588 | 0 | 270.9663 | 851.71 | 315.4357 | 1319.32 | 198633.181 | 322.403 | 48347.904 | 66.397 | 1698.004 | 2169 | 637.0279 | 0 | 938.9633 | 3.04 | 16071 | 0 | 14519 | 5020 | 28203 | 3660 | 4518.0596 | 10648.4 | 0 | 0 | 38.6822 | 931.964 | 107.4399 | 207.99 | 29.0685 | 130.632 | 75.7964 | 127.48 | 510.1677 | 111.52 | 24.6334 | 0 | 341.266 | 0 | 1524.874 | 5.842 | 214415.328 | 122.256 | 3084.4 | 700 | 3202.3 | 900 | 945.98 | 1190 | 0 |  |  | 0 | 6404484.079 | 2615.416 | 3820.7826 | 574.2 | 233.4421 | 2.824 | 636.4228 | 76.8 | 564.335 | 326.1832 | 8679.763 | 4013.4328 | 1722.4 | 0 | 0 | 3831.2768 | 333.6 | 298.5897 | 136.64 | 15610.95 | 0 | 16981.592 | 51.509 | 157.938 | 267 | 51345.6 | 0 | 51345.6 | 0 | 16869 | 0 |  | 0 | #DIV/0! |  | 0.20799 | 130.632 | 127.48 | 111.52 | 0 | 0 | 369.84 |  |  |  | 931.964 | 369.84 | 8679.763 | 986.52 | 0 | #REF! | 1319.32 | 1722.4 | 3799.813 | #REF! | #REF!
2025-03-02 | 27.2175 | 83.356 | 10975.841 | 35.2 | 0 | 0 | 125.3852 | 1344.62 | 4237.806 | 37.43 | 19424.613 | 97.002 | 3353.338 | 4475 | 55.6478 | 284.14 | 2102826.407 | 3815.547 | 2319.9624 | 2416.8 | 593.6369 | 828.4 | 49.9527 | 13448 | 126.9831 | 261.15 | 107.3881 | 368.55 | 742795.465 | 211.658 | 3286157.591 | 398.254 | 1868.0956 | 3267.4 | 229.0048 | 812.81 | 645.0254 | 1308.8 | 342.7214 | 279.08 | 3966.3588 | 171.2 | 271.8181 | 1179.944 | 316.755 | 1248 | 198955.584 | 200.123 | 48414.301 | 83.209 | 1700.173 | 2001 | 637.0279 | 0 | 938.9663 | 33.2 | 16071 | 0 | 15021 | 5100 | 28569 | 3580 | 4528.708 | 9134.8 | 0 | 0 | 39.6141 | 1073.708 | 107.6479 | 228.38 | 29.1991 | 0 | 75.9239 | 141.928 | 510.2792 | 114.28 | 24.6334 | 0 | 341.266 | 0 | 1530.716 | 5.198 | 214537.584 | 33.328 | 3085.1 | 792 | 3203.2 | 800 | 947.17 | 1240 | 0 |  |  | 0 | 6407099.495 | 1274.446 | 3821.3568 | 461.2 | 233.4449 | 140.156 | 636.4996 | 79.2 | 890.5182 | 210.0448 | 8464.971 | 4015.1552 | 1771.2 | 0 | 0 | 3831.6104 | 143.6 | 298.7264 | 83.5 | 15610.95 | 197.5341 | 17033.101 | 22.089 | 158.205 | 300 | 41558 | 4390 | 45948 | 1162 | 15541 | 0 |  | 197.5341 | 3.778 |  | 228.38 | 0 | 141.928 | 114.28 | 0 | 0 | 484.588 |  |  |  | 1073.708 | 484.588 | 8464.971 | 279.08 | 171.2 | 851.71 | 1248 | 1771.2 | 3815.547 | #REF! | #REF!
2025-03-03 | 27.3008 | 77.956 | 11011.041 | 36.148 | 0 | 0 | 126.7298 | 1246.52 | 4275.236 | 37.964 | 19521.615 | 123.662 | 3357.813 | 4382 | 55.9319 | 294.608 | 2106641.954 | 3766.717 | 2322.3792 | 2909.8 | 594.4653 | 1439.76 | 49.9661 | 14692 | 127.2442 | 330.95 | 107.7566 | 444.15 | 743007.123 | 396.903 | 3286555.845 | 466.239 | 1871.363 | 4272.6 | 229.8176 | 902.32 | 646.3342 | 1707.72 | 343.0005 | 886.16 | 3966.53 | 208.4 | 272.998 | 1377.126 | 318.003 | 1066.9 | 199155.707 | 202.066 | 48497.51 | 62.534 | 1702.174 | 2093 | 637.0279 | 0 | 938.9995 | 61.6 | 16071 | 0 | 15531 | 4900 | 28927 | 3680 | 4537.8428 | 10634.4 | 0 | 0 | 40.6878 | 1309.248 | 107.8763 | 181.07 | 29.1991 | 275.89 | 76.0658 | 134.872 | 510.3935 | 108.64 | 24.6334 | 0.83 | 341.266 | 0 | 1535.914 | 5.44 | 214570.912 | 89.808 | 3085.892 | 708 | 3204 | 900 | 948.41 | 1260 | 0 |  |  | 0 | 6408373.941 | 2624.101 | 3821.818 | 480.4 | 233.5851 | 53.98 | 636.5788 | 78.8 | 1100.563 | 251.4033 | 9152.503 | 4016.9264 | 1847.2 | 0 | 0 | 3831.754 | 398.4 | 298.8099 | 143.8 | 15678.23 | 44.3042 | 17055.19 | 68.978 | 158.505 | 352 | 51502.4 | 1593 | 53095.4 | 0 | 15060 | 43041 |  | 44.3042 | #DIV/0! |  | 181.07 | 275.89 | 134.872 | 108.64 | 0.83 | 0 | 701.302 |  |  |  | 1309.248 | 701.302 | 9152.503 | 886.16 | 208.4 | 1377.126 | 1066.9 | 1847.2 | 3766.717 | #REF! | #REF!
2025-03-04 | 27.3788 | 115.308 | 11047.189 | 36.807 | 0 | 0 | 127.9764 | 1338.46 | 4313.2 | 37.4416 | 19645.277 | 116.032 | 3362.195 | 4483 | 56.2266 | 230.72 | 2110408.671 | 3577.128 | 2325.289 | 3089.2 | 595.9051 | 1252.16 | 49.9808 | 14612 | 127.5751 | 295.22 | 108.2008 | 441.84 | 743404.026 | 428.128 | 3287022.084 | 483.373 | 1875.6356 | 3776.6 | 230.7199 | 796.86 | 648.042 | 1598.72 | 343.8867 | 1754 | 3966.7384 | 264.8 | 274.3751 | 900.02 | 319.0699 | 1048.24 | 199357.773 | 256.169 | 48560.044 | 117.247 | 1704.267 | 2150 | 637.0279 | 0 | 939.0611 | 189.28 | 16071 | 0 | 16021 | 5110 | 29295 | 3640 | 4548.4772 | 10883.2 | 0 | 0 | 41.9971 | 1042.652 | 108.0574 | 181.39 | 29.475 | 123.174 | 76.2007 | 136.704 | 510.5022 | 104.56 | 24.6343 | 0 | 341.266 | 0 | 1541.354 | 5.895 | 214660.72 | 156.224 | 3086.6 | 700 | 3204.9 | 900 | 949.67 | 1320 | 0 |  |  | 0 | 6410998.042 | 2537.536 | 3822.2984 | 104.8 | 233.639 | 249.34 | 636.6576 | 81.28 | 1351.9663 | 234.1351 | 9278.188 | 4018.7736 | 1734 | 0 | 0 | 3832.1524 | 250.8 | 298.9537 | 146.08 | 15693.32 | 342.3376 | 17124.168 | 55.08 | 158.857 | 287 | 40134 | 11026 | 51160 | 2380 | 13009 | 1912 |  | 342.3376 | 4.6328 |  | 181.39 | 123.174 | 136.704 | 104.56 | 0 | 0 | 545.828 | person | number | forklift | 1042.652 | 545.828 | 9278.188 | 1754 | 264.8 | 900.02 | 1048.24 | 1734 | 3577.128 | #REF! | #REF!
2025-03-05 | 27.4941 | 126.228 | 11083.996 | 30.146 | 0 | 0 | 129.3148 | 1457.51 | 4350.6416 | 39.0704 | 19761.309 | 110.784 | 3366.678 | 4376 | 56.4573 | 208.06 | 2113985.799 | 3784.728 | 2328.3782 | 3132.6 | 597.1572 | 1261.4 | 49.9954 | 14524 | 127.8704 | 333.5 | 108.6426 | 473.817 | 743832.154 | 487.386 | 3287505.457 | 532.081 | 1879.4122 | 3694.8 | 231.5167 | 818.34 | 649.6407 | 1690.48 | 345.6407 | 612.28 | 3967.0032 | 38.8 | 275.2751 | 1029.84 | 320.1181 | 1156.66 | 199613.942 | 286.69 | 48677.291 | 101 | 1706.417 | 1874 | 637.0279 | 0 | 939.2504 | 219.6 | 16071 | 0 | 16532 | 5220 | 29659 | 3740 | 4559.3604 | 10757.6 | 0 | 0 | 43.0397 | 883.424 | 108.2387 | 181.92 | 29.5982 | 124.672 | 76.3374 | 142.36 | 510.6067 | 107.68 | 24.6343 | 0 | 341.266 | 0 | 1547.249 | 8.092 | 214816.944 | 185.824 | 3087.3 | 700 | 3205.8 | 900 | 950.99 | 1230 | 0 |  |  | 0 | 6413535.578 | 2563.866 | 3822.4032 | 990 | 233.8884 | 254 | 636.7389 | 82.2 | 1586.1014 | 349.3552 | 8643.508 | 4020.5076 | 2021.2 | 0 | 0 | 3832.4032 | 333.2 | 299.0997 | 139.16 | 15809.92 | 454.757 | 17179.248 | 59.364 | 159.144 | 309 | 41170.4 | 10319 | 51489.4 | 2823 | 10004 | 3457 |  | 454.757 | 3.6553 |  | 181.92 | 124.672 | 142.36 | 107.68 | 0 | 0 | 556.632 | rakesh | 9717941162 | bendy | 883.424 | 556.632 | 8643.508 | 612.28 | 38.8 | 1029.84 | 1156.66 | 2021.2 | 3784.728 | #REF! | #REF!
2025-03-06 | 27.6203 | 141.36 | 11114.142 | 39.223 | 0 | 0 | 130.7723 | 1333.93 | 4389.712 | 36.9656 | 19872.093 | 127.386 | 3371.054 | 4149 | 56.6653 | 227.144 | 2117770.527 | 3793.923 | 2331.5108 | 2537.6 | 598.4186 | 1213 | 50.01 | 14332 | 128.2039 | 327.64 | 109.1164 | 471.253 | 744319.54 | 424.425 | 3288037.538 | 517.689 | 1883.107 | 3880.4 | 232.3351 | 907.1 | 651.3312 | 1765.92 | 346.253 | 2194.8 | 3967.042 | 0 | 276.305 | 0 | 321.2748 | 975.26 | 199900.632 | 284.738 | 48778.291 | 88.729 | 1708.291 | 2454 | 637.0279 | 0 | 939.47 | 196.4 | 16071 | 0 | 17054 | 4980 | 30033 | 3750 | 4570.118 | 12015.6 | 0 | 0 | 43.9232 | 1042.93 | 108.4207 | 177.62 | 29.7228 | 123.434 | 76.4797 | 137.36 | 510.7144 | 109.36 | 24.6343 | 0 | 341.266 | 0 | 1555.341 | 3.525 | 215002.768 | 196.208 | 3088 | 700 | 3206.7 | 900 | 952.22 | 1120 | 0 |  |  | 0 | 6416099.444 | 2589.1 | 3823.3932 | 594 | 234.1424 | 8.28 | 636.8211 | 82.28 | 1935.4566 | 330.0388 | 8910.383 | 4022.5288 | 1946.4 | 0 | 0 | 3832.7364 | 387 | 299.2389 | 143.88 | 15964.81 | 0 | 17238.612 | 55.755 | 159.453 | 295 | 51872 | 0 | 51872 | 0 | 10004 | 104475 |  | 0 | #DIV/0! |  | 177.62 | 123.434 | 137.36 | 109.36 | 0 | 0 | 547.774 | ravindra | 7499054321 | bendy | 1042.93 | 547.774 | 8910.383 | 2194.8 | 0 | 0 | 975.26 | 1946.4 | 3793.923 | #REF! | #REF!
2025-03-07 | 27.7617 | 113.828 | 11153.365 | 36.147 | 0 | 0 | 132.1063 | 1310.13 | 4426.6776 | 38.8408 | 19999.479 | 116.773 | 3375.203 | 4414 | 56.8925 | 262.508 | 2121564.45 | 3804.373 | 2334.0484 | 2994.6 | 599.6316 | 1298.28 | 50.0243 | 15036 | 128.5315 | 355.92 | 109.5877 | 498.87 | 744743.965 | 410.785 | 3288555.227 | 602.939 | 1886.9874 | 3997 | 233.2422 | 922.62 | 653.0971 | 1816.04 | 348.4478 | 962.36 | 3967.042 | 0 | 276.305 | 1286.62 | 322.25 | 1106.04 | 200185.37 | 296.966 | 48867.02 | 102.991 | 1710.745 | 2293 | 637.0279 | 122.72 | 939.6664 | 164.48 | 16071 | 0 | 17552 | 5270 | 30408 | 3710 | 4582.1336 | 11037.2 | 0 | 0 | 44.9661 | 1127.818 | 108.5983 | 177.14 | 29.8463 | 124.122 | 76.6171 | 139.92 | 510.8238 | 110.52 | 24.6343 | 0 | 341.266 | 0 | 1558.866 | 4.706 | 215198.976 | 208.336 | 3088.7 | 700 | 3207.6 | 800 | 953.34 | 1220 | 0 |  |  | 0 | 6418688.544 | 2730.551 | 3823.9872 | 663.2 | 234.1507 | 9.08 | 636.9034 | 81.96 | 2265.4954 | 355.7462 | 9114.993 | 4024.4752 | 1955.6 | 0 | 0 | 3833.1234 | 378.6 | 299.3828 | 259.22 | 15964.81 | 0 | 17294.367 | 52.577 | 159.748 | 275 | 53211.2 | 0 | 53211.2 | 0 | 9878 | 265 |  | 0 | #DIV/0! |  | 177.14 | 124.122 | 139.92 | 110.52 | 0 | 0 | 551.702 | vikas | 7065108270 |  | 1127.818 | 551.702 | 9114.993 | 962.36 | 0 | 1286.62 | 1106.04 | 1955.6 | 3804.373 | #REF! | #REF!
2025-03-08 | 27.8755 | 86.098 | 11189.512 | 34.157 | 0 | 0 | 133.4164 | 1289.75 | 4465.5184 | 36.6868 | 20116.252 | 138.801 | 3379.617 | 4414 | 57.155 | 263.008 | 2125368.823 | 3776.684 | 2337.043 | 3070 | 600.9299 | 1250.32 | 50.0393 | 15260 | 128.8874 | 318.19 | 110.0866 | 491.09 | 745154.75 | 491.714 | 3289158.166 | 497.345 | 1890.9844 | 4227.2 | 234.1648 | 925.194 | 654.9131 | 1723.4 | 349.4101 | 1.12 | 3967.042 | 2 | 277.5916 | 1991.28 | 323.3561 | 1320.88 | 200482.336 | 238.452 | 48970.011 | 94.033 | 1713.038 | 2234 | 637.1506 | 92.8 | 939.8309 | 116.08 | 16071 | 250 | 18079 | 5000 | 30779 | 3690 | 4593.1708 | 9807.6 | 0 | 0 | 46.0939 | 1322.164 | 108.7754 | 177.16 | 29.9704 | 123.76 | 76.757 | 137.768 | 510.9343 | 110.84 | 24.6343 | 0.71 | 341.266 | 0 | 1563.572 | 6.042 | 215407.312 | 157.824 | 3089.4 | 800 | 3208.4 | 900 | 954.56 | 1220 | 0 |  |  | 0 | 6421419.095 | 2584.203 | 3824.6504 | 535.2 | 234.1597 | 9.26 | 636.9853 | 81.32 | 2621.2416 | 334.5616 | 9007.164 | 4026.4308 | 1915.2 | 0 | 0 | 3833.502 | 394.4 | 299.642 | 31.32 | 15964.81 | 0 | 17346.944 | 48.636 | 160.023 | 330 | 53030 | 0 | 53030 | 0 | 18946 | 948 |  | 0 | #DIV/0! |  | 177.16 | 123.76 | 137.768 | 110.84 | 0.71 | 0 | 550.238 | akash | 9557024108 |  | 1322.164 | 550.238 | 9007.164 | 1.12 | 2 | 1991.28 | 1320.88 | 1915.2 | 3776.684 | #REF! | #REF!
2025-03-09 | 27.9616 | 109.314 | 11223.669 | 28.11 | 0 | 0 | 134.7062 | 1294.7 | 4502.2052 | 37.2624 | 20255.053 | 112.631 | 3384.031 | 4370 | 57.418 | 303.296 | 2129145.507 | 3727.99 | 2340.113 | 1990.8 | 602.1802 | 1126.84 | 50.0546 | 13632 | 129.2056 | 291.51 | 110.5777 | 453.79 | 745646.464 | 259.383 | 3289655.511 | 354.271 | 1895.2116 | 3372.2 | 235.09 | 778.926 | 656.6365 | 1225.2 | 349.4112 | 210.52 | 3967.044 | 67.2 | 279.5829 | 1670.64 | 324.677 | 1267.72 | 200720.788 | 157.653 | 49064.044 | 161.553 | 1715.272 | 2012 | 637.2434 | 6.12 | 939.947 | 42.88 | 16096 | 3160 | 18579 | 5020 | 31148 | 3570 | 4602.9784 | 8788.4 | 0 | 0 | 47.4161 | 1221.272 | 108.9526 | 174.46 | 30.0941 | 123.424 | 76.8948 | 135.896 | 511.0451 | 102.92 | 24.635 | 0 | 341.266 | 0 | 1569.614 | 3.864 | 215565.136 | 171.664 | 3090.2 | 700 | 3209.3 | 800 | 955.78 | 1200 | 0 |  |  | 0 | 6424003.298 | 1615.961 | 3825.1856 | 515.6 | 234.169 | 480.8 | 637.0666 | 80.12 | 2955.8032 | 301.389 | 8571.27 | 4028.346 | 1627.2 | 0 | 0 | 3833.8964 | 232 | 299.6733 | 94.06 | 15964.81 | 729.6254 | 17395.58 | 31.97 | 160.353 | 419 | 33420 | 17901 | 51321 | 4485 | 14108 | 0 |  | 729.6254 | 3.9913 |  | 174.46 | 123.424 | 135.896 | 102.92 | 0 | 0 | 536.7 | haransh | 8650043053 |  | 1221.272 | 536.7 | 8571.27 | 210.52 | 67.2 | 1670.64 | 1267.72 | 1627.2 | 3727.99 | #REF! | #REF!
2025-03-10 | 28.0709 | 164.93 | 11251.779 | 45.736 | 0 | 0 | 136.0009 | 1307.62 | 4539.4676 | 36.46 | 20367.684 | 156.532 | 3388.401 | 4394 | 57.7213 | 428.42 | 2132873.497 | 3773.93 | 2342.1038 | 2916.2 | 603.3071 | 1401.84 | 50.0682 | 15452 | 129.4971 | 353.96 | 111.0315 | 498.43 | 745905.847 | 352.335 | 3290009.782 | 521.759 | 1898.5838 | 4505.2 | 235.8689 | 918.54 | 657.8617 | 1697.76 | 349.6218 | 175.12 | 3967.1112 | 136.8 | 281.2535 | 1743.56 | 325.9447 | 1257.18 | 200878.441 | 296.669 | 49225.597 | 147.866 | 1717.284 | 2269 | 637.2496 | 223.4 | 939.9898 | 104.08 | 16412 | 3750 | 19081 | 4790 | 31505 | 3710 | 4611.7668 | 10322 | 0 | 0 | 48.6373 | 1423.932 | 109.127 | 179.36 | 30.2176 | 123.158 | 77.0307 | 122.76 | 511.148 | 111.84 | 24.635 | 0.814 | 341.266 | 0 | 1573.478 | 1.941 | 215736.8 | 177.68 | 3090.9 | 700 | 3210.1 | 800 | 956.98 | 1180 | 0 |  |  | 0 | 6425619.259 | 2667.033 | 3825.7012 | 482.8 | 234.6498 | 10.3 | 637.1468 | 81.16 | 3257.1922 | 329.7598 | 9051.39 | 4029.9732 | 1964.8 | 0 | 0 | 3834.1284 | 485.2 | 299.7674 | 145.92 | 16213.32 | 0 | 17427.55 | 49.003 | 160.772 | 383 | 57205 | 0 | 57205 | 0 | 14000 | 0 |  | 0 | #DIV/0! |  | 179.36 | 123.158 | 122.76 | 111.84 | 0.814 | 0 | 537.932 | Name | contact no | work | 1423.932 | 537.932 | 9051.39 | 175.12 | 136.8 | 1743.56 | 1257.18 | 1964.8 | 3773.93 | #REF! | #REF!
2025-03-11 | 28.2359 | 138.588 | 11297.515 | 47.254 | 0 | 0 | 137.3085 | 1242.86 | 4575.9276 | 37.47 | 20524.216 | 186.723 | 3392.795 | 4297 | 58.1497 | 521.452 | 2136647.427 | 3737.038 | 2345.02 | 2501.4 | 604.7089 | 1333.8 | 50.0837 | 15460 | 129.8511 | 355.01 | 111.5299 | 483.5 | 746258.182 | 406.381 | 3290531.541 | 524.543 | 1903.089 | 4648.6 | 236.7875 | 937.46 | 659.5595 | 1757.12 | 349.7969 | 1914.84 | 3967.248 | 90.4 | 282.9971 | 339.64 | 327.2019 | 1087.82 | 201175.11 | 236.333 | 49373.463 | 126.515 | 1719.553 | 2216 | 637.473 | 240.52 | 940.0939 | 3.12 | 16787 | 4300 | 19560 | 3750 | 31876 | 3630 | 4622.0888 | 11914.8 | 0 | 0 | 50.0613 | 1559.74 | 109.3064 | 176.51 | 30.3407 | 122.796 | 77.1534 | 170.44 | 511.2599 | 49.68 | 24.6358 | 0 | 341.266 | 0 | 1575.419 | 2.734 | 215914.48 | 181.248 | 3091.6 | 700 | 3210.9 | 800 | 958.16 | 1160 | 0 |  |  | 0 | 6428286.292 | 2905.349 | 3826.184 | 708 | 234.6601 | 79.48 | 637.2279 | 79.8 | 3586.952 | 329.554 | 9102.938 | 4031.938 | 1933.2 | 0 | 0 | 3834.6136 | 525.9 | 299.9133 | 163.34 | 16213.32 | 0.2936 | 17476.553 | 41.52 | 161.155 | 397 | 56610 | 0 | 56610 | 0 | 13744 | 7947 |  | 0.2936 | #DIV/0! |  | 176.51 | 122.796 | 170.44 | 49.68 | 0 | 0 | 519.426 | Jivan chandel | 9805973808 | diesel dip check | 1559.74 | 519.426 | 9102.938 | 1914.84 | 90.4 | 339.64 | 1087.82 | 1933.2 | 3737.038 | #REF! | #REF!
2025-03-12 | 28.3744 | 162.686 | 11344.769 | 39.142 | 0 | 0 | 138.5513 | 1259.66 | 4613.3976 | 36.0396 | 20710.939 | 187.186 | 3397.092 | 4343 | 58.6712 | 565.456 | 2140384.465 | 3719.866 | 2347.5214 | 3651.4 | 606.0427 | 1417.16 | 50.0991 | 15220 | 130.2061 | 324.41 | 112.0134 | 478.5 | 746664.563 | 383.024 | 3291056.084 | 499.908 | 1907.7376 | 4468.6 | 237.7249 | 919.46 | 661.3166 | 1679.12 | 351.7117 | 2140.12 | 3967.3384 | 7.6 | 283.3367 | 795.48 | 328.2897 | 921.72 | 201411.443 | 238.965 | 49499.978 | 173.208 | 1721.769 | 2173 | 637.7135 | 68.36 | 940.097 | 72.72 | 17217 | 4070 | 19935 | 3950 | 32239 | 3600 | 4634.0036 | 11946.4 | 0 | 0 | 51.621 | 1519.348 | 109.4829 | 178.27 | 30.4635 | 120.896 | 77.3239 | 175.8 | 511.3096 | 35.96 | 24.6358 | 0.034 | 341.266 | 0 | 1578.153 | 2.941 | 216095.728 | 173.712 | 3092.3 | 700 | 3211.7 | 700 | 959.32 | 1130 | 0 |  |  | 0 | 6431191.641 | 2865.009 | 3826.892 | 754.4 | 234.7396 | 718.46 | 637.3077 | 78.28 | 3916.506 | 326.2176 | 9533.986 | 4033.8712 | 1949.2 | 0 | 0 | 3835.1395 | 590.9 | 300.0766 | 146.38 | 16213.42 | 143.4236 | 17518.073 | 48.814 | 161.552 | 453 | 29716 | 28720 | 58436 | 6774 | 6556 | 1350 |  | 143.4236 | 4.2397 |  | 178.27 | 120.896 | 175.8 | 35.96 | 0.034 | 0 | 510.96 | rakesh | 8209029388 | diesel dip check | 1519.348 | 510.96 | 9533.986 | 2140.12 | 7.6 | 795.48 | 921.72 | 1949.2 | 3719.866 | #REF! | #REF!
2025-03-13 | 28.5371 | 85.194 | 11383.911 | 32.798 | 0 | 0 | 139.811 | 715.43 | 4649.4372 | 29.0236 | 20898.125 | 174.568 | 3401.435 | 2774 | 59.2366 | 463.808 | 2144104.331 | 3747.985 | 2351.1728 | 3502.8 | 607.4599 | 1108.72 | 50.1143 | 12418 | 130.5305 | 269.25 | 112.4919 | 392.18 | 747047.587 | 249.786 | 3291555.992 | 394.792 | 1912.2062 | 4181.6 | 238.6444 | 760.6 | 662.9957 | 1429.76 | 353.8518 | 485.36 | 3967.346 | 2.8 | 284.1322 | 1259.86 | 329.2114 | 811.94 | 201650.408 | 138.005 | 49673.186 | 114.385 | 1723.942 | 1865 | 637.7818 | 0 | 940.1698 | 168.4 | 17624 | 4100 | 20330 | 3380 | 32599 | 3320 | 4645.95 | 9319.6 | 0 | 0 | 53.1404 | 1499.548 | 109.6612 | 179.9 | 30.5844 | 122.472 | 77.4997 | 179.592 | 511.3455 | 5.96 | 24.6358 | 0 | 341.266 | 0 | 1581.094 | 4.853 | 216269.44 | 197.536 | 3093 | 100 | 3212.4 | 0 | 960.45 | 220 | 0 |  |  | 0 | 6434056.65 | 2603.989 | 3827.6464 | 777.1 | 235.458 | 198.8 | 637.386 | 82.84 | 4242.7236 | 312.9092 | 8390.745 | 4035.8204 | 2082.8 | 0 | 0 | 3835.7304 | 395.2 | 300.223 | 143.1 | 16262.27 | 90.3407 | 17566.887 | 41.783 | 162.005 | 383 | 42424.8 | 7432 | 49856.8 | 2100 | 17083 | 3880 |  | 90.3407 | 3.539 |  | 179.9 | 122.472 | 179.592 | 5.96 | 0 | 0 | 487.924 | umesh | 9310062369 | diesel dip check | 1499.548 | 487.924 | 8390.745 | 485.36 | 2.8 | 1259.86 | 811.94 | 2082.8 | 3747.985 | #REF! | #REF!
2025-03-14 | 28.6223 | 49.41 | 11416.709 | 11.839 | 0 | 0 | 140.5264 | 493.73 | 4678.4608 | 19.2512 | 21072.693 | 152.134 | 3404.209 | 2384 | 59.7004 | 363.4 | 2147852.316 | 1939.282 | 2354.6756 | 2415.4 | 608.5686 | 587.84 | 50.1268 | 7066 | 130.7998 | 102.28 | 112.8841 | 138.57 | 747297.373 | 87.782 | 3291950.784 | 168.321 | 1916.3878 | 1065 | 239.405 | 448.16 | 664.4255 | 626.52 | 354.3372 | 180 | 3967.3488 | 16.8 | 285.3921 | 73.24 | 330.0233 | 196.26 | 201788.413 | 41.87 | 49787.571 | 29.578 | 1725.807 | 1432 | 637.7818 | 487.2 | 940.3382 | 47.36 | 18034 | 3230 | 20668 | 2100 | 32931 | 2890 | 4655.2696 | 4465.6 | 0 | 0 | 54.6399 | 129.524 | 109.8411 | 61.72 | 30.7069 | 55.462 | 77.6793 | 294.344 | 511.3515 | 76.56 | 24.6358 | 103.42 | 341.266 | 0 | 1585.947 | 0.661 | 216466.976 | 140.576 | 3093.1 | 100 | 3212.4 | 300 | 960.67 | 230 | 0 |  |  | 0 | 6436660.639 | 676.492 | 3828.4235 | 52.1 | 235.6568 | 4.14 | 637.4688 | 79.56 | 4555.6328 | 244.4792 | 3565.982 | 4037.9032 | 1160.4 | 0 | 0 | 3836.1256 | 199.2 | 300.3661 | 58.56 | 16293.04 | 0 | 17608.67 | 13.108 | 162.388 | 235 | 28365 | 0 | 28365 | 0 | 160208 | 0 |  | 0 | #DIV/0! |  | 61.72 | 55.462 | 294.344 | 76.56 | 103.42 | 0 | 591.506 | krishna store |  | diesel dip check | 129.524 | 591.506 | 3565.982 | 180 | 16.8 | 73.24 | 196.26 | 1160.4 | 1939.282 | #REF! | #REF!
2025-03-15 | 28.6717 | 92.864 | 11428.548 | 23.637 | 0 | 0 | 141.0202 | 1031.8 | 4697.712 | 34.1776 | 21224.827 | 174.189 | 3406.593 | 3991 | 60.0638 | 424.28 | 2149791.598 | 3737.106 | 2357.091 | 3358.4 | 609.1564 | 961.32 | 50.1338 | 13624 | 130.902 | 289.83 | 113.0226 | 408.46 | 747385.155 | 424.335 | 3292119.105 | 474.693 | 1917.4528 | 4211.8 | 239.8531 | 766.88 | 665.052 | 1435.4 | 354.5172 | 341.12 | 3967.3656 | 3.2 | 285.4653 | 747.88 | 330.2196 | 1115.4 | 201830.283 | 77.421 | 49817.149 | 159.565 | 1727.239 | 1960 | 638.269 | 486.76 | 940.3855 | 51.76 | 18357 | 4180 | 20878 | 1700 | 33220 | 3360 | 4659.7352 | 9302 | 0 | 0 | 54.7694 | 1484.516 | 109.9028 | 92.71 | 30.7624 | 58.64 | 77.9736 | 248.976 | 511.428 | 79.2 | 24.7392 | 57.348 | 341.266 | 0 | 1586.608 | 3.294 | 216607.552 | 183.44 | 3093.2 | 300 | 3212.7 | 500 | 960.9 | 1140 | 0 |  |  | 0 | 6437337.131 | 2385.636 | 3828.4756 | 376.8 | 235.661 | 4.06 | 637.5484 | 79.56 | 4800.112 | 315.1264 | 8071.906 | 4039.0636 | 2127.2 | 0 | 0 | 3836.3248 | 519.2 | 300.4247 | 154.72 | 16293.04 | 0 | 17621.778 | 42.544 | 162.623 | 416 | 48735 | 0 | 48735 | 0 | 16208 | 794 |  | 0 | #REF! |  | 92.71 | 58.64 | 248.976 | 79.2 | 341.266 | 0 | 820.792 |  |  |  | 1484.516 | 820.792 | 8071.906 | 341.12 | 3.2 | 747.88 | 1115.4 | 2127.2 | 3737.106 | #REF! | #REF!
2025-03-16 | 28.7646 | 51.03 | 11452.185 | 26.431 | 0 | 0 | 142.052 | 805.42 | 4731.8896 | 35.8388 | 21399.016 | 159.889 | 3410.584 | 3800 | 60.4881 | 450.764 | 2153528.704 | 3690.217 | 2360.4494 | 2891.4 | 610.1178 | 1550.24 | 50.1475 | 12416 | 131.1919 | 258.47 | 113.4311 | 390.66 | 747809.49 | 219.457 | 3292593.798 | 423.37 | 1921.6646 | 3469.4 | 240.62 | 617.23 | 666.4874 | 1325.85 | 354.8583 | 282.96 | 3967.3688 | 77.2 | 286.2132 | 646.84 | 331.335 | 1201.48 | 201907.704 | 90.635 | 49976.714 | 195.529 | 1729.199 | 1928 | 638.7558 | 251.152 | 940.4373 | 3.12 | 18775 | 4360 | 21048 | 3020 | 33556 | 3540 | 4669.0372 | 8811.2 | 0 | 0 | 56.254 | 1567.084 | 109.9955 | 5.76 | 30.821 | 4.712 | 78.2226 | 259.48 | 511.5072 | 81.56 | 24.7966 | 0.798 | 341.266 | 0 | 1589.902 | 4.681 | 216790.992 | 205.712 | 3093.5 | 200 | 3213.2 | 300 | 962.04 | 1150 | 0 |  |  | 0 | 6439722.767 | 1578.758 | 3828.8524 | 510 | 235.665 | 10.6 | 637.628 | 78.64 | 5115.2384 | 311.4623 | 7845.897 | 4041.1908 | 1947.2 | 0 | 0 | 3836.844 | 920 | 300.5794 | 54.42 | 16293.04 | 0 | 17664.322 | 35.724 | 163.039 | 381 | 46503 | 0 | 46503 | 0 | 16208 | 4529 |  | 0 | #DIV/0! |  | 5.76 | 4.712 | 259.48 | 81.56 | 0.798 | 0 | 352.31 | tana |  | bvg head | 1567.084 | 352.31 | 7845.897 | 282.96 | 77.2 | 646.84 | 1201.48 | 1947.2 | 3690.217 | #REF! | #REF!
2025-03-17 | 28.8156 | 109.892 | 11478.616 | 40.435 | 0 | 0 | 142.8574 | 978.79 | 4767.7284 | 38.1108 | 21558.905 | 148.499 | 3414.384 | 3914 | 60.9389 | 466.348 | 2157218.921 | 3814.713 | 2363.3408 | 3124.2 | 611.668 | 832.16 | 50.1599 | 14624 | 131.4503 | 334.71 | 113.8217 | 477.82 | 748028.947 | 424.163 | 3293017.168 | 559.065 | 1925.134 | 4424.4 | 241.2372 | 985.41 | 667.8133 | 1892.91 | 355.1413 | 137.08 | 3967.446 | 0 | 286.86 | 1685.64 | 332.5365 | 1310.24 | 201998.339 | 155.455 | 50172.243 | 91.656 | 1731.127 | 2146 | 639.007 | 471.528 | 940.4404 | 7.83 | 19211 | 4390 | 21350 | 3570 | 33910 | 3640 | 4677.8484 | 10942 | 0 | 0 | 57.821 | 1441.72 | 110.0013 | 53.8 | 30.8257 | 151.118 | 78.4821 | 252.016 | 511.5888 | 79.36 | 24.7974 | 5.928 | 341.266 | 0 | 1594.583 | 5.864 | 216996.704 | 148.785 | 3093.7 | 300 | 3213.5 | 200 | 963.19 | 1150 | 0 |  |  | 0 | 6441301.525 | 2834.364 | 3829.3624 | 682 | 235.6756 | 5.76 | 637.7066 | 78.05 | 5426.7007 | 332.8929 | 9075.673 | 4043.138 | 2128 | 0 | 0 | 3837.764 | 62 | 300.6338 | 31.64 | 16293.04 | 0 | 17700.046 | 39.453 | 163.42 | 369 | 55938 | 0 | 55938 | 0 | 15870 | 25893 |  | 0 | #DIV/0! |  | 53.8 | 151.118 | 252.016 | 79.36 | 5.928 | 0 | 542.222 |  |  |  | 1441.72 | 542.222 | 9075.673 | 137.08 | 0 | 1685.64 | 1310.24 | 2128 | 3814.713 | #REF! | #REF!
2025-03-18 | 28.9255 | 82.374 | 11519.051 | 31.619 | 0 | 0 | 143.8362 | 1063.56 | 4805.8392 | 37.462 | 21707.404 | 156.111 | 3418.298 | 4110 | 61.4052 | 474.344 | 2161033.634 | 3750.568 | 2366.465 | 3149 | 612.5002 | 1330.32 | 50.1745 | 15172 | 131.7851 | 327 | 114.2996 | 481.69 | 748453.11 | 603.345 | 3293576.233 | 668.388 | 1929.5584 | 4412.4 | 242.2227 | 956.32 | 669.7062 | 1926.08 | 355.2784 | 530.52 | 3967.446 | 0 | 288.5457 | 1393.32 | 333.8467 | 1271.96 | 202153.794 | 93.892 | 50263.899 | 84.313 | 1733.273 | 2185 | 639.4785 | 462.636 | 940.4482 | 0.61 | 19650 | 4450 | 21707 | 3960 | 34274 | 3720 | 4688.7904 | 11574 | 0 | 0 | 59.2628 | 1014.776 | 110.0551 | 179.82 | 30.9768 | 0 | 78.7341 | 234.176 | 511.6682 | 10.12 | 24.8033 | 0 | 341.266 | 0 | 1600.447 | 8.47 | 217145.489 | 198.335 | 3094 | 400 | 3213.7 | 500 | 964.34 | 1130 | 0 |  |  | 0 | 6444135.889 | 2749.092 | 3830.0444 | 605.2 | 235.6814 | 2.88 | 637.7847 | 76.81 | 5759.5936 | 316.9464 | 9074.168 | 4045.266 | 2127.8 | 0 | 0 | 3837.826 | 344.4 | 300.6655 | 361 | 16293.04 | 0 | 17739.499 | 44.72 | 163.789 | 395 | 58197 | 0 | 58197 | 0 | 15870 | 1119 |  | 0 | #DIV/0! |  | 179.82 | 0 | 234.176 | 10.12 | 0 | 0 | 424.116 |  |  |  | 1014.776 | 424.116 | 9074.168 | 530.52 | 0 | 1393.32 | 1271.96 | 2127.8 | 3750.568 | #REF! | #REF!
2025-03-19 | 29.0079 | 82.414 | 11550.67 | 31.1 | 0 | 0 | 144.8997 | 1095.75 | 4843.3012 | 36.396 | 21863.515 | 174.62 | 3422.408 | 3541 | 61.8796 | 466.676 | 2164784.202 | 3672.54 | 2369.614 | 4457.2 | 613.8305 | 1509.92 | 50.1897 | 14604 | 131.9117 | 365 | 114.7813 | 472.24 | 749056.455 | 557.967 | 3294244.621 | 630.381 | 1933.9708 | 4608.6 | 243.179 | 971.28 | 671.6322 | 2085.36 | 355.8089 | 1761.08 | 3967.446 | 18.8 | 289.939 | 394.08 | 335.1187 | 1246.88 | 202247.686 | 104.611 | 50348.212 | 115.239 | 1735.458 | 2221 | 639.9411 | 416.844 | 940.4488 | 43.32 | 20095 | 3530 | 22103 | 4940 | 34646 | 3620 | 4700.3644 | 12836.8 | 0 | 0 | 60.2775 | 1902.844 | 110.2349 | 183.36 | 30.9768 | 495.804 | 78.9682 | 293.312 | 511.6783 | 202.48 | 24.8033 | 64.038 | 341.266 | 0 | 1608.917 | 4.127 | 217343.824 | 151.328 | 3094.4 | 300 | 3214.2 | 600 | 965.47 | 690 | 0 |  |  | 0 | 6446884.981 | 2624.566 | 3830.6496 | 579.6 | 235.6843 | 2.04 | 637.8615 | 76.54 | 6076.54 | 428.5812 | 9143.58 | 4047.3938 | 2050.2 | 0 | 0 | 3838.1704 | 607.6 | 301.0265 | 155.06 | 16293.04 | 0 | 17784.219 | 55.031 | 164.184 | 389 | 59029 | 0 | 59029 | 0 | 15870 | 600384 |  | 0 | #DIV/0! |  | 183.36 | 495.804 | 293.312 | 202.48 | 64.038 | 0 | 1238.994 |  |  |  | 1902.844 | 1238.994 | 9143.58 | 1761.08 | 18.8 | 394.08 | 1246.88 | 2050.2 | 3672.54 | #REF! | #REF!
2025-03-20 | 29.0903 | 114.654 | 11581.77 | 32.947 | 0 | 0 | 145.9955 | 1276.23 | 4879.6972 | 35.2164 | 22038.135 | 180.814 | 3425.949 | 4462 | 62.3462 | 477.832 | 2168456.742 | 3744.092 | 2374.0712 | 4761.4 | 615.3404 | 1626.64 | 50.2043 | 15892 | 298.579 | 306.8988 | 115.2535 | 506.2 | 749614.422 | 590.903 | 3294875.002 | 651.006 | 1938.5794 | 4494.2 | 244.1503 | 1151.7 | 673.7176 | 1863.44 | 357.57 | 2198.32 | 3967.4648 | 0 | 290.3331 | 552.46 | 336.3656 | 1284.72 | 202352.297 | 180.878 | 50463.451 | 92.555 | 1737.679 | 2327 | 640.358 | 151.4 | 940.4922 | 10.5 | 20448 | 1980 | 22597 | 5100 | 35008 | 3770 | 4713.2012 | 13706.4 | 0 | 0 | 62.1804 | 1561.02 | 110.4183 | 182.97 | 31.4726 | 247.764 | 79.2616 | 543.328 | 511.8808 | 219.04 | 24.8674 | 114.562 | 341.266 | 0 | 1613.044 | 4.739 | 217495.152 | 73.68 | 3094.7 | 700 | 3214.8 | 800 | 966.16 | 1200 | 0 |  |  | 0 | 6449509.547 | 2806.045 | 3831.2292 | 584.4 | 235.6863 | 6.02 | 637.938 | 79.28 | 6505.1212 | 400.4524 | 9872.792 | 4049.444 | 2093.2 | 0 | 0 | 3838.778 | 549.2 | 301.1815 | 157.54 | 16293.04 | 0 | 17839.25 | 54.78 | 164.573 | 388 | 60480 | 0 | 60480 | 0 | 15870 | 27570 |  | 0 | #DIV/0! |  | 182.97 | 247.764 | 543.328 | 219.04 | 114.562 | 0 | 1307.664 |  |  |  | 1561.02 | 1307.664 | 9872.792 | 2198.32 | 0 | 552.46 | 1284.72 | 2093.2 | 3744.092 | #REF! | #REF!
2025-03-21 | 29.205 | 128.804 | 11614.717 | 40.176 | 0 | 0 | 147.2717 | 1310.22 | 4914.9136 | 35.5044 | 22218.949 | 191.191 | 3430.411 | 4430 | 62.8241 | 493.272 | 2172200.834 | 3668.125 | 2378.8326 | 4873.2 | 616.967 | 1698 | 50.2202 | 15792 | 605.4778 | 359.0379 | 115.7597 | 492.84 | 750205.325 | 584.73 | 3295526.008 | 709.955 | 1943.0736 | 4574.8 | 245.302 | 1368.38 | 675.581 | 1989.68 | 359.7683 | 2159.64 | 3967.4648 | 282.04 | 290.8855 | 694.2 | 337.6503 | 1196.52 | 202533.175 | 228.323 | 50556.006 | 87.776 | 1740.006 | 2296 | 640.5094 | 446.76 | 940.5027 | 112.56 | 20646 | 380 | 23107 | 4840 | 35385 | 3690 | 4726.9076 | 13946.8 | 0 | 0 | 63.7414 | 1519.968 | 110.6012 | 177.71 | 31.7204 | 244.248 | 79.8049 | 600.2 | 512.0998 | 243.52 | 24.9819 | 43.652 | 341.266 | 0 | 1617.783 | 3.475 | 217568.832 | 82.032 | 3095.4 | 700 | 3215.6 | 700 | 967.36 | 1160 | 0 |  |  | 0 | 6452315.592 | 2847.814 | 3831.8136 | 631.6 | 235.6923 | 2.28 | 638.0173 | 76.56 | 6905.5736 | 417.2928 | 10086.925 | 4051.5372 | 2086.4 | 0 | 0 | 3839.3272 | 554 | 301.3391 | 137.8 | 16293.04 | 0 | 17894.03 | 51.48 | 164.961 | 394 | 59183 | 0 | 59183 | 0 | 15870 | 11705 |  | 0 | #DIV/0! |  | 177.71 | 244.248 | 600.2 | 243.52 | 43.652 | 0 | 1309.33 |  |  |  | 1519.968 | 1309.33 | 10086.925 | 2159.64 | 282.04 | 694.2 | 1196.52 | 2086.4 | 3668.125 | #REF! | #REF!
2025-03-22 | 29.3338 | 130.718 | 11654.893 | 33.278 | 0 | 0 | 148.5819 | 1328.18 | 4950.418 | 37.59 | 22410.14 | 200.4 | 3434.841 | 4477 | 63.3173 | 482.988 | 2175868.959 | 3717.796 | 2383.7058 | 4489.8 | 618.665 | 1606.4 | 50.236 | 15980 | 964.5157 | 797.2461 | 116.2525 | 508.04 | 750790.055 | 600.868 | 3296235.963 | 676.215 | 1947.6484 | 4522.2 | 246.6703 | 1430.4 | 677.5707 | 1530.02 | 361.9279 | 2194.64 | 3967.7468 | 0 | 291.5797 | 716.24 | 338.8468 | 1294.68 | 202761.498 | 232.719 | 50643.782 | 90.445 | 1742.302 | 4374 | 640.9561 | 61.72 | 940.6152 | 20.7 | 20684 | 0 | 23591 | 5070 | 35754 | 3700 | 4740.8544 | 14017.2 | 0 | 0 | 65.2614 | 1504.652 | 110.7789 | 52.88 | 31.9646 | 244.944 | 80.4051 | 607.824 | 512.3433 | 252.44 | 25.0256 | 69.794 | 341.266 | 0 | 1621.258 | 8.248 | 217650.864 | 136.032 | 3096.1 | 700 | 3216.3 | 900 | 968.52 | 1190 | 0 |  |  | 0 | 6455163.406 | 3034.247 | 3832.4452 | 778 | 235.6946 | 3.18 | 638.0938 | 77.12 | 7322.8664 | 371.092 | 9970.556 | 4053.6236 | 2047.2 | 0 | 0 | 3839.8812 | 498.8 | 301.4769 | 130.46 | 16293.04 | 0 | 17945.51 | 53.632 | 165.355 | 340 | 59096 | 0 | 59096 | 0 | 15756 | 169541 |  | 0 | #DIV/0! |  | 52.88 | 244.944 | 607.824 | 252.44 | 69.794 | 0 | 1227.882 |  |  |  | 1504.652 | 1227.882 | 9970.556 | 2194.64 | 0 | 716.24 | 1294.68 | 2047.2 | 3717.796 | #REF! | #REF!
2025-03-23 | 29.4645 | 47.884 | 11688.171 | 29.671 | 0 | 0 | 149.9101 | 1373.84 | 4988.008 | 38.6552 | 22610.54 | 203.209 | 3439.318 | 4460 | 63.8003 | 458.1724 | 2179586.755 | 3203.521 | 2388.1956 | 4622.6 | 620.2714 | 1563.08 | 50.2519 | 14712 | 1761.7618 | 402.7694 | 116.7606 | 454.37 | 751390.923 | 381.927 | 3296912.178 | 497.106 | 1952.1706 | 3911 | 248.1007 | 959.3 | 679.1007 | 2043.9 | 364.1226 | 1902.72 | 3967.7468 | 230.36 | 292.296 | 520.26 | 340.1415 | 1026.6 | 202994.217 | 187.086 | 50734.227 | 164.263 | 1746.676 | 197 | 641.0178 | 84.6 | 940.6359 | 3.04 | 20684 | 0 | 24098 | 5060 | 36124 | 3760 | 4754.8716 | 12121 | 0 | 0 | 66.766 | 1439.292 | 110.8318 | 0 | 32.2096 | 152.856 | 81.0129 | 581.14 | 512.5958 | 230.84 | 25.0954 | 70 | 341.266 | 0 | 1629.506 | 3.838 | 217786.896 | 103.52 | 3096.8 | 800 | 3217.2 | 900 | 969.71 | 1210 | 0 |  |  | 0 | 6458197.653 | 1908.621 | 3833.2232 | 573.2 | 235.6978 | 421.36 | 638.171 | 77.08 | 7693.9584 | 312.3592 | 8869.461 | 4055.6708 | 1986 | 0 | 0 | 3840.38 | 293.2 | 301.6073 | 90.48 | 16293.04 | 440.2826 | 17999.142 | 41.227 | 165.695 | 390 | 38794 | 14884 | 53678 | 3826 | 12015 | 700 |  | 440.2826 | 3.8902 |  | 0 | 152.856 | 581.14 | 230.84 | 70 | 0 | 1034.836 |  |  |  | 1439.292 | 1034.836 | 8869.461 | 1902.72 | 230.36 | 520.26 | 1026.6 | 1986 | 3203.521 | #REF! | #REF!
2025-03-24 | 29.5124 | 294.56 | 11717.842 | 53.055 | 0 | 0 | 151.2839 | 1371.68 | 5026.6632 | 38.6176 | 22813.749 | 231.726 | 3443.778 | 4478 | 64.2585 | 481.0976 | 2182790.276 | 3744.775 | 2392.8182 | 4799.8 | 621.8345 | 1733.8 | 50.2666 | 16312 | 2164.5312 | 590.0289 | 117.215 | 468.88 | 751772.85 | 597.386 | 3297409.284 | 735.158 | 1956.0816 | 4853.8 | 249.06 | 1416.76 | 681.1446 | 2014.32 | 366.0253 | 2188.08 | 3967.9772 | 136.4 | 292.8162 | 0.1 | 341.1681 | 1256.28 | 203181.303 | 294.337 | 50898.49 | 136.283 | 1746.873 | 2346 | 641.1024 | 150.4 | 940.639 | 3.12 | 20684 | 0 | 24604 | 5000 | 36500 | 3760 | 4766.9926 | 14611.4 | 0 | 0 | 68.2053 | 1610.584 | 110.8318 | 0 | 32.3624 | 163.4 | 81.5941 | 608.684 | 512.8266 | 277.96 | 25.1654 | 52.42 | 341.266 | 0 | 1633.344 | 6.838 | 217890.416 | 70.464 | 3097.6 | 700 | 3218.1 | 800 | 970.92 | 1200 | 0 |  |  | 0 | 6460106.274 | 2939.59 | 3833.7964 | 672.8 | 236.1192 | 43.46 | 638.248 | 76.44 | 8006.3176 | 406.5552 | 9442.035 | 4057.6568 | 2116.4 | 0 | 0 | 3840.6732 | 602 | 301.6978 | 136.42 | 16443 | 41.104 | 18040.369 | 67.297 | 166.085 | 444 | 56875 | 1245 | 58120 | 322 | 11514 | 328 |  | 41.104 | 3.8665 |  | 0 | 163.4 | 608.684 | 277.96 | 52.42 | 0 | 1102.464 |  |  |  | 1610.584 | 1102.464 | 9442.035 | 2188.08 | 136.4 | 0.1 | 1256.28 | 2116.4 | 3744.775 | #REF! | #REF!
2025-03-25 | 29.8069 | 157.172 | 11770.897 | 45.94 | 0 | 0 | 152.6556 | 1306.56 | 5065.2808 | 36.3416 | 23045.475 | 237.642 | 3448.256 | 4322 | 64.7396 | 440.226 | 2186535.051 | 3695.154 | 2397.618 | 4674.4 | 623.5683 | 1701.44 | 50.283 | 16396 | 2754.5601 | 269.5027 | 117.6838 | 476.81 | 752370.236 | 600.054 | 3298144.442 | 671.914 | 1960.9354 | 4963.2 | 250.4768 | 1277 | 683.159 | 2020.64 | 368.2134 | 2162.48 | 3968.1136 | 11.6 | 292.8163 | -0.1 | 342.4244 | 1296.48 | 203475.64 | 312.824 | 51034.773 | 70.647 | 1749.219 | 2405 | 641.2528 | 81.64 | 940.6421 | 38.48 | 20684 | 0 | 25104 | 4820 | 36876 | 3640 | 4781.604 | 13515.6 | 0 | 0 | 69.8159 | 1617.332 | 110.8318 | 0 | 32.5258 | 243.32 | 82.2027 | 591.792 | 513.1046 | 251.68 | 25.2178 | 68.5 | 341.266 | 0 | 1640.182 | 6.876 | 217960.88 | 140.992 | 3098.3 | 800 | 3218.9 | 800 | 972.12 | 1150 | 0 |  |  | 0 | 6463045.864 | 3108.543 | 3834.4692 | 1050.4 | 236.1626 | 5.82 | 638.3245 | 76.2 | 8412.8728 | 404.98 | 9274.414 | 4059.7732 | 2108.8 | 0 | 0 | 3841.2752 | 660.4 | 301.8342 | 180.92 | 16457 | 1.7616 | 18107.666 | 49.454 | 166.529 | 473 | 58818 | 0 | 58818 | 0 | 11514 | 18153 |  | 1.7616 | #DIV/0! |  | 0 | 243.32 | 591.792 | 251.68 | 68.5 | 0 | 1155.292 |  |  |  | 1617.332 | 1155.292 | 9274.414 | 2162.48 | 11.6 | -0.1 | 1296.48 | 2108.8 | 3695.154 | #REF! | #REF!
2025-03-26 | 29.9641 | 124.224 | 11816.837 | 32.982 | 0 | 0 | 153.9622 | 1322.79 | 5101.6224 | 36.3536 | 23283.117 | 247.942 | 3452.578 | 4392 | 65.1798 | 501.72 | 2190230.205 | 3680.07 | 2402.2924 | 5601.2 | 625.2698 | 1698.44 | 50.2994 | 16560 | 3024.0628 | 307.1832 | 118.1606 | 510.69 | 752970.29 | 586.129 | 3298816.356 | 691.7 | 1965.8986 | 5074.6 | 251.7538 | 1456.46 | 685.1796 | 1993.92 | 370.3758 | 2145.24 | 3968.1252 | 0 | 292.8162 | 0 | 343.7208 | 1286.72 | 203788.464 | 186.064 | 51105.42 | 135.684 | 1751.624 | 2420 | 641.3345 | 5.76 | 940.6806 | 98.64 | 20684 | 0 | 25586 | 4880 | 37240 | 3750 | 4795.1196 | 14066.8 | 0 | 0 | 71.4332 | 1740.644 | 110.8318 | 0.05 | 32.7692 | 240.398 | 82.7945 | 1093.168 | 513.3562 | 303.52 | 25.2863 | 211.786 | 341.266 | 0 | 1647.058 | 4.797 | 218101.872 | 76.912 | 3099.1 | 700 | 3219.7 | 900 | 973.27 | 1160 | 0 |  |  | 0 | 6466154.407 | 3837.53 | 3835.5196 | 1430.8 | 236.1684 | 8.04 | 638.4007 | 82.04 | 8817.8528 | 426.272 | 9219.63 | 4061.882 | 2107.6 | 0 | 0 | 3841.9356 | 704.8 | 302.0151 | 143.04 | 16457.6 | 0 | 18157.12 | 55.9 | 167.002 | 357 | 60814 | 0 | 60814 | 0 | 11514 | 101650 |  | 0 | #DIV/0! |  | 0.05 | 240.398 | 1093.168 | 303.52 | 211.786 | 0 | 1848.922 |  |  |  | 1740.644 | 1848.922 | 9219.63 | 2145.24 | 0 | 0 | 1286.72 | 2107.6 | 3680.07 | #REF! | #REF!
2025-03-27 | 30.0883 | 156.526 | 11849.819 | 28.645 | 0 | 0 | 155.285 | 1382.28 | 5137.976 | 36.2688 | 23531.059 | 250.293 | 3456.97 | 4461 | 65.6815 | 497.3 | 2193910.275 | 3729.603 | 2407.8936 | 5700.6 | 626.9682 | 1888.2 | 50.3159 | 16740 | 3331.246 | 501.1748 | 118.6713 | 496.44 | 753556.419 | 477.466 | 3299508.056 | 721.294 | 1970.9732 | 5243.4 | 253.2103 | 1394.5 | 687.1735 | 2128.64 | 372.5211 | 2182.52 | 3968.1252 | 18.4 | 292.8162 | 0 | 345.0076 | 1309.57 | 203974.528 | 276.527 | 51241.104 | 106.116 | 1754.044 | 2367 | 641.3402 | 53.52 | 940.7792 | 37.6 | 20684 | 0 | 26074 | 5030 | 37615 | 3660 | 4809.1864 | 14403.6 | 0 | 0 | 73.1739 | 1706.569 | 110.8319 | 135.44 | 33.0096 | 253.964 | 83.8877 | 767.56 | 513.6598 | 318.32 | 25.4981 | 250.243 | 341.266 | 0 | 1651.855 | 9.255 | 218178.784 | 144.96 | 3099.8 | 700 | 3220.6 | 800 | 974.43 | 1190 | 0 |  |  | 0 | 6469991.937 | 3523.4 | 3836.9504 | 1034.4 | 236.1765 | 8.74 | 638.4827 | 13.28 | 9244.1248 | 375.4688 | 9324.093 | 4063.9896 | 2084 | 0 | 0 | 3842.6404 | 831.2 | 302.1582 | 158.48 | 16457.6 | 0 | 18213.02 | 49.686 | 167.359 | 574 | 61196.8 | 0 | 61196.8 | 0 | 508 | 4533 |  | 0 | #DIV/0! |  | 135.44 | 253.964 | 767.56 | 318.32 | 250.243 | 0 | 1725.527 |  |  |  | 1706.569 | 1725.527 | 9324.093 | 2182.52 | 18.4 | 0 | 1309.57 | 2084 | 3729.603 | #REF! | #REF!
2025-03-28 | 30.2448 | 84.964 | 11878.464 | 24.135 | 0 | 0 | 156.6672 | 1380.28 | 5174.2448 | 36.4656 | 23781.352 | 249.522 | 3461.431 | 4460 | 66.1788 | 490.056 | 2197639.878 | 3730.562 | 2413.5942 | 5971.8 | 628.8564 | 1743.24 | 50.3327 | 16040 | 3832.4208 | 301.9152 | 119.1678 | 491.15 | 754033.885 | 497.48 | 3300229.35 | 695.052 | 1976.2166 | 4616.8 | 254.6048 | 1155.28 | 689.3022 | 2016.96 | 374.7036 | 2185.6 | 3968.1436 | 8.8 | 292.8162 | 0 | 346.3171 | 1322.07 | 204251.055 | 123.236 | 51347.22 | 118.425 | 1756.411 | 2374 | 641.3938 | 2.76 | 940.8168 | 105.92 | 20684 | 0 | 26577 | 5000 | 37981 | 3670 | 4823.59 | 13780 | 0 | 0 | 74.8804 | 1482.895 | 110.9673 | 267 | 33.2635 | 220.558 | 84.6553 | 913.192 | 513.9781 | 312.44 | 25.7483 | 215.985 | 341.266 | 0 | 1661.11 | 5.703 | 218323.744 | 160.976 | 3100.5 | 800 | 3221.4 | 1000 | 975.62 | 1210 | 0 |  |  | 0 | 6473515.337 | 3271.972 | 3837.9848 | 870.4 | 236.1852 | 65.36 | 638.496 | 0 | 9619.5936 | 623.7974 | 9191.832 | 4066.0736 | 1944.8 | 0 | 0 | 3843.4716 | 578.8 | 302.3167 | 150.16 | 16457.6 | 13.4469 | 18262.706 | 51.451 | 167.933 | 376 | 57468.8 | 2470 | 59938.8 | 848 | 10508 | 7989 |  | 13.4469 | 2.9127 |  | 267 | 220.558 | 913.192 | 312.44 | 215.985 | 0 | 1929.175 |  |  |  | 1482.895 | 1929.175 | 9191.832 | 2185.6 | 8.8 | 0 | 1322.07 | 1944.8 | 3730.562 | #REF! | #REF!
2025-03-29 | 30.3298 | 161.896 | 11902.599 | 35.444 | 0 | 0 | 158.0475 | 1344.57 | 5210.7104 | 39.164 | 24030.874 | 235.128 | 3465.891 | 4304 | 66.6689 | 479.474 | 2201370.44 | 3782.513 | 2419.566 | 4890.6 | 630.5996 | 1797.88 | 50.3487 | 15580 | 4134.336 | 289.1464 | 119.6589 | 480.46 | 754531.365 | 573.705 | 3300924.402 | 665.698 | 1980.8334 | 4347.6 | 255.76 | 1244.82 | 691.3191 | 2030.96 | 376.8892 | 2214.92 | 3968.1524 | 0 | 292.8162 | 0 | 347.6392 | 1332.84 | 204374.291 | 314.221 | 51465.645 | 88.982 | 1758.785 | 2326 | 641.3965 | 129.28 | 940.9227 | 3.12 | 20684 | 0 | 27077 | 5090 | 38348 | 3670 | 4837.37 | 13929.2 | 0 | 0 | 76.3633 | 1319.744 | 111.2343 | 266.12 | 33.4841 | 197.358 | 85.5684 | 567.872 | 514.2905 | 327.4 | 25.9643 | 154.68 | 341.266 | 0 | 1666.813 | 5.48 | 218484.72 | 167.008 | 3101.3 | 600 | 3222.4 | 800 | 976.83 | 1170 | 0 |  |  | 0 | 6476787.309 | 3345.915 | 3838.8552 | 960.4 | 236.2506 | 8.4 | 638.496 | 0 | 10243.391 | 193.128 | 9269.473 | 4068.0184 | 1939.2 | 0 | 0 | 3844.0504 | 512.4 | 302.4668 | 141.52 | 16462.18 | 0 | 18314.157 | 44.112 | 168.309 | 415 | 58257 | 0 | 58257 | 0 | 10508 | 8173 |  | 0 | #DIV/0! |  | 266.12 | 197.358 | 567.872 | 327.4 | 154.68 | 0 | 1513.43 |  |  |  | 1319.744 | 1513.43 | 9269.473 | 2214.92 | 0 | 0 | 1332.84 | 1939.2 | 3782.513 | #REF! | #REF!
2025-03-30 | 30.4917 | 120.458 | 11938.043 | 31.34 | 0 | 0 | 159.3921 | 1183.57 | 5249.8744 | 38.4636 | 24266.002 | 225.202 | 3470.195 | 4156 | 67.1484 | 478.394 | 2205152.953 | 3695.881 | 2424.4566 | 5386.2 | 632.3975 | 1686.4 | 50.3643 | 13720 | 4423.4824 | 292.7496 | 120.1394 | 384.66 | 755105.07 | 227.097 | 3301590.1 | 443.696 | 1985.181 | 3663.2 | 257.0049 | 1230.52 | 693.3501 | 1575.48 | 379.1041 | 2122 | 3968.1524 | 120.4 | 292.8162 | 0 | 348.972 | 1272.84 | 204688.512 | 166.826 | 51554.627 | 98.321 | 1761.111 | 2046 | 641.5258 | 446.8 | 940.9258 | 3.04 | 20684 | 0 | 27586 | 4890 | 38715 | 3430 | 4851.2992 | 12692.8 | 0 | 0 | 77.6831 | 1346.96 | 111.5004 | 265.76 | 33.6814 | 270.724 | 86.1363 | 913.512 | 514.6179 | 255.72 | 26.119 | 253.794 | 341.266 | 0 | 1672.293 | 2.087 | 218651.728 | 154.352 | 3101.9 | 500 | 3223.2 | 600 | 978 | 1100 | 0 |  |  | 0 | 6480133.224 | 2744.537 | 3839.8156 | 1355.6 | 236.259 | 5.04 | 638.496 | 0 | 10436.519 | 383.065 | 7908.721 | 4069.9576 | 697.6 | 0 | 0 | 3844.5628 | 225.6 | 302.6083 | 3.1 | 16462.18 | 0 | 18358.269 | 38.932 | 168.724 | 366 | 53066 | 0 | 53066 | 0 | 17503 | 0 |  | 0 | #DIV/0! |  | 265.76 | 270.724 | 913.512 | 255.72 | 253.794 | 0 | 1959.51 |  |  |  | 1346.96 | 1959.51 | 7908.721 | 2122 | 120.4 | 0 | 1272.84 | 697.6 | 3695.881 | #REF! | #REF!
2025-03-31 | 30.6122 | 146.182 | 11969.383 | 29.801 | 0 | 0 | 160.5757 | 1282.11 | 5288.338 | 34.7904 | 24491.204 | 214.644 | 3474.351 | 4369 | 67.6268 | 448.416 | 2208848.834 | 3715.741 | 2429.8428 | 5577.4 | 634.0839 | 1756.04 | 50.378 | 14228 | 4716.232 | 283.8252 | 120.524 | 353.45 | 755332.167 | 294.396 | 3302033.796 | 514.556 | 1988.8442 | 4179 | 258.2354 | 854.1 | 694.9256 | 1719.24 | 381.2261 | 2171.68 | 3968.2728 | 4 | 292.8162 | 0 | 350.2449 | 1302.6 | 204855.338 | 184.864 | 51652.948 | 46.312 | 1763.157 | 1963 | 641.9726 | 380.68 | 940.9289 | 3.04 | 20684 | 0 | 28075 | 4810 | 39058 | 3460 | 4863.992 | 12512.4 | 0 | 0 | 79.03 | 1378.78 | 111.7662 | 265.01 | 33.9522 | 196.908 | 87.0498 | 896.6 | 514.8736 | 243.76 | 26.3728 | 290.182 | 341.266 | 0 | 1674.38 | 9.573 | 218806.08 | 168.992 | 3102.4 | 700 | 3223.8 | 900 | 979.1 | 1180 | 0 |  |  | 0 | 6482877.761 | 3321.945 | 3841.1712 | 930 | 236.264 | 125.24 | 638.496 | 0 | 10819.584 | 357 | 8082.021 | 4070.6552 | 888 | 0 | 0 | 3844.7884 | 680 | 302.6114 | 225.38 | 16462.18 | 158.5734 | 18397.201 | 58.964 | 169.09 | 464 | 49966 | 3870 | 53836 | 958 | 16545 | 0 |  | 158.5734 | 4.0397 |  | 265.01 | 196.908 | 896.6 | 243.76 | 290.182 | 0 | 1892.46 |  |  |  | 1378.78 | 1892.46 | 8082.021 | 2171.68 | 4 | 0 | 1302.6 | 888 | 3715.741 | #REF! | #REF!
2025-04-01 | 30.7583 |  | 11999.184 |  | 0 |  | 161.8578 |  | 5323.1284 |  | 24705.848 | -24705.848 | 3478.72 |  | 68.0752 |  | 2212564.575 |  | 2435.4202 |  | 635.84 |  | 50.3922 |  | 5000.0572 |  | 120.8775 |  | 755626.563 |  | 3302548.352 |  | 1993.0232 |  | 259.0895 |  | 696.6448 |  | 383.3978 |  | 3968.2768 |  | 292.8162 |  | 351.5475 |  | 205040.202 |  | 51699.26 |  | 1765.12 |  | 642.3533 |  | 940.9319 |  | 20684 |  | 28556 |  | 39404 |  | 4876.5044 |  | 0 |  | 80.4088 | 41726.652 | 112.0312 |  | 34.1491 | -34.1491 | 87.9464 |  | 515.1174 |  | 26.663 |  | 341.266 |  | 1683.953 |  | 218975.072 |  | 3103.1 |  | 3224.7 |  | 980.28 |  | 0 |  |  |  | 6486199.706 |  | 3842.1012 |  | 236.3893 |  | 638.496 |  | 11.177 |  |  | 4071.5432 |  | 0 |  | 3845.4684 |  | 302.8368 |  | 16516.19 |  | 18456.165 |  | 169.554 | [21 empty] | 41726.652
0
0
[57 empty] | NBF | 46130 |  | 125580 |  | 101450
28 days
16545
[83 empty] | 12:00 | 174396.896 | 36.512
[83 empty] | 9:00 | 174433.408
4.0569
97.3653
85014
[53 empty] | 488.7218 |  | 910.2269
v
Note on AX15: 22522: mmeter reset & new installed
Note on AN21: 22522: Reading changed mwh into kwh
Note on AB28: 29541: 299.02250

## Sheet1 (hidden)
DATE | UPPCL POWER | % | SOLAR POWER | % | DG POWER | % | TOTAL
2024-07-01 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 51345.6
2024-07-02 | #REF! | #REF! | #REF! | #REF! | 4390 | 9.5543 | 45948
2024-07-03 | #REF! | #REF! | #REF! | #REF! | 1593 | 3.0003 | 53095.4
2024-07-04 | #REF! | #REF! | #REF! | #REF! | 11026 | 21.552 | 51160
2024-07-05 | #REF! | #REF! | #REF! | #REF! | 10319 | 20.041 | 51489.4
2024-07-06 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 51872
2024-07-07 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 53211.2
2024-07-08 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 53030
2024-07-09 | #REF! | #REF! | #REF! | #REF! | 17901 | 34.8805 | 51321
2024-07-10 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 57205
2024-07-11 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 56610
2024-07-12 | #REF! | #REF! | #REF! | #REF! | 28720 | 49.1478 | 58436
2024-07-13 | #REF! | #REF! | #REF! | #REF! | 7432 | 14.9067 | 49856.8
2024-07-14 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 28365
2024-07-15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 48735
2024-07-16 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 46503
2024-07-17 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 55938
2024-07-18 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 58197
2024-07-19 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 59029
2024-07-20 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 60480
2024-07-21 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 59183
2024-07-22 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 59096
2024-07-23 | #REF! | #REF! | #REF! | #REF! | 14884 | 27.7283 | 53678
2024-07-24 | #REF! | #REF! | #REF! | #REF! | 1245 | 2.1421 | 58120
2024-07-25 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 58818
2024-07-26 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 60814
2024-07-27 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 61196.8
2024-07-28 | #REF! | #REF! | #REF! | #REF! | 2470 | 4.1209 | 59938.8
2024-07-29 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 58257
2024-07-30 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2024-07-31 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!