## Sheet1
DATE | NEW ETP1 | TOTAL KWH | ETP2 | TOTAL KWH | NBF-II | TOTAL KWH | 7F-630A | TOTAL KWH | 200V BUSBAR | TOTAL KWH | EVP BUS BAR | TOTAL KWH | RS UPS BUSBAR | TOTAL KWH | HEATER READIATOR | TOTAL KWH | AIR COMP. 1000 CFM | TOTAL KWH | MLTP DG ROOM | TOTAL KWH | ELECT PANEL-1 | TOTAL KWH | MAIN UPS ROOM | TOTAL KWH | BUS BAR-1 | TOTAL KWH | BUSBAR-2 | TOTAL KWH | BUSBAR-4 | TOTAL KWH | BUSBAR-5 | TOTAL KWH | BUSBAR-6 | TOTAL KWH | BUSBAR-7 | TOTAL KWH | BUSBAR-8 | TOTAL KWH | ATLAS-1 | TOTAL KWH | ATLAS-2 | TOTAL KWH | ATLAS-3 | TOTAL KWH | ATLAS-4 | TOTAL KWH | DM PLANT | TOTAL KWH | RO PLANT | TOTAL KWH | COMP UPS BUS BAR | TOTAL KWH | SURFACE TREATMENT-1 | TOTAL KWH | VBF | TOTAL KWH | NBF-1 | TOTAL KWH | NBF-3 | TOTAL KWH | NBF-4 | TOTAL KWH | COMP.PLANT 1600 AMP ACB NEW LT PANEL(11F) | TOTAL KWH | WTP-1 | TOTAL KWH | AHU | TOTAL KWH | AIR WASHER-1 | TOTAL KWH | A/W-2/3 | TOTAL KWH | MFC AIR WAHER-1 | TOTAL KWH | MFC AIR WASHER-2 | TOTAL KWH | MFC AIR WASHER-3 | TOTAL KWH | MFC AIR WASHER-4 | TOTAL KWH | STP 40kld | TOTAL KWH | STP 100kld | TOTAL KWH | S/T-2 PANEL-1 | TOTAL KWH | S/T-2 PANEL-2 | TOTAL KWH | S/T-2 PANEL-3 | TOTAL KWH | ENDURENCE M/C | TOTAL KWH | QA TEST LB | TOTAL KWH | B-196 | TOTAL KWH | Molding Machine | TOTAL KWH | DG AUX | TOTAL KWH | VBF CT FAN | TOTAL KWH | CONDENSOR LINE | TOTAL KWH | TOTAL AIR COMP. UNIT | ATLAS -5 | TOTAL KWH | KAESER COMPRESSOR | TOTAL KWH | ADMIN-1 (AC PANEL) | TOTAL KWH | ADMIN-1 (basement panel) | TOTAL KWH | PNG METER READING | TOTAL | TUC SHOP | TOTAL | NEW CANTEEN | TOTAL | UPPCL (UNIT ) | DG UNIT | total unit (UPPCL+DG) | Diesel consumption Ltr, | DIESEL STOCK | SPARE COST | used According store (diesel) | PNG (SCM) consumption | sfc | pf | AIR WASHER-1 | A/W-2/3 | MFC AIR WAHER-1 | MFC AIR WASHER-2 | MFC AIR WASHER-3 | MFC AIR WASHER-4 | Total
2025-01-01 | 19.9223 | 16.91 | 9066.844 | 16.839 | 0 | 0 | 47.8423 | 839.908 | 2050.9808 | 30.2252 | 11562.25 | 53.907 | 3097.006 | 3834 | 40.2132 | 219.282 | 1880778.117 | 3169.907 | 2154.4028 | 2545.4 | 525.7936 | 283.44 | 49.1457 | 8736 | 107.8633 | 140.25 | 82.5053 | 184.004 | 715184.376 | 135.686 | 3254532.556 | 112.419 | 1681.2646 | 1055.4 | 178.4802 | 451.78 | 547.671 | 1009.2 | 289.9837 | 288.9 | 3961.926 | 30 | 213.2744 | 646.66 | 244.3669 | 1.5541 | 184932.874 | 34.923 | 43598.513 | 97.459 | 1577.19 | 1237 | 636.5188 | 0 | 938.7191 | 3.04 | 14545 | 0 | 85650 | 4440 | 7391 | 3160 | 3910.6364 | 6349.2 | 0 | 0 | 692.7293 | 15.36 | 95.7559 | 297.824 | 21.5938 | 162.282 | 67.6818 | 198.424 | 503.9498 | 85.44 | 24.6239 | 0 | 341.266 | 0 | 1069.09 | 1.582 | 207803.728 | 0 | 3043.6 | 300 | 3150.5 | 400 | 874.29 | 1130 | 0 |  |  | 0 | 6260102.679 | 1350.772 | 3782.7756 | 541.4 | 230.2558 | 4.04 | 631.8708 | 17.12 | 125.5358 | 260.95 | 4810.2211 | 3922.382 | 673.2 | 430.35 | 0 | 3820.9908 | 74.4 | 290.9013 | 53 | 14291.77 | 0 | 13752.343 | 37.763 | 141.882 | 185 | 35441 | 0 | 35441 | 0 | 19608 | 210753 |  | 0 | #DIV/0! |  | 0.29782 | 162.282 | 198.424 | 85.44 | 0 | 0 | 446.4438
2025-01-02 | 19.9392 | 68.554 | 9083.683 | 25.219 | 0 | 0 | 48.6822 | 1317.584 | 2081.206 | 33.728 | 11616.157 | 111.548 | 3100.84 | 4510 | 40.4325 | 171.7 | 1883948.024 | 3706.641 | 2156.9482 | 2628 | 526.077 | 991.4 | 49.1545 | 12548 | 108.0036 | 316.24 | 82.6893 | 404.464 | 715320.062 | 324.891 | 3254644.975 | 500.406 | 1682.32 | 2576.2 | 178.932 | 790.76 | 548.6802 | 1594.17 | 290.2726 | 940.34 | 3961.956 | 63.2 | 213.9211 | 596.82 | 245.9211 | 1071.8 | 184967.797 | 116.106 | 43695.972 | 95.595 | 1578.427 | 1628 | 636.5188 | 0 | 938.7222 | 3.04 | 14545 | 0 | 86094 | 4950 | 7707 | 570 | 3916.9856 | 10052.8 | 0 | 0 | 692.7446 | 138.24 | 96.0537 | 300.976 | 21.7561 | 162.164 | 67.8803 | 135.312 | 504.0352 | 83.24 | 24.6239 | 0.024 | 341.266 | 0 | 1070.672 | 5.425 | 207803.728 | 0 | 3043.9 | 800 | 3150.9 | 1000 | 875.42 | 1330 | 0 |  |  | 0 | 6261453.451 | 2795.991 | 3783.317 | 679.4 | 230.2598 | 8.04 | 631.8879 | 71.24 | 125.7967 | 276.71 | 7457.601 | 3923.0552 | 1078.8 | 430.35 | 0 | 3821.0652 | 136.4 | 290.9543 | 149.62 | 14291.77 | 0 | 13790.106 | 73.026 | 142.067 | 237 | 42791 | 0 | 42791 | 0 | 19608 | 354990 |  | 0 | #DIV/0! |  | 300.976 | 162.164 | 135.312 | 83.24 | 0.024 | 0 | 681.716
2025-01-03 | 20.0078 | 40.584 | 9108.902 | 13.729 | 0 | 0 | 49.9998 | 424.924 | 2114.934 | 27.0568 | 11727.705 | 47.124 | 3105.35 | 2006 | 40.6042 | 235.792 | 1887654.665 | 3827.982 | 2159.5762 | 1680.4 | 527.0684 | 883.4 | 49.167 | 10152 | 108.3198 | 330.44 | 83.0937 | 372.44 | 715644.953 | 382.98 | 3255145.381 | 507.941 | 1684.8962 | 2630.8 | 179.7228 | 803.6 | 550.2743 | 1539.67 | 291.2129 | 1976.92 | 3962.0192 | 0 | 214.5179 | 333.24 | 246.9929 | 192.66 | 185083.903 | 70.163 | 43791.567 | 35.14 | 1580.055 | 1767 | 636.5188 | 0 | 938.7252 | 3.12 | 14545 | 0 | 86589 | 540 | 7764 | 0 | 3927.0384 | 10844.8 | 0 | 0 | 692.8829 | 214.48 | 96.3547 | 300.76 | 21.9182 | 162.288 | 68.0156 | 138.6 | 504.1184 | 89.08 | 24.6239 | 0 | 341.266 | 0 | 1076.097 | 0 | 207803.728 | 0 | 3044.7 | 300 | 3151.9 | 400 | 876.75 | 810 | 0 |  |  | 0 | 6264249.442 | 2632.684 | 3783.9964 | 736.8 | 230.2678 | 9 | 631.9591 | 82.48 | 126.0734 | 259.2 | 7350.002 | 3924.134 | 1019.2 | 430.35 | 0 | 3821.2016 | 167.2 | 291.104 | 142.02 | 14291.77 | 0 | 13863.132 | 56.219 | 142.304 | 233 | 31679.2 | 0 | 31679.2 | 0 | 19608 | 72236 |  | 0 | #DIV/0! |  | 300.76 | 162.288 | 138.6 | 89.08 | 0 | 0 | 690.728
2025-01-04 | 20.0484 | 65.532 | 9122.631 | 10.504 | 0 | 0 | 50.4247 | 216.524 | 2141.9908 | 14.6212 | 11774.829 | 20.411 | 3107.356 | 1361 | 40.84 | 116.172 | 1891482.647 | 2304.321 | 2161.2566 | 1007 | 527.9518 | 470.08 | 49.1772 | 3720 | 108.6503 | 167.42 | 83.4662 | 197.504 | 716027.933 | 174.744 | 3255653.322 | 321.502 | 1687.527 | 1330.4 | 180.5264 | 379.28 | 551.814 | 667.44 | 293.1898 | 976.64 | 3962.0192 | 0 | 214.8511 | 368.68 | 247.1855 | 0 | 185154.066 | 0 | 43826.707 | 20.766 | 1581.822 | 1254 | 636.5188 | 0 | 938.7283 | 2.32 | 14545 | 0 | 86643 | 540 | 7764 | 1050 | 3937.8832 | 8315.2 | 0 | 0 | 693.0974 | 93.44 | 96.6555 | 88.848 | 22.0805 | 0 | 68.1542 | 110.76 | 504.2075 | 68.56 | 24.6239 | 0 | 341.266 | 0 | 1076.097 | 0 | 207803.728 | 0 | 3045 | 200 | 3152.3 | 200 | 877.56 | 910 | 0 |  |  | 0 | 6266882.126 | 1050.045 | 3784.7332 | 0 | 230.2768 | 99.5 | 632.0416 | 8.88 | 126.3326 | 199.34 | 3815.941 | 3925.1532 | 166.3 | 430.35 | 0 | 3821.3688 | 131.6 | 291.246 | 150.62 | 14291.77 | 3.0828 | 13919.351 | 47.724 | 142.537 | 0 | 15363.3 | 2422 | 17785.3 | 808 | 19608 | 0 |  | 3.0828 | 2.9975 |  | 88.848 | 0 | 110.76 | 68.56 | 0 | 0 | 268.168
2025-01-05 | 20.1139 | 21.284 | 9133.135 | 3.374 | 0 | 0 | 50.6412 | 201.812 | 2156.612 | 18.1122 | 11795.24 | 35.248 | 3108.717 | 3 | 40.9562 | 138.388 | 1893786.968 | 2008.173 | 2162.2636 | 1757.2 | 528.4219 | 389.4 | 49.1809 | 5044 | 108.8177 | 123.5 | 83.6637 | 166.728 | 716202.677 | 131.132 | 3255974.824 | 234.563 | 1688.8574 | 1080.2 | 180.9056 | 184.94 | 552.4814 | 763.18 | 294.1665 | 1309.94 | 3962.0192 | 0 | 215.2198 | 0 | 247.1855 | 271.32 | 185154.066 | 0 | 43847.473 | 88.035 | 1583.076 | 1360 | 636.5188 | 0 | 938.7306 | 3.12 | 14545 | 0 | 86697 | 3540 | 7869 | 3350 | 3946.1984 | 5383.6 | 0 | 0 | 693.1908 | 58.96 | 96.7443 | 0 | 22.0805 | 0 | 68.2649 | 137.48 | 504.2761 | 85.92 | 24.6239 | 0 | 341.266 | 0 | 1076.097 | 10.691 | 207803.728 | 2.144 | 3045.2 | 100 | 3152.5 | 300 | 878.47 | 850 | 0 |  |  | 0 | 6267932.171 | 676.471 | 3784.7332 | 427.6 | 230.3763 | 158.28 | 632.0505 | 56.2 | 126.532 | 232.02 | 4289.933 | 3925.3195 | 700.5 | 430.35 | 0 | 3821.5004 | 146 | 291.3966 | 70.66 | 14292.82 | 297.6223 | 13967.075 | 43.928 | 142.537 | 283 | 18548 | 3808 | 22356 | 1082 | 17708 | 1141 |  | 297.6223 | 3.5194 |  | 0 | 0 | 137.48 | 85.92 | 0 | 0 | 223.4
2025-01-06 | 20.1352 | 59.514 | 9136.509 | 22.301 | 0 | 0 | 50.843 | 1336.3 | 2174.7242 | 39.1428 | 11830.488 | 153.093 | 3108.72 | 5522 | 41.0946 | 242.556 | 1895795.141 | 3891.499 | 2164.0208 | 2739.4 | 528.8113 | 1076.98 | 49.1859 | 13204 | 108.9412 | 320.6 | 83.8304 | 410.36 | 716333.809 | 484.527 | 3256209.387 | 622.508 | 1689.9376 | 2820.2 | 181.0906 | 748.14 | 553.2446 | 1403.38 | 295.4764 | 2196.4 | 3962.0192 | 0 | 215.2198 | 0 | 247.4568 | 1203.82 | 185154.066 | 107.143 | 43935.508 | 100.487 | 1584.436 | 1607 | 636.5188 | 0 | 938.7338 | 2.96 | 14545 | 10 | 87051 | 5160 | 8204 | 3780 | 3951.582 | 11685.2 | 0 | 0 | 693.2498 | 202.4 | 96.7443 | 273.332 | 22.0805 | 0 | 68.4024 | 136.544 | 504.362 | 86.2 | 24.6239 | 0 | 341.266 | 0 | 1086.788 | 9.747 | 207805.872 | 3.894 | 3045.3 | 700 | 3152.8 | 900 | 879.32 | 1280 | 0 |  |  | 0 | 6268608.642 | 2553.58 | 3785.1608 | 819.6 | 230.5346 | 13.9 | 632.1067 | 78.92 | 126.764 | 369.09 | 8320.119 | 3926.02 | 1028.4 | 430.35 | 0 | 3821.6464 | 155.2 | 291.4673 | 154.86 | 14394.19 | 0 | 14011.003 | 65.675 | 142.82 | 310 | 47828.4 | 92 | 47920.4 | 30 | 17678 | 15915 |  | 0 | 3.0667 |  | 273.332 | 0 | 136.544 | 86.2 | 0 | 0 | 496.076
2025-01-07 | 20.1947 | 115.996 | 9158.81 | 36.021 | 0 | 0 | 52.1793 | 1507.268 | 2213.867 | 41.496 | 11983.581 | 150.46 | 3114.242 | 4647 | 41.3371 | 246.808 | 1899686.64 | 3920.453 | 2166.7602 | 3276.2 | 529.8883 | 1257.78 | 49.1992 | 13872 | 109.2618 | 335.22 | 84.2408 | 367.768 | 716818.336 | 510.685 | 3256831.895 | 629.326 | 1692.7578 | 2933.2 | 181.8387 | 801.08 | 554.648 | 1759.52 | 297.6728 | 2214.12 | 3962.0192 | 0 | 215.2198 | 0 | 248.6607 | 1168.66 | 185261.209 | 233.533 | 44035.995 | 97.842 | 1586.043 | 2043 | 636.5188 | 0 | 938.7367 | 2.68 | 14546 | 0 | 87567 | 5240 | 8582 | 3910 | 3963.2672 | 11973.2 | 0 | 0 | 693.4522 | 232.4 | 97.0177 | 301.716 | 22.0805 | 0 | 68.539 | 137.816 | 504.4482 | 85.28 | 24.6239 | 0 | 341.266 | 0 | 1096.535 | 10.174 | 207809.766 | 114.954 | 3046 | 700 | 3153.7 | 1000 | 880.6 | 1330 | 0 |  |  | 0 | 6271162.222 | 2669.795 | 3785.9804 | 740 | 230.5485 | 10.3 | 632.1856 | 80.04 | 127.1331 | 392.84 | 8380.433 | 3927.0484 | 1077.2 | 430.35 | 0 | 3821.8016 | 174 | 291.6221 | 154.98 | 14394.19 | 0 | 14076.678 | 65.173 | 143.13 | 220 | 50620 | 0 | 50620 | 0 | 17678 | 2091 |  | 0 | #DIV/0! |  | 301.716 | 0 | 137.816 | 85.28 | 0 | 0 | 524.812
2025-01-08 | 20.3107 | 117.528 | 9194.831 | 35.567 | 0 | 0 | 53.6866 | 1474.72 | 2255.363 | 40.7918 | 12134.041 | 218.98 | 3118.889 | 4479 | 41.5839 | 264 | 1903607.093 | 3855.307 | 2170.0364 | 3301.4 | 531.1461 | 1261.84 | 49.213 | 13772 | 109.597 | 333.46 | 84.6085 | 386.328 | 717329.021 | 519.844 | 3257461.221 | 622.274 | 1695.691 | 2884.6 | 182.6398 | 776.28 | 556.4075 | 1715.56 | 299.8869 | 423.52 | 3962.0192 | 0 | 215.2198 | 926.84 | 249.8293 | 1298.24 | 185494.742 | 228.887 | 44133.837 | 115.184 | 1588.086 | 2255 | 636.5188 | 0 | 938.7394 | 3.56 | 14546 | 0 | 88091 | 5190 | 8973 | 3910 | 3975.2404 | 10164.8 | 0 | 0 | 693.6846 | 215.84 | 97.3194 | 297.584 | 22.0805 | 0 | 68.6768 | 136.648 | 504.5335 | 85.56 | 24.6239 | 0.454 | 341.266 | 0 | 1106.709 | 12.253 | 207924.72 | 130.72 | 3046.7 | 800 | 3154.7 | 1000 | 881.93 | 1290 | 0 |  |  | 0 | 6273832.017 | 2887.275 | 3786.7204 | 908.3 | 230.5588 | 12.66 | 632.2656 | 78.52 | 127.5259 | 399.05 | 8285.907 | 3928.1256 | 1782 | 430.35 | 0 | 3821.9756 | 173.2 | 291.7771 | 150.24 | 14394.19 | 0 | 14141.851 | 63.086 | 143.35 | 204 | 50817 | 0 | 50817 | 0 | 17678 | 8250 |  | 0 | #DIV/0! |  | 297.584 | 0 | 136.648 | 85.56 | 0.454 | 0 | 520.246
2025-01-09 | 20.4282 | 141.74 | 9230.398 | 37.198 | 0 | 0 | 55.1613 | 1496.372 | 2296.1548 | 38.4056 | 12353.021 | 210.902 | 3123.368 | 4599 | 41.8479 | 242.532 | 1907462.4 | 3889.129 | 2173.3378 | 2741.6 | 532.4079 | 1238.12 | 49.2268 | 13848 | 109.9305 | 369.61 | 84.9949 | 388.008 | 717848.865 | 503.319 | 3258083.495 | 639.635 | 1698.5756 | 2802.4 | 183.4161 | 722.28 | 558.1231 | 1728.08 | 300.3104 | 0 | 3962.0192 | 0 | 216.1466 | 1542.62 | 251.1276 | 1323.76 | 185723.629 | 301.265 | 44249.021 | 65.169 | 1590.341 | 2118 | 636.5188 | 0 | 938.743 | 3.04 | 14546 | 0 | 88610 | 5150 | 9364 | 3900 | 3985.4052 | 9783.6 | 0 | 0 | 693.9004 | 256.56 | 97.617 | 296.64 | 22.0805 | 0 | 68.8134 | 136.936 | 504.619 | 84.44 | 24.6244 | 0 | 341.266 | 0 | 1118.962 | 10.531 | 208055.44 | 124.736 | 3047.5 | 700 | 3155.7 | 1000 | 883.22 | 1310 | 0 |  |  | 0 | 6276719.292 | 2881.545 | 3787.6287 | 933.7 | 230.5715 | 12.56 | 632.3442 | 77.92 | 127.925 | 390.45 | 8607.509 | 3929.9076 | 1852 | 430.35 | 0 | 3822.1488 | 170.4 | 291.9273 | 153.26 | 14394.19 | 0 | 14204.937 | 59.063 | 143.554 | 232 | 51109 | 0 | 51109 | 0 | 17678 | 38690 |  | 0 | #DIV/0! |  | 296.64 | 0 | 136.936 | 84.44 | 0 | 0 | 518.016
2025-01-10 | 20.57 | 146.99 | 9267.596 | 37.288 | 0 | 0 | 56.6577 | 1492.216 | 2334.5604 | 38.455 | 12563.923 | 204.991 | 3127.967 | 4672 | 42.0905 | 264.036 | 1911351.529 | 3913.851 | 2176.0794 | 2873.8 | 533.646 | 1292.96 | 49.2406 | 14108 | 110.3001 | 340.28 | 85.3829 | 369.024 | 718352.184 | 605.432 | 3258723.13 | 667.539 | 1701.378 | 2840.6 | 184.1384 | 799.82 | 559.8512 | 1823.76 | 300.3104 | 3.8 | 3962.0192 | 0 | 217.6893 | 1589 | 252.4513 | 1331.96 | 186024.894 | 326.942 | 44314.19 | 116.589 | 1592.459 | 2152 | 636.5188 | 0 | 938.746 | 3.04 | 14546 | 0 | 89125 | 5140 | 9754 | 3890 | 3995.1888 | 10029.6 | 0 | 0 | 694.157 | 218.32 | 97.9136 | 262.328 | 22.0805 | 155.664 | 68.9504 | 138.8 | 504.7035 | 85.24 | 24.6244 | 0 | 341.266 | 0 | 1129.493 | 12.836 | 208180.176 | 115.648 | 3048.2 | 800 | 3156.7 | 1100 | 884.53 | 1340 | 0 |  |  | 0 | 6279600.837 | 2821.52 | 3788.5624 | 782 | 230.584 | 10.04 | 632.4221 | 138.88 | 128.3154 | 392.99 | 8749.011 | 3931.7596 | 1910.4 | 430.35 | 0 | 3822.3192 | 176 | 292.0806 | 160.08 | 14394.19 | 0 | 14264 | 62.41 | 143.786 | 218 | 51416 | 0 | 51416 | 0 | 17678 | 660 |  | 0 | #DIV/0! |  | 262.328 | 155.664 | 138.8 | 85.24 | 0 | 0 | 642.032
2025-01-11 | 20.717 | 144.82 | 9304.884 | 36.852 | 0 | 0 | 58.1499 | 1445.972 | 2373.0154 | 40.2666 | 12768.914 | 202.232 | 3132.639 | 4605 | 42.3545 | 371.12 | 1915265.38 | 3902.686 | 2178.9532 | 3380 | 534.939 | 1291.76 | 49.2548 | 13724 | 110.6404 | 358.64 | 85.7519 | 381.872 | 718957.616 | 594.883 | 3259390.669 | 539.648 | 1704.2186 | 2802.4 | 184.9382 | 823.62 | 561.6749 | 1717.84 | 300.3142 | 9.64 | 3962.0192 | 0.8 | 219.2783 | 1592.36 | 253.7833 | 1321.46 | 186351.836 | 338.88 | 44430.779 | 104.993 | 1594.611 | 2044 | 636.5188 | 0 | 938.749 | 3.12 | 14546 | 0 | 89639 | 5080 | 10143 | 3880 | 4005.2184 | 9786 | 0 | 0 | 694.3753 | 225.28 | 98.1759 | 246.024 | 22.2362 | 289.494 | 69.0892 | 137.032 | 504.7887 | 85.44 | 24.6244 | 0 | 341.266 | 0 | 1142.329 | 13.672 | 208295.824 | 122.48 | 3049 | 700 | 3157.8 | 900 | 885.87 | 1310 | 0 |  |  | 0 | 6282422.357 | 2783.352 | 3789.3444 | 712.8 | 230.5941 | 145.16 | 632.561 | 20.32 | 128.7084 | 366.06 | 8759.346 | 3933.67 | 1932.4 | 430.35 | 0 | 3822.4952 | 120.8 | 292.2407 | 75.78 | 14394.19 | 162.7131 | 14326.41 | 53.961 | 144.004 | 288 | 46041.6 | 5759 | 51800.6 | 1473 | 15526 | 495 | 3500 Ltr. reservation given | 162.7131 | 3.9097 |  | 246.024 | 289.494 | 137.032 | 85.44 | 0 | 0 | 757.99
2025-01-12 | 20.8618 | 62.026 | 9341.736 | 28.561 | 0 | 0 | 59.5959 | 1360.268 | 2413.282 | 39.9258 | 12971.146 | 149.505 | 3137.244 | 4529 | 42.7256 | 251.448 | 1919168.066 | 3792.409 | 2182.3332 | 2665 | 536.2308 | 961.68 | 49.2685 | 12052 | 110.999 | 291.8 | 86.1338 | 358.184 | 719552.499 | 280.136 | 3259930.317 | 502.417 | 1707.021 | 2217.6 | 185.7618 | 638.66 | 563.3928 | 1353.4 | 300.3239 | 339.26 | 3962.02 | 125.6 | 220.8706 | 892.3 | 255.1047 | 1222.56 | 186690.716 | 202.297 | 44535.772 | 65.312 | 1596.655 | 1856 | 636.5188 | 0 | 938.7522 | 3.04 | 14546 | 2620 | 90147 | 5150 | 10531 | 3700 | 4015.0044 | 8842.4 | 0 | 0 | 694.6006 | 218.56 | 98.422 | 248.992 | 22.5257 | 309.202 | 69.2262 | 138.42 | 504.8742 | 88.08 | 24.6244 | 0 | 341.266 | 0 | 1156.001 | 6.11 | 208418.304 | 105.76 | 3049.7 | 800 | 3158.7 | 1000 | 887.18 | 1320 | 0 |  |  | 0 | 6285205.709 | 1454.456 | 3790.0572 | 696.8 | 230.7392 | 11.44 | 632.5813 | 80.84 | 129.0745 | 284.27 | 8175.729 | 3935.6024 | 1803.6 | 430.35 | 0 | 3822.616 | 128 | 292.3165 | 78.08 | 14449.61 | 0 | 14380.371 | 40.141 | 144.292 | 218 | 47590 | 0 | 47590 | 0 | 15526 | 1812 |  | 0 | #DIV/0! |  | 248.992 | 309.202 | 138.42 | 88.08 | 0 | 0 | 784.694
2025-01-13 | 20.9238 | 95.09 | 9370.297 | 24.705 | 0 | 0 | 60.9561 | 1393.172 | 2453.2078 | 40.2534 | 13120.651 | 153.561 | 3141.773 | 4609 | 42.9771 | 270.896 | 1922960.475 | 3687.229 | 2184.9982 | 3111.4 | 537.1924 | 1139.4 | 49.2805 | 13932 | 111.2908 | 345.92 | 86.4919 | 394.056 | 719832.635 | 502.366 | 3260432.734 | 586.149 | 1709.2386 | 2927.6 | 186.4005 | 801.46 | 564.7462 | 1744.32 | 300.6631 | 0 | 3962.1456 | 3 | 221.7629 | 1322.34 | 256.3273 | 1314.54 | 186893.013 | 161.048 | 44601.084 | 88.034 | 1598.511 | 2070 | 636.5188 | 69.72 | 938.7552 | 3.12 | 14808 | 3830 | 90662 | 5120 | 10901 | 3880 | 4023.8468 | 9727.6 | 0 | 0 | 694.8191 | 215.28 | 98.6709 | 244.222 | 22.8349 | 303.888 | 69.3646 | 137.252 | 504.9622 | 99.76 | 24.6244 | 2.796 | 341.266 | 0 | 1162.111 | 12.665 | 208524.064 | 133.984 | 3050.5 | 700 | 3159.7 | 1000 | 888.5 | 1300 | 0 |  |  | 0 | 6286660.165 | 2721.847 | 3790.754 | 723.6 | 230.7507 | 10.58 | 632.6621 | 79.56 | 129.3587 | 384.95 | 8336.709 | 3937.406 | 2009.6 | 430.35 | 0 | 3822.744 | 178 | 292.3945 | 158.58 | 14449.61 | 0 | 14420.512 | 59.888 | 144.51 | 226 | 54877 | 0 | 54877 | 0 | 14943 | 26730 |  | 0 | #DIV/0! |  | 244.222 | 303.888 | 137.252 | 99.76 | 2.796 | 0 | 787.918
2025-01-14 | 21.0189 | 128.752 | 9395.002 | 36.111 | 0 | 0 | 62.3493 | 1398.552 | 2493.4612 | 39.4236 | 13274.212 | 186.829 | 3146.382 | 4627 | 43.248 | 276.332 | 1926647.704 | 4156.312 | 2188.1096 | 3578.6 | 538.3318 | 1189.44 | 49.2945 | 14008 | 111.6367 | 312.76 | 86.886 | 415.328 | 720335.001 | 484.991 | 3261018.883 | 582.943 | 1712.1662 | 3020.6 | 187.2019 | 816.66 | 566.4905 | 1716.24 | 300.6631 | 476.06 | 3962.1486 | 2.2 | 223.0853 | 1028.54 | 257.6418 | 1284.2 | 187054.061 | 265.42 | 44689.118 | 75.214 | 1600.581 | 2120 | 636.5886 | 0 | 938.7583 | 4.04 | 15191 | 3730 | 91174 | 5050 | 11289 | 3810 | 4033.5744 | 10260 | 0 | 0 | 695.0344 | 222.024 | 98.9152 | 238.714 | 23.1388 | 318.258 | 69.5019 | 138.056 | 505.062 | 108.36 | 24.6272 | 0 | 341.266 | 0 | 1174.776 | 10.586 | 208658.048 | 138.952 | 3051.2 | 800 | 3160.7 | 1000 | 889.8 | 1290 | 0 |  |  | 0 | 6289382.012 | 2586.936 | 3791.4776 | 645.6 | 230.7613 | 170.56 | 632.7417 | 80.04 | 129.7437 | 411.16 | 8898.512 | 3939.4156 | 1951.2 | 430.35 | 0 | 3822.922 | 164.4 | 292.5531 | 166.08 | 14449.61 | 441.8093 | 14480.4 | 66.654 | 144.736 | 278 | 50488 | 4389 | 54877 | 1402 | 13541 | 34750 |  | 441.8093 | 3.1305 |  | 238.714 | 318.258 | 138.056 | 108.36 | 0 | 0 | 803.388
2025-01-15 | 21.1477 | 144.436 | 9431.113 | 30.601 | 0 | 0 | 63.7479 | 1430.84 | 2532.8848 | 38.3428 | 13461.041 | 182.975 | 3151.009 | 4693 | 43.5243 | 261.036 | 1930804.016 | 2990.904 | 2191.6882 | 4132.6 | 539.5213 | 1131.8 | 49.3085 | 13928 | 111.9495 | 329.21 | 87.3013 | 417.064 | 720819.992 | 578.507 | 3261601.826 | 610.873 | 1715.1868 | 2916.4 | 188.0186 | 755.12 | 568.2067 | 1642 | 301.1392 | 690.02 | 3962.1508 | 687.6 | 224.1138 | 1447.08 | 258.926 | 1310.06 | 187319.481 | 245.166 | 44764.332 | 80.921 | 1602.701 | 2118 | 636.5886 | 0 | 938.7624 | 1.96 | 15564 | 4040 | 91679 | 4670 | 11670 | 3890 | 4043.8344 | 9954.4 | 0 | 0 | 695.2564 | 196.85 | 99.1539 | 239.808 | 23.457 | 305.784 | 69.6399 | 138 | 505.1704 | 105.04 | 24.6272 | 0 | 341.266 | 0 | 1185.362 | 12.192 | 208797 | 133.816 | 3052 | 700 | 3161.7 | 900 | 891.09 | 1300 | 0 |  |  | 0 | 6291968.948 | 2559.272 | 3792.1232 | 642 | 230.9318 | 395.02 | 632.8217 | 80.04 | 130.1549 | 440.29 | 9110.864 | 3941.3668 | 1985.2 | 430.35 | 0 | 3823.0864 | 148 | 292.7192 | 169.84 | 14600.09 | 652.1737 | 14547.054 | 60.002 | 145.014 | 292 | 36022 | 20033 | 56055 | 4862 | 9125 | 21031 |  | 652.1737 | #REF! |  | 239.808 | 305.784 | 138 | 105.04 | 341.266 | 0 | 1129.898
2025-01-16 | 21.2921 | 179.41 | 9461.714 | 19.378 | 0 | 0 | 65.1787 | 1483.372 | 2571.2276 | 41.3198 | 13644.016 | 182.39 | 3155.702 | 4720 | 43.7853 | 265.54 | 1933794.92 | 2470.643 | 2195.8208 | 2889.8 | 540.6531 | 1258.28 | 49.3224 | 14024 | 112.2787 | 293.54 | 87.7184 | 442.168 | 721398.499 | 597.59 | 3262212.699 | 592.517 | 1718.1032 | 2803 | 188.7737 | 822.02 | 569.8487 | 1702.52 | 301.8292 | 972.52 | 3962.8384 | 1014.8 | 225.5609 | 1542.22 | 260.2361 | 1295.88 | 187564.647 | 320.79 | 44845.253 | 80.774 | 1604.819 | 2136 | 636.5886 | 0 | 938.7643 | 3.04 | 15968 | 680 | 92146 | 5150 | 12059 | 3870 | 4053.7888 | 10387.6 | 0 | 0 | 196.8471 | 211.5438 | 99.3937 | 241.312 | 23.7628 | 295.854 | 69.7779 | 137.88 | 505.2754 | 105.4 | 24.6272 | 0 | 341.266 | 0 | 1197.554 | 13.646 | 208930.816 | 141.888 | 3052.7 | 950 | 3162.6 | 1000 | 892.39 | 1310 | 0 |  |  | 0 | 6294528.22 | 2694.754 | 3792.7652 | 747.6 | 231.3268 | 69.8 | 632.9018 | 80.08 | 130.5951 | 426.38 | 9210.063 | 3943.352 | 1914 | 430.35 | 0 | 3823.2344 | 154.4 | 292.889 | 167.08 | 14822.22 | 86.7588 | 14607.056 | 67.392 | 145.306 | 303 | 50931 | 2035 | 52966 | 520 | 8500 | 18465 |  | 86.7588 | 3.9135 |  | 241.312 | 295.854 | 137.88 | 105.4 | 0 | 0 | 780.446
2025-01-17 | 21.4715 | 131.768 | 9481.092 | 30.891 | 0 | 0 | 66.6621 | 1480.86 | 2612.5474 | 40.4028 | 13826.406 | 150.925 | 3160.422 | 4665 | 44.0509 | 251.548 | 1936265.563 | 3845.307 | 2198.7106 | 2845 | 541.9114 | 1184.08 | 49.3364 | 13536 | 112.5722 | 295.13 | 88.1606 | 461.376 | 721996.089 | 545.249 | 3262805.216 | 580.069 | 1720.9062 | 2728 | 189.5957 | 936.7 | 571.5512 | 1741.28 | 302.8017 | 12.72 | 3963.8532 | 14.4 | 227.1031 | 1501.54 | 261.532 | 1329.06 | 187885.437 | 241.664 | 44926.027 | 69.838 | 1606.955 | 1975 | 636.5886 | 0 | 938.7674 | 3.12 | 16036 | 350 | 92661 | 5070 | 12446 | 3820 | 4064.1764 | 9881.6 | 0 | 0 | 408.3909 | 212.8375 | 99.635 | 238.864 | 24.0587 | 177.854 | 69.9158 | 137.768 | 505.3808 | 107.92 | 24.6272 | 0 | 341.266 | 0 | 1211.2 | 11.62 | 209072.704 | 120.96 | 3053.65 | 550 | 3163.6 | 1100 | 893.7 | 1320 | 0 |  |  | 0 | 6297222.974 | 2894.914 | 3793.5128 | 978 | 231.3966 | 8.02 | 632.9818 | 79.2 | 131.0215 | 438.17 | 8664.227 | 3945.266 | 1961.2 | 430.35 | 0 | 3823.3888 | 143.6 | 293.0561 | 147.72 | 14851.77 | 0 | 14674.448 | 67.487 | 145.609 | 261 | 51152 | 0 | 51152 | 0 | 16542 | 423 |  | 0 | #DIV/0! |  | 238.864 | 177.854 | 137.768 | 107.92 | 0 | 0 | 662.406
2025-01-18 | 21.6033 | 143.106 | 9511.983 | 28.884 | 0 | 0 | 68.1429 | 1308.104 | 2652.9502 | 39.548 | 13977.331 | 188.505 | 3165.087 | 4435 | 44.3024 | 267.076 | 1940110.87 | 3868.526 | 2201.5556 | 2961.8 | 543.0954 | 1096 | 49.35 | 13132 | 112.8674 | 319.32 | 88.6219 | 426.824 | 722541.338 | 549.638 | 3263385.285 | 586.376 | 1723.6342 | 2618.8 | 190.5324 | 953.12 | 573.2925 | 1646.88 | 302.8145 | 0.03 | 3963.8676 | 0.2 | 228.6046 | 1473.98 | 262.861 | 1329.88 | 188127.101 | 197.512 | 44995.865 | 74.06 | 1608.93 | 2066 | 636.5886 | 0 | 938.7705 | 3.04 | 16071 | 0 | 93168 | 4790 | 12828 | 3820 | 4074.058 | 9762.4 | 0 | 0 | 621.2284 | 215.4006 | 99.8739 | 235.856 | 24.2365 | 159.658 | 70.0536 | 137.368 | 505.4887 | 108.24 | 24.6272 | 0 | 341.266 | 0 | 1222.82 | 15.399 | 209193.664 | 142.74 | 3054.2 | 700 | 3164.7 | 900 | 895.02 | 1270 | 0 |  |  | 0 | 6300117.888 | 2771.599 | 3794.4908 | 964.8 | 231.4047 | 10.08 | 633.061 | 79.96 | 131.4597 | 421.16 | 8631.816 | 3947.2272 | 1959.2 | 430.35 | 0 | 3823.5324 | 152.8 | 293.2038 | 147.04 | 14851.77 | 0 | 14741.935 | 65.284 | 145.87 | 272 | 50143 | 0 | 50143 | 0 | 16431 | 13443 |  | 0 | #DIV/0! |  | 235.856 | 159.658 | 137.368 | 108.24 | 0 | 0 | 641.122
2025-01-19 | 21.7464 | 126.718 | 9540.867 | 20.827 | 0 | 0 | 69.451 | 1456.584 | 2692.4982 | 39.39 | 14165.836 | 117.271 | 3169.522 | 4571 | 44.5695 | 258.896 | 1943979.396 | 3506.952 | 2204.5174 | 2504.6 | 544.1914 | 1051.32 | 49.3631 | 12576 | 113.1867 | 313.54 | 89.0488 | 376.773 | 723090.976 | 347.006 | 3263971.661 | 368.23 | 1726.253 | 2120 | 191.4855 | 807.2 | 574.9394 | 1260.88 | 302.8145 | 454.19 | 3963.8678 | 297.4 | 230.0786 | 1029.24 | 264.1909 | 1228.36 | 188324.613 | 217.445 | 45069.925 | 38.493 | 1610.996 | 1829 | 636.5886 | 0 | 938.7735 | 3.04 | 16071 | 0 | 93647 | 5310 | 13210 | 3740 | 4083.8204 | 7079.6 | 0 | 0 | 836.629 | 214.1729 | 100.1097 | 237.25 | 24.3962 | 158.13 | 70.1909 | 136.272 | 505.597 | 109.28 | 24.6272 | 0 | 341.266 | 0 | 1238.219 | 11.582 | 209336.404 | 148.684 | 3054.9 | 800 | 3165.6 | 1000 | 896.29 | 1280 | 0 |  |  | 0 | 6302889.487 | 1579.662 | 3795.4556 | 765.2 | 231.4147 | 10.28 | 633.141 | 0 | 131.8809 | 372.07 | 8170.942 | 3949.1864 | 1654.8 | 430.35 | 0 | 3823.6852 | 116 | 293.3509 | 74.9 | 14851.77 | 0 | 14807.219 | 42.195 | 146.142 | 299 | 46446 | 0 | 46446 | 0 | 16431 | 851 |  | 0 | #DIV/0! |  | 237.25 | 158.13 | 136.272 | 109.28 | 0 | 0 | 640.932
2025-01-20 | 21.8731 | 146.632 | 9561.694 | 32.132 | 0 | 0 | 70.9076 | 1402.208 | 2731.8882 | 38.695 | 14283.107 | 137.318 | 3174.093 | 4523 | 44.8284 | 275.464 | 1947486.348 | 3809.652 | 2207.022 | 2528.6 | 545.2428 | 1184.46 | 49.3757 | 13724 | 113.5002 | 375.7 | 89.4255 | 394.963 | 723437.982 | 501.342 | 3264339.891 | 518.128 | 1728.373 | 3015.1 | 192.2927 | 882.86 | 576.2003 | 1721.88 | 303.2687 | 1925.15 | 3964.1652 | 0 | 231.1079 | 1267.22 | 265.4193 | 814.26 | 188542.058 | 212.161 | 45108.418 | 83.808 | 1612.825 | 2019 | 636.5886 | 0 | 938.7766 | 3.12 | 16071 | 0 | 94178 | 5150 | 13584 | 3760 | 4090.9 | 13626.4 | 0 | 0 | 1050.8019 | 616.3832 | 100.347 | 235.16 | 24.5543 | 157.124 | 70.3272 | 136.16 | 505.7062 | 109.28 | 24.6272 | 0.484 | 341.266 | 0 | 1249.801 | 15.253 | 209485.088 | 155.744 | 3055.7 | 800 | 3166.6 | 900 | 897.57 | 1270 | 0 |  |  | 0 | 6304469.149 | 2720.98 | 3796.2208 | 784.4 | 231.425 | 7.06 | 633.141 | 161.48 | 132.2529 | 441.48 | 9719.482 | 3950.8412 | 1903.2 | 430.35 | 0 | 3823.8012 | 167.2 | 293.4258 | 159.36 | 14851.77 | 0 | 14849.414 | 63.758 | 146.441 | 287 | 51224 | 0 | 51224 | 0 | 16431 | 1700 |  | 0 | #DIV/0! |  | 235.16 | 157.124 | 136.16 | 109.28 | 0.484 | 0 | 638.208
2025-01-21 | 22.0197 | 140.74 | 9593.826 | 34.526 | 0 | 0 | 72.3098 | 1432.136 | 2770.5832 | 39.441 | 14420.425 | 141.812 | 3178.616 | 4589 | 45.1038 | 278.012 | 1951296 | 3790.657 | 2209.5506 | 2681 | 546.4272 | 1219.74 | 49.3894 | 14172 | 113.8759 | 392.19 | 89.8205 | 405.12 | 723939.324 | 395.673 | 3264858.019 | 515.342 | 1731.3881 | 3240.5 | 193.1756 | 929.56 | 577.9222 | 1722.84 | 305.1938 | 96.95 | 3964.1652 | 34.4 | 232.3751 | 1308.56 | 266.2335 | 1306.88 | 188754.219 | 250.194 | 45192.226 | 78.326 | 1614.844 | 2101 | 636.5886 | 0 | 938.7797 | 3.12 | 16071 | 0 | 94693 | 5220 | 13960 | 3820 | 4104.5264 | 9971.6 | 0 | 0 | 1667.1851 | 789.9463 | 100.5821 | 234.8 | 24.7114 | 158.196 | 70.4634 | 136.136 | 505.8155 | 107.76 | 24.6277 | 0 | 341.266 | 0 | 1265.054 | 11.993 | 209640.832 | 130.624 | 3056.5 | 700 | 3167.5 | 1000 | 898.84 | 1300 | 0 |  |  | 0 | 6307190.129 | 2741.003 | 3797.0052 | 789.6 | 231.4321 | 7.28 | 633.3025 | 75.2 | 132.6944 | 406.96 | 8408.647 | 3952.7444 | 1871.2 | 430.35 | 0 | 3823.9684 | 176 | 293.5851 | 109.44 | 14851.77 | 0 | 14913.172 | 49.677 | 146.728 | 298 | 51034 | 0 | 51034 | 0 | 16431 | 26144 |  | 0 | #DIV/0! |  | 234.8 | 158.196 | 136.136 | 107.76 | 0 | 0 | 636.892
2025-01-22 | 22.1605 | 173.446 | 9628.352 | 31.747 | 0 | 0 | 73.742 | 1439.472 | 2810.0242 | 38.312 | 14562.237 | 141.197 | 3183.205 | 4570 | 45.3819 | 284.748 | 1955086.657 | 3823.459 | 2212.2316 | 3229.8 | 547.647 | 1300 | 49.4036 | 14112 | 114.2681 | 410.81 | 90.2256 | 462.216 | 724334.997 | 377.748 | 3265373.361 | 537.552 | 1734.6286 | 3246.2 | 194.1052 | 907.92 | 579.645 | 1731.08 | 305.2908 | 28.22 | 3964.1996 | 15.6 | 233.6836 | 1510.36 | 267.5404 | 1339.52 | 189004.413 | 299.916 | 45270.552 | 85.509 | 1616.945 | 2199 | 636.5886 | 20.44 | 938.7828 | 3.04 | 16071 | 0 | 95215 | 5190 | 14342 | 3870 | 4114.498 | 10066.4 | 0 | 0 | 2457.1314 | 762.4868 | 100.8169 | 233.85 | 24.8696 | 159.226 | 70.5995 | 137.584 | 505.9233 | 109.16 | 24.6277 | 0 | 341.266 | 0 | 1277.047 | 11.804 | 209771.456 | 85.744 | 3057.2 | 800 | 3168.5 | 1240 | 900.14 | 1280 | 0 |  |  | 0 | 6309931.132 | 2622.705 | 3797.7948 | 674.4 | 231.4394 | 38.96 | 633.3777 | 80.36 | 133.1014 | 418.76 | 8647.559 | 3954.6156 | 1930.4 | 430.35 | 0 | 3824.1444 | 160.4 | 293.6946 | 134.04 | 14851.77 | 5.0206 | 14962.849 | 71.311 | 147.026 | 284 | 50301.6 | 1281 | 51582.6 | 350 | 16096 | 34420 |  | 5.0206 | 3.66 |  | 233.85 | 159.226 | 137.584 | 109.16 | 0 | 0 | 639.82
2025-01-23 | 22.3339 | 110.172 | 9660.099 | 34.887 | 0 | 0 | 75.1814 | 1395.288 | 2848.3362 | 37.0598 | 14703.434 | 151.695 | 3187.775 | 4550 | 45.6666 | 268.856 | 1958910.116 | 3831.048 | 2215.4614 | 3424.4 | 548.947 | 1226.92 | 49.4177 | 14224 | 114.6789 | 366.43 | 90.6878 | 473.184 | 724712.745 | 493.446 | 3265910.913 | 567.696 | 1737.8748 | 3199.2 | 195.0131 | 927.42 | 581.3761 | 1735.84 | 305.319 | 0 | 3964.2152 | 0 | 235.194 | 1439 | 268.8799 | 1328.68 | 189304.329 | 220.539 | 45356.061 | 89.607 | 1619.144 | 2157 | 636.609 | 125 | 938.7858 | 2.98 | 16071 | 0 | 95734 | 5260 | 14729 | 3850 | 4124.5644 | 9955.6 | 0 | 0 | 3219.6182 | 761.913 | 101.0508 | 229.96 | 25.0288 | 157.092 | 70.7371 | 135.232 | 506.0324 | 106.24 | 24.6277 | 0 | 341.266 | 0 | 1288.851 | 13.113 | 209857.2 | 124.176 | 3058 | 700 | 3169.74 | 660 | 901.42 | 1270 | 0 |  |  | 0 | 6312553.837 | 2549.471 | 3798.4692 | 664 | 231.4783 | 3.94 | 633.458 | 78.96 | 133.5201 | 411.64 | 8517.928 | 3956.546 | 1919.2 | 430.35 | 0 | 3824.3048 | 167.2 | 293.8286 | 145.14 | 14853.48 | 0.02936 | 15034.16 | 55.164 | 147.31 | 275 | 52315 | 0 | 52315 | 0 | 15756 | 1707 |  | 0.02936 | #DIV/0! |  | 229.96 | 157.092 | 135.232 | 106.24 | 0 | 0 | 628.524
2025-01-24 | 22.4441 | 114.09 | 9694.986 | 28.53 | 0 | 0 | 76.5767 | 1365.8 | 2885.396 | 38.2464 | 14855.129 | 155.753 | 3192.325 | 4511 | 45.9355 | 279.112 | 1962741.164 | 3849.153 | 2218.8858 | 3080.8 | 550.1739 | 1192.76 | 49.4319 | 14160 | 115.0454 | 376.59 | 91.161 | 474.728 | 725206.191 | 465.047 | 3266478.609 | 600.869 | 1741.074 | 3788 | 195.9405 | 922.48 | 583.1119 | 1789 | 305.319 | 0 | 3964.2152 | 2 | 236.633 | 1349.16 | 270.2086 | 1341.18 | 189524.868 | 204.799 | 45445.668 | 85.208 | 1621.301 | 2168 | 636.734 | 95.12 | 938.7888 | 3.1 | 16071 | 0 | 96260 | 5110 | 15114 | 3820 | 4134.52 | 10063.6 | 0 | 0 | 3981.5312 | 578.384 | 101.2807 | 233.6 | 25.1859 | 157.868 | 70.8723 | 138.056 | 506.1387 | 109.08 | 24.6277 | 0.012 | 341.266 | 0 | 1301.964 | 11.604 | 209981.376 | 137.936 | 3058.7 | 800 | 3170.4 | 1500 | 902.69 | 1270 | 0 |  |  | 0 | 6315103.308 | 2590.615 | 3799.1332 | 677.2 | 231.4823 | 7.26 | 633.537 | 78.68 | 133.9318 | 434.81 | 8440.693 | 3958.4652 | 1899.2 | 430.35 | 0 | 3824.472 | 162.4 | 293.9738 | 137.56 | 14853.49 | 0 | 15089.324 | 61.229 | 147.585 | 290 | 51167 | 0 | 51167 | 0 | 15756 | 0 |  | 0 | #DIV/0! |  | 233.6 | 157.868 | 138.056 | 109.08 | 0.012 | 0 | 638.616
2025-01-25 | 22.5582 | 157.214 | 9723.516 | 30.111 | 0 | 0 | 77.9425 | 1396.816 | 2923.6424 | 37.4108 | 15010.882 | 120.064 | 3196.836 | 4406 | 46.2146 | 277.7 | 1966590.317 | 3886.557 | 2221.9666 | 2930.2 | 551.3666 | 1275.16 | 49.4461 | 14120 | 115.4219 | 375.6 | 91.6357 | 497.392 | 725671.238 | 421.682 | 3267079.478 | 604.326 | 1744.862 | 2454.6 | 196.863 | 924.12 | 584.9009 | 1780.64 | 305.319 | 0 | 3964.2172 | 0 | 237.9822 | 1694.46 | 271.5498 | 1346.66 | 189729.667 | 321.613 | 45530.876 | 72.894 | 1623.469 | 2255 | 636.8291 | 0 | 938.7919 | 3.12 | 16071 | 0 | 96771 | 5210 | 15496 | 3710 | 4144.5836 | 10146.8 | 0 | 0 | 4559.9152 | 565.1308 | 101.5143 | 236.36 | 25.3438 | 158.438 | 71.0104 | 137.624 | 506.2478 | 108.28 | 24.6277 | 0 | 341.266 | 0 | 1313.568 | 11.979 | 210119.312 | 79.12 | 3059.5 | 700 | 3171.9 | 400 | 903.96 | 1240 | 0 |  |  | 0 | 6317693.923 | 2450.154 | 3799.8104 | 802.1 | 231.4895 | 5.72 | 633.6157 | 78.6 | 134.3666 | 426.32 | 8854.477 | 3960.3644 | 1926.8 | 430.35 | 0 | 3824.6344 | 172.8 | 294.1113 | 125.62 | 14853.49 | 0 | 15150.553 | 65.505 | 147.875 | 261 | 51731 | 0 | 51731 | 0 | 15756 | 2722 |  | 0 | #DIV/0! |  | 236.36 | 158.438 | 137.624 | 108.28 | 0 | 0 | 640.702
2025-01-26 | 22.7154 | 30.762 | 9753.627 | 5.293 | 0 | 0 | 79.3394 | 246.28 | 2961.0532 | 11.3392 | 15130.946 | 45.472 | 3201.242 | 689 | 46.4923 | 196.248 | 1970476.874 | 1771.003 | 2224.8968 | 2293.8 | 552.6418 | 500.72 | 49.4602 | 4964 | 115.7976 | 84.02 | 92.1331 | 125.792 | 726092.92 | 145.404 | 3267683.804 | 266.31 | 1747.3166 | 961.4 | 197.7871 | 304.52 | 586.6816 | 129.92 | 305.319 | 233 | 3964.2172 | 0 | 239.6766 | 95.96 | 272.8965 | 398.58 | 190051.28 | 66.676 | 45603.77 | 53.13 | 1625.724 | 1215 | 636.8291 | 0 | 938.795 | 3.04 | 16071 | 0 | 97292 | 3780 | 15867 | 2960 | 4154.7304 | 3560 | 0 | 0 | 5125.046 | 208.5972 | 101.7507 | 3.43 | 25.5022 | 5.046 | 71.148 | 136.896 | 506.356 | 108.36 | 24.6277 | 0 | 341.266 | 0 | 1325.547 | 3.842 | 210198.432 | 18.624 | 3060.2 | 100 | 3172.3 | 200 | 905.2 | 160 | 0 |  |  | 0 | 6320144.077 | 323.752 | 3800.6125 | 239.5 | 231.4952 | 16.48 | 633.6943 | 78.88 | 134.7929 | 191.41 | 3466.943 | 3962.2912 | 968.4 | 430.35 | 0 | 3824.8072 | 94.8 | 294.2369 | 66.92 | 14853.49 | 0 | 15216.058 | 25.711 | 148.136 | 128 | 22417 | 300 | 22717 | 100 | 15410 | 0 |  | 0 | 3 |  | 3.43 | 5.046 | 136.896 | 108.36 | 0 | 0 | 253.732
2025-01-27 | 22.7462 | 122.314 | 9758.92 | 32.106 | 0 | 0 | 79.5856 | 1439.592 | 2972.3924 | 38.8916 | 15176.418 | 144.029 | 3201.931 | 4598 | 46.6885 | 256.784 | 1972247.877 | 3886.519 | 2227.1906 | 2861.6 | 553.1425 | 918.96 | 49.4651 | 14520 | 115.8816 | 365.45 | 92.2589 | 487.144 | 726238.324 | 537.74 | 3267950.114 | 612.375 | 1748.278 | 3343.4 | 198.0916 | 872.14 | 586.8115 | 1751.88 | 305.552 | 2101.76 | 3964.2172 | 0 | 239.7726 | 180.98 | 273.295 | 1355.54 | 190117.956 | 187.846 | 45656.9 | 69.909 | 1626.939 | 2276 | 636.8291 | 0 | 938.7981 | 3.12 | 16071 | 0 | 97670 | 5290 | 16163 | 3780 | 4158.2904 | 11801.2 | 0 | 0 | 5333.6432 | 836.0356 | 101.7541 | 0 | 25.5073 | 0 | 71.2849 | 137.048 | 506.4644 | 108.048 | 24.6277 | 1.418 | 341.266 | 0 | 1329.389 | 5.498 | 210217.056 | 56.528 | 3060.3 | 700 | 3172.5 | 1000 | 905.36 | 1290 | 0 |  |  | 0 | 6320467.829 | 2851.121 | 3800.852 | 546 | 231.5117 | 10.52 | 633.7732 | 77.52 | 134.9843 | 451.09 | 9176.799 | 3963.2596 | 1652 | 430.35 | 0 | 3824.902 | 155.6 | 294.3039 | 131.66 | 14853.49 | 0 | 15241.769 | 66.808 | 148.264 | 308 | 51248 | 0 | 51248 | 0 | 15410 | 17379 |  | 0 | #DIV/0! |  | 0 | 0 | 137.048 | 108.048 | 1.418 | 0 | 246.514
2025-01-28 | 22.8685 | 166.076 | 9791.026 | 31.512 | 0 | 0 | 81.0252 | 1458.304 | 3011.284 | 38.1632 | 15320.447 | 163.72 | 3206.529 | 4542 | 46.9453 | 263.964 | 1976134.396 | 3875.571 | 2230.0522 | 3288.4 | 554.0615 | 1008.82 | 49.4797 | 14672 | 116.247 | 374 | 92.7461 | 477.072 | 726776.064 | 529.49 | 3268562.489 | 621.256 | 1751.6214 | 3600 | 198.9638 | 929.74 | 588.5634 | 1698.36 | 307.6538 | 2091.8 | 3964.2172 | 20.4 | 239.9536 | 184.26 | 274.6506 | 1274.6 | 190305.802 | 262.292 | 45726.809 | 85.501 | 1629.215 | 2249 | 636.8291 | 0 | 938.8012 | 2.966 | 16071 | 0 | 98199 | 5300 | 16541 | 3820 | 4170.0916 | 11903.6 | 0 | 0 | 6169.6788 | 1032.794 | 101.7541 | 0 | 25.5073 | 0 | 71.422 | 137.216 | 506.5724 | 109.392 | 24.6291 | 0 | 341.266 | 0 | 1334.887 | 13.224 | 210273.584 | 64.078 | 3061 | 800 | 3173.5 | 1000 | 906.65 | 1270 | 0 |  |  | 0 | 6323318.95 | 2779.497 | 3801.398 | 821.2 | 231.5222 | 11.08 | 633.8507 | 77.12 | 135.4354 | 441.25 | 9190.231 | 3964.9116 | 1743.6 | 430.35 | 0 | 3825.0576 | 162 | 294.4355 | 133.14 | 14853.49 | 0 | 15308.577 | 47.956 | 148.572 | 279 | 52628 | 0 | 52628 | 0 | 15294 | 2372 |  | 0 | #DIV/0! |  | 0 | 0 | 137.216 | 109.392 | 0 | 0 | 246.608
2025-01-29 | 23.0345 | 165.262 | 9822.538 | 35.403 | 0 | 0 | 82.4835 | 1428.384 | 3049.4472 | 37.8382 | 15484.167 | 165.502 | 3211.071 | 4590 | 47.2093 | 269.688 | 1980009.967 | 3905.777 | 2233.3406 | 3301.8 | 555.0703 | 1121.5 | 49.4943 | 14568 | 116.621 | 378.09 | 93.2231 | 485.704 | 727305.554 | 432.046 | 3269183.745 | 615.825 | 1755.2214 | 3598.8 | 199.8935 | 970.24 | 590.2617 | 1743.64 | 309.7456 | 2199.38 | 3964.2376 | 0 | 240.1378 | 0.05 | 275.9252 | 1178.12 | 190568.094 | 334.217 | 45812.31 | 92.893 | 1631.464 | 2297 | 636.8291 | 0 | 938.8042 | 3.194 | 16071 | 0 | 98729 | 5240 | 16923 | 3820 | 4181.9952 | 12222.4 | 0 | 0 | 7202.4728 | 954.132 | 101.7541 | 0 | 25.5073 | 0.004 | 71.5592 | 137.704 | 506.6818 | 108.84 | 24.6291 | 0 | 341.266 | 0 | 1348.111 | 11.345 | 210337.662 | 119.842 | 3061.8 | 700 | 3174.5 | 500 | 907.92 | 1270 | 0 |  |  | 0 | 6326098.447 | 2693.59 | 3802.2192 | 670.8 | 231.5333 | 9.74 | 633.9278 | 77.46 | 135.8767 | 417.6 | 9061.327 | 3966.6552 | 1778 | 430.35 | 0 | 3825.2196 | 156 | 294.5687 | 136.36 | 14853.49 | 0 | 15356.533 | 58.559 | 148.851 | 277 | 51965 | 0 | 51965 | 0 | 15294 | 5201 |  | 0 | #DIV/0! |  | 0 | 0.004 | 137.704 | 108.84 | 0 | 0 | 246.548
2025-01-30 | 23.1998 | 158.11 | 9857.941 | 40.161 | 0 | 0 | 83.9119 | 1432.768 | 3087.2854 | 38.417 | 15649.669 | 147.484 | 3215.661 | 4443 | 47.479 | 248.556 | 1983915.744 | 3828.975 | 2236.6424 | 2648.6 | 556.1918 | 1068.68 | 49.5089 | 14748 | 116.9991 | 365.42 | 93.7088 | 486.464 | 727737.6 | 554.215 | 3269799.57 | 617.377 | 1758.8202 | 3655.2 | 200.8637 | 981.42 | 592.0054 | 1743.84 | 311.9449 | 2188.34 | 3964.2376 | 0 | 240.1379 | -0.05 | 277.1033 | 1186.74 | 190902.311 | 271.825 | 45905.203 | 54.1932 | 1633.761 | 2290 | 636.8291 | 0 | 938.8074 | 2.96 | 16071 | 0 | 99253 | 5200 | 17305 | 3770 | 4194.2176 | 12143.6 | 0 | 0 | 8156.6048 | 992.792 | 101.7541 | 1.8 | 25.5073 | 0.302 | 71.6969 | 136.528 | 506.7907 | 109.28 | 24.6291 | 0 | 341.266 | 0 | 1359.456 | 4.366 | 210457.504 | 144.656 | 3062.5 | 700 | 3175 | 1300 | 909.19 | 1200 | 0 |  |  | 0 | 6328792.037 | 2990.209 | 3802.89 | 922 | 231.5431 | 10.38 | 634.0053 | 76.78 | 136.2943 | 286.66 | 8945.205 | 3968.4332 | 1741.2 | 430.35 | 0 | 3825.3756 | 148 | 294.705 | 131.94 | 14853.49 | 0 | 15415.092 | 66.308 | 149.128 | 328 | 51511 | 0 | 51511 | 0 | 15177 | 32839 |  | 0 | #DIV/0! |  | 1.8 | 0.302 | 136.528 | 109.28 | 0 | 0 | 247.91
2025-01-31 | 23.3579 | 155.964 | 9898.102 | 44.581 | 0 | 0 | 85.3447 | 1411.792 | 3125.7024 | 39.051 | 15797.153 | 124.899 | 3220.104 | 4468 | 47.7275 | 255.596 | 1987744.719 | 3901.821 | 2239.291 | 2510.2 | 557.2605 | 1081.4 | 49.5236 | 14560 | 117.3645 | 358.37 | 94.1953 | 470.024 | 728291.815 | 400.085 | 3270416.947 | 623.117 | 1762.4754 | 3638.8 | 201.8452 | 968.1 | 593.7492 | 1727.4 | 314.1333 | 44.9 | 3964.2376 | 0 | 240.1378 | 1499.2 | 278.29 | 1438.6 | 191174.136 | 308.036 | 45959.3962 | 63.8068 | 1636.051 | 2243 | 636.8291 | 0 | 938.8103 | 3.04 | 16071 | 0 | 99773 | 5220 | 17682 | 3740 | 4206.3612 | 10014 | 0 | 0 | 9149.3968 | 868.1044 | 101.7559 | 0 | 25.5076 | 0 | 71.8334 | 136.136 | 506.9 | 110.28 | 24.6291 | 0 | 341.266 | 0 | 1363.822 | 3.749 | 210602.16 | 149.968 | 3063.2 | 700 | 3176.3 | 1000 | 910.39 | 1220 | 0 |  |  | 0 | 6331782.246 | 2695.151 | 3803.812 | 725.2 | 231.5534 | 7.76 | 634.082 | 76.96 | 136.5809 | 289.51 | 8753.321 | 3970.1744 | 1868.8 | 430.35 | 0 | 3825.5236 | 145.2 | 294.837 | 136.24 | 14853.49 | 0 | 15481.4 | 62.505 | 149.456 | 284 | 50918 | 0 | 50918 | 0 | 19204 | 7209 |  | 0 | #DIV/0! |  | 25.5073 | 0 | 136.136 | 110.28 | 0 | 0 | 271.9233